## Sheet1
APPENDIX B
POST-TEST YEAR RSE RESULTS
APPENDIX B
POST-TEST YEAR RSE RESULTS
Table B-2: SDG&E PTY RSE Results
Risk | Mitigation ID | Mitigation Name | RSE | RSECFF | Risk Reduction
Wildfire | SDG&E-Risk-1-C15 / M10-T1-T2 | Resiliency Assistance Programs (HFTD Tier 3) | 5392 | 4805 | 98
High Pressure | SDG&E-RISK-3-C02-T01 | Cathodic Protection - Maintenance - HCA | 3583 | 2719 | 246
High Pressure | SDG&E-RISK-3-C05-T01 | Shallow/Exposed Pipe Remediations - HCA | 2344 | 2120 | 90
Wildfire | SDG&E-Risk-1-C06 / M1-T2 | SCADA Capacitors - (HFTD Tier 2) | 2286 | 2037 | 645
Employee Safety | SDG&E-Risk-8-C13 | Enhanced Mandatory Employee Training (OSHA): Certified Occupational Safety Specialist, Certified Utility Safety Professional; Certified Safety Professional | 1800 | 1769 | 12
High Pressure | SDG&E-RISK-3-C02-T02 | Cathodic Protection - Maintenance - Non-HCA | 1526 | 1158 | 23
EII | SDG&E-Risk-2-C18 -T2 | Distribution Circuit Reliability - Overhead | 977 | 116 | 25
Medium Pressure | SDG&E-RISK-9-C07 | Pipeline Monitoring (Leak Mitigation, Bridge & Span, Unstable Earth, and Pipeline Patrol | 897 | 682 | 71
Wildfire | SDG&E-Risk-1-C30-T1-T2 | Distribution System Inspection – CMP – Annual Patrol (HFTD Tier 3) | 875 | 780 | 1361
Wildfire | SDG&E-Risk-1-C11 / M6-T1 | Advanced Protection (HFTD Tier 3) | 725 | 646 | 599
High Pressure | SDG&E-RISK-3-C11-T01 | Measurement & Regulation Station – Maintenance - HCA | 691 | 524 | 9
High Pressure | SDG&E-RISK-9-C04 | Regulator Station, Valve, and Large Meter Set Inspection | 674 | 512 | 59
Medium Pressure | SDG&E-RISK-9-C06 T4 | Leak Repair | 512 | 463 | 38
High Pressure | SDG&E-RISK-3-New-FIMP-Trans | NEW - Facility Integrity Management (FIMP)- Transmission | 484 | 437 | 53
Wildfire | SDG&E-Risk-1-C25-T2 | Distribution System Inspection – CMP – 10 Year Intrusive (HFTD Tier 3) | 481 | 429 | 142
EII | SDG&E-Risk-2-C10-T1-T2 | Underground Cable Replacement Program (Proactive) | 476 | 434 | 259
Wildfire | SDG&E-Risk-1-C30-T1-T2 | Distribution System Inspection – CMP – Annual Patrol (HFTD Tier 2) | 469 | 418 | 866
HPDG | SDG&E-RISK-7-C04 | Locate & Mark Activities (HP) | 430 | 327 | 133
Wildfire | SDG&E-Risk-1-C13 / M8-T1-T2 | Resiliency Grant Programs (HFTD Tier 2) | 420 | 374 | 1136
EII | SDG&E-Risk-2-C11 | Tee Modernization Program | 381 | 348 | 167
Wildfire | SDG&E-Risk-1-C13 / M8-T1-T2 | Resiliency Grant Programs (HFTD Tier 3) | 376 | 335 | 509
Medium Pressure | SDG&E-RISK-9-C06 T3 | Leak Repair | 360 | 326 | 41
Employee Safety | SDG&E-Risk-8-C03 | Strong Safety Culture | 342 | 336 | 93
Wildfire | SDG&E-Risk-1-C24-T1-T2 | Distribution System Inspection – IR/Corona (HFTD Tier 2) | 335 | 299 | 201
Medium Pressure | SDG&E-RISK-9-C11 - T2 | Gas Distribution Emergency Department - Service | 307 | 233 | 14
EII | SDG&E-Risk-2-C08-T1 | Avian Protection (HFTD Tier 3) | 306 | 300 | 54
High Pressure | SDG&E-RISK-3-C11-T02 | Measurement & Regulation Station – Maintenance Non-HCA | 295 | 224 | 1
High Pressure | SDG&E-RISK-9-C05 | Reg Station Replacement Program | 281 | 254 | 13
Contractor Safety | SDG&E-Risk-4-C01 | Contractor Oversight Program | 254 | 247 | 312
Wildfire | SDG&E-Risk-1-C09 / M4-T2 | PSPS Sectionalizing (HFTD Tier 2) | 244 | 218 | 89
Contractor Safety | SDG&E-Risk-4-M2 | Enhanced Verification of Class 1 Contractor Employee Specific Training | 244 | 238 | 39
Wildfire | SDG&E-Risk-1-C12 / M7-T1-T2 | Hotline Clamps (HFTD Tier 3) | 238 | 212 | 8
Wildfire | SDG&E-Risk-1-C03-T1-T3 | Wireless Fault Indicators -(HFTD Tier 3) | 236 | 210 | 25
Wildfire | SDG&E-Risk-1-C21 / M14-T1 | Lightning Arrestor Removal/Replacement Program (HFTD Tier 3) | 214 | 190 | 83
Wildfire | SDG&E-Risk-1-C03-T1-T3 | Wireless Fault Indicators- (HFTD Tier 2) | 213 | 190 | 22
Cyber Security | SDG&E-RISK-6-C01 | Planned: Perimeter Defenses | 212 | 193 | 513
Wildfire | SDG&E-Risk-1-C33 / M16-T1-T2 | Enhanced Vegetation Management (HFTD Tier 3) | 207 | 184 | 356
EII | SDG&E-Risk-2-C18 -T1 | Distribution Circuit Reliability - Underground | 205 | 100 | 41
High Pressure | SDG&E-RISK-3-C05-T02 | Shallow/Exposed Pipe Remediations - Non-HCA | 201 | 182 | 2
Wildfire | SDG&E-Risk-1-C31-T1-T2 | Detailed Inspection of Vegetation (HFTD Tier 3) | 200 | 178 | 8472
Wildfire | SDG&E-Risk-1-C16 / M11-T1-T2 | Strategic Undergrounding (HFTD Tier 3) | 194 | 224 | 7551
High Pressure | SDG&E-RISK-3-C01-T01 | Cathodic Protection - Capital - HCA | 188 | 170 | 13
Wildfire | SDG&E-Risk-1-C31-T1-T2 | Detailed Inspection of Vegetation (HFTD Tier 2) | 181 | 161 | 9217
Employee Safety | SDG&E-Risk-8-C08 | OSHA Voluntary Protection Program | 177 | 174 | 43
Cyber Security | SDG&E-RISK-6-C04 | Operational Technology (OT) Cybersecurity | 173 | 158 | 615
Wildfire | SDG&E-Risk-1-C15 / M10-T1-T2 | Resiliency Assistance Programs (HFTD Tier 2) | 171 | 153 | 73
Wildfire | SDG&E-Risk-1-C27 | Distribution System Inspection – HFTD Tier 3 Inspections (HFTD Tier 3) | 163 | 146 | 1326
Wildfire | SDG&E-Risk-1-C33 / M16-T1-T2 | Enhanced Vegetation Management (HFTD Tier 2) | 157 | 140 | 357
Wildfire | SDG&E-Risk-1-C22-T1-T2 | Distribution System Inspection – CMP – 5 Year Detailed Inspections (HFTD Tier 3) | 149 | 132 | 1480
Employee Safety | SDG&E-Risk-8-C09 | Safe Driving Programs | 148 | 146 | 15
Wildfire | SDG&E-Risk-1-C35-T1-T3 | Aviation Firefighting Program (HFTD Tier 2) | 129 | 115 | 211
Cyber Security | SDG&E-RISK-6-C05 | Planned: Obsolete Information Technology (IT) Infrastructure and Application Replacement | 124 | 113 | 308
Medium Pressure | SDG&E-RISK-9-C04 | Regulator Station, Valve, and Large Meter Set Inspection | 121 | 92 | 18
Wildfire | SDG&E-Risk-1-C14 / M9-T1-T2 | Standby Power Programs (HFTD Tier 3) | 120 | 107 | 345
High Pressure | SDG&E-RISK-3-C06-T01 | Pipeline Maintenance - HCA | 113 | 102 | 184
Employee Safety | SDG&E-Risk-8-C04 | Employee Behavioral Accident Prevention Process Program | 111 | 109 | 62
MPDG | SDG&E-RISK-7-C11 | Damage Prevention Analyst Program | 107 | 82 | 11
MPDG | SDG&E-RISK-7-C13 | Locating Equipment | 107 | 96 | 27
HPDG | SDG&E-RISK-7-C16-T1/T2/T3/T4 | Public Awareness | 105 | 80 | 4
Employee Safety | SDG&E-RISK-8-C16 | Energized Skills Training and Testing Yard | 102 | 101 | 41
Wildfire | SDG&E-Risk-1-C34-T1-T3 | Pole Brushing (HFTD Tier 3) | 97 | 86 | 1010
Wildfire | SDG&E-Risk-1-C16 / M11-T1-T2 | Strategic Undergrounding (HFTD Tier 2) | 94 | 139 | 2143
Contractor Safety | SDG&E-Risk-4-C02 | Field Safety Oversight | 89 | 87 | 390
Wildfire | SDG&E-Risk-1-C34-T1-T3 | Pole Brushing (HFTD Tier 2) | 81 | 73 | 910
Wildfire | SDG&E-Risk-1-C12 / M7-T1-T2 | Hotline Clamps (HFTD Tier 2) | 72 | 64 | 3
Cyber Security | SDG&E-RISK-6-C02 | Planned: Internal Defenses | 71 | 65 | 410
High Pressure | SDG&E-RISK-9-C02 | Cathodic Protection Program - Capital | 69 | 62 | 4
Wildfire | SDG&E-Risk-1-C35-T1-T3 | Aviation Firefighting Program (HFTD Tier 3) | 62 | 55 | 371
High Pressure | SDG&E-RISK-3-C01-T02 | Cathodic Protection - Capital - Non-HCA | 61 | 55 | 1
High Pressure | SDG&E-RISK-3-C15-T02 | Integrity Assessments & Remediation - Non-HCA | 61 | 55 | 32
Wildfire | SDG&E-Risk-1-C36-T1-T2 | Wildfire Infrastructure Protection Teams (HFTD Tier 2) | 61 | 54 | 201
Wildfire | SDG&E-Risk-1-C18 / M13-T1-T2 | Overhead Transmission Fire Hardening – Distribution Underbuilt (HFTD Tier 3) | 59 | 52 | 9
EII | SDG&E-Risk-2-C04 | Distribution Overhead Switch Replacement Program | 58 | 53 | 8
Employee Safety | SDG&E-Risk-8-New01 | Industrial Athletic Trainer | 57 | 56 | 10
Wildfire | SDG&E-Risk-1-C36-T1-T2 | Wildfire Infrastructure Protection Teams (HFTD Tier 3) | 57 | 51 | 443
MPDG | SDG&E-RISK-7-C15-T1/T2/T3/T4 | Public Awareness | 54 | 41 | 10
Employee Safety | SDG&E-Risk-8-M1 | Purchasing and testing more protective respiratory protection for wildfire smoke particulates. | 53 | 52 | 6
HPDG | SDG&E-RISK-7-C12 | Damage Prevention Analyst Program | 51 | 39 | 1
High Pressure | SDG&E-RISK-3-M04 | Adobe Falls Relocation Project | 51 | 46 | 4
Cyber Security | SDG&E-RISK-6-C03 | Planned: Sensitive Data Protection | 51 | 46 | 205
Medium Pressure | SDG&E-RISK-9-C09-T01 | Early Vintage Program (Components) - Oil Drip Piping Removal | 51 | 46 | 9
Medium Pressure | SDG&E-RISK-9-C11 - T1 | Gas Distribution Emergency Department - Mains | 51 | 38 | 3
High Pressure | SDG&E-RISK-3-C06-T02 | Pipeline Maintenance - Non-HCA | 49 | 44 | 17
Wildfire | SDG&E-Risk-1-C21 / M14-T1 | Lightning Arrestor Removal/Replacement Program (HFTD Tier 2) | 46 | 41 | 2
Medium Pressure | SDG&E-RISK-9-M04 | New RAMP Mitigation: MSAs inside Bldgings and Alcoves | 45 | 41 | 3
EII | SDG&E-Risk-2-C28 | Field SCADA RTU Replacement | 41 | 159 | 26
EII | SDG&E-Risk-2-C14 | DOE Switch Replacement – Underground | 38 | 34 | 37
Wildfire | SDG&E-Risk-1-C22-T1-T2 | Distribution System Inspection – CMP – 5 Year Detailed Inspections (HFTD Tier 2) | 37 | 33 | 467
Wildfire | SDG&E-Risk-1-C18/M13-T1-T2 | Overhead Transmission Fire Hardening – Distribution Underbuilt (HFTD Tier 2) | 36 | 32 | 73
High Pressure | SDG&E-RISK-3-C09 | Compressor Station - Maintenance | 36 | 27 | 122
Wildfire | SDG&E-Risk-1-C17 / M12-T1-T3 | Overhead Distribution Fire Hardening – Bare Conductor (HFTD Tier 3) | 35 | 32 | 29
Wildfire | SDG&E-Risk-1-C07 / M2-T1 | Overhead Distribution Fire Hardening – Covered Conductor (HFTD Tier 3) | 35 | 31 | 690
High Pressure | SDG&E-RISK-3-C04-T02 | Pipeline Relocation/Replacement - Non-HCA | 33 | 30 | 2
Employee Safety | SDG&E-Risk-8-C15 | Enhanced Employee Safe Driving Training | 32 | 31 | 31
High Pressure | SDG&E-RISK-3-C15-T01 | Integrity Assessments & Remediation - HCA | 30 | 27 | 225
EII | SDG&E-Risk-2-C06 | Tree Trimming (non-HFTD) | 30 | 22 | 548
EII | SDG&E-Risk-2-C08 | Aviation Protection Program | 29 | 27 | 5
High Pressure | Moreno Principal | Moreno Principal | 26 | 21 | 66
High Pressure | SDG&E-RISK-9-C01 | Cathodic Protection - O&M | 26 | 24 | 2
Wildfire | SDG&E-Risk-1-C10 / M5-T2 | Microgrids (HFTD Tier 2) | 25 | 22 | 23
Medium Pressure | SDG&E-RISK-9-C06 T2 | Leak Repair | 25 | 22 | 13
Wildfire | SDG&E-Risk-1-C07 / M2-T2 | Overhead Distribution Fire Hardening – Covered Conductor (HFTD Tier 2) | 23 | 21 | 101
High Pressure | SDG&E-RISK-3-C03-T02 | Leak Repair - Non-HCA | 22 | 20 | 0
High Pressure | SDG&E-RISK-3-M02-T02 | Gas Transmission Safety Rule - MAOP Reconfirmation - Non-HCA | 20 | 19 | 13
Wildfire | SDG&E-Risk-1-C28-T1-T2 | Distribution System Inspection – Drone Inspections (HFTD Tier 3) | 20 | 18 | 868
EII | SDG&E-Risk-2-New 09 | Strategic Pole Replacement Program (Non-HFTD) | 20 | 18 | 4
Employee Safety | SDG&E-Risk-8-M2 | Purchasing break/rest trailers with filtered air systems to reduce wildfire smoke exposure | 18 | 18 | 3
Wildfire | SDG&E-Risk-1-C32 / M15-T1-T2 | Fuel management and reduction of “slash” from vegetation management activities (HFTD Tier 3) | 17 | 15 | 302
High Pressure | SDG&E-RISK-3-C04-T01 | Pipeline Relocation/Replacement - HCA | 17 | 16 | 6
High Pressure | SDG&E-RISK-3-C08 | Compressor Stations - Capital | 15 | 13 | 13
Medium Pressure | SDG&E-RISK-9-M03 | Replace Curb Valves with EFVs | 15 | 13 | 1
HPDG | SDG&E-RISK-7-M2 | Automate Third Party Excavation Incident Reporting | 14 | 13 | 0
High Pressure | SDG&E-RISK-3-M02-T01 | Gas Transmission Safety Rule - MAOP Reconfirmation - HCA | 14 | 13 | 136
Medium Pressure | SDG&E-RISK-9-C06 T1 | Leak Repair | 14 | 12 | 12
High Pressure | SDG&E-RISK-3-New-FIMP-Dist | NEW - Facility Integrity Management (FIMP)- Distribution | 13 | 11 | 5
High Pressure | SDG&E-RISK-3-C03-T01 | Leak Repair - HCA | 13 | 11 | 1
High Pressure | SDG&E-RISK-3-C12 | Odorization | 11 | 8 | 0
MPDG | SDG&E-RISK-7-M1 | Automate Third Party Excavation Incident Reporting | 10 | 9 | 0
Wildfire | SDG&E-Risk-1-C25-T2 | Distribution System Inspection – CMP – 10 Year Intrusive (HFTD Tier 2) | 9 | 8 | 39
Wildfire | SDG&E-Risk-1-C32 / M15-T1-T2 | Fuel management and reduction of “slash” from vegetation management activities (HFTD Tier 2) | 9 | 8 | 38
EII | SDG&E-Risk-2-C03 | 4kV Modernization Program – Distribution | 8 | 7 | 5
Wildfire | SDG&E-Risk-1-C28-T1-T2 | Distribution System Inspection – Drone Inspections (HFTD Tier 2) | 8 | 7 | 186
High Pressure | SDG&E-RISK-3-C10-T01 | Measurement & Regulation Station – Capital - HCA | 7 | 6 | 1
EII | SDG&E-Risk-2-C01 | Overhead Public Safety (OPS) Program | 7 | 6 | 6
MPDG | SDG&E-RISK-7-C03 | Locate and Mark Activities* | 6 | 5 | 69
Medium Pressure | SDG&E-RISK-9-C08-T03 | Underperforming Steel Replacement Program – Other Steel (Post 1965 vintage) | 6 | 5 | 2
EII | SDG&E-Risk-2-C13 | Replacement of Live Front Equipment - Proactive | 5 | 5 | 0
EII | SDG&E-Risk-2-C21 | Distribution Substation Obsolete Equipment | 5 | 1 | 0
EII | SDG&E-Risk-2-C29-T2 | SCADA Capacitors - Underground | 5 | 20 | 2
Medium Pressure | SDG&E-RISK-9-C03 | Piping in Vaults Replacement Program | 4 | 4 | 1
EII | SDG&E-Risk-2-C29-T1 | SCADA Capacitors - Overhead | 3 | 22 | 5
Medium Pressure | SDG&E-RISK-9-C09-T03 | Early Vintage Program (Components) - Removal of Closed Valves between High/Medium Pressure Zones | 3 | 2 | 0
EII | SDG&E-Risk-2-C20-T2 | Substation Reliability for Distribution Components – Bernardo 12kV Breakers Replacements | 2 | 3 | 0
EII | SDG&E-Risk-2-C24 | Urban Substation Rebuild | 2 | 0 | 0
EII | SDG&E-Risk-2-C20-T5 | Substation Reliability for Distribution Components – Miramar 12kV Replacements | 2 | 2 | 0
Medium Pressure | SDG&E-RISK-9-C08-T02 | Underperforming Steel Replacement Program (1934-1965 vintage) | 1 | 1 | 1
Medium Pressure | SDG&E-RISK-9-C02 | Cathodic Protection Program - Capital | 1 | 1 | 2
MPDG | SDG&E-RISK-7-C09 | Locate and Mark Quality Assurance | 1 | 1 | 1
EII | SDG&E-Risk-2-New 01 | Mission 12KV Replacements | 1 | 1 | 0.1
High Pressure | SDG&E-RISK-3-C10-T02 | Measurement & Regulation Station – Capital - Non-HCA | 1 | 1 | 0.02
Medium Pressure | SDG&E-RISK-9-C10 | Code Compliance Mitigation | 1 | 1 | 0.3
EII | SDG&E-Risk-2-C15 | GO165 Corrective Maintenance Program – Underground | 1 | 1 | 1.3
Medium Pressure | SDG&E-RISK-9-C09-T02 | Early Vintage Program (Components) - Dresser Mechanical Coupling Removal | 1 | 1 | 0.2
High Pressure | SDG&E-RISK-3-C13 | Security and Auxiliary Equipment | 1 | 1 | 0.1
Medium Pressure | SDG&E-RISK-9-C14 | Human Factors Mitigations - Operator Qualification Training and Certification | 1 | 1 | 0.3
High Pressure | SDG&E-RISK-9-C12 | Cathodic Protection System Enhancements | 1 | 1 | 0.03
Medium Pressure | SDG&E-RISK-9-C05 | Regulator Station Replacement | 1 | 1 | 0.1
EII | SDG&E-Risk-2-New 02 | Stuart 12kV Transformer Replacement | 1 | 1 | 0.02
Medium Pressure | SDG&E-RISK-9-C01 | Cathodic Protection Program - O&M | 0.5 | 0.3 | 0.2
Medium Pressure | SDG&E-RISK-9-C08-T01 | Underperforming Steel Replacement Program (Pre-1934 vintage) | 0.4 | 0.4 | 0.3
EII | SDG&E-Risk-2-New 03 | La Jolla 69/12kV Transformer Replacement | 0.3 | 0.3 | 0.02
EII | SDG&E-Risk-2-C20-T8 | Substation Reliability for Distribution Components – Coronado 69/12kV Transformer Replacements | 0.2 | 1 | 0.1
Medium Pressure | SDG&E-RISK-9-C16-T01 | DIMP – DREAMS – Vintage Integrity Plastic Plan (VIPP) | 0.2 | 0.2 | 1.9
Medium Pressure | SDG&E-RISK-9-C21 | CSF Quality Assurance (QA) Program | 0.1 | 0.1 | 0.01
Medium Pressure | SDG&E-RISK-9-C12 | Cathodic Protection System Enhancements - Base | 0.02 | 0.02 | 0.02
Medium Pressure | SDG&E-RISK-9-C19 | Field and Public Safety | 0.02 | 0.02 | 0.3
Medium Pressure | SDG&E-RISK-9-C20 | Natural Gas Appliance Testing (NGAT) | 0.02 | 0.02 | 0.04
EII | SDG&E-Risk-2-New 06 | Substation Modification To Support FLISR | 0.01 | 0.01 | 0.01
EII | SDG&E-Risk-2-New 05 | San Marcos Substation 69kV Rebuild & 12kV Switchgear | 0.004 | 0.004 | 0.02
EII | SDG&E-Risk-2-New 04 | Poway 69kV Substation Rebuild | 0.002 | 0.002 | 0.01
Wildfire | SDG&E-Risk-1-C06 / M1 T2 | SCADA Capacitors - (HFTD Tier 3) | 0 | 0 | 0
Wildfire | SDG&E-Risk-1-C09 / M4-T1 | PSPS Sectionalizing (HFTD Tier 3) | 0 | 0 | 0
Wildfire | SDG&E-Risk-1-C14 / M9-T1-T2 | Standby Power Programs (HFTD Tier 2) | 0 | 0 | 0
Wildfire | SDG&E-Risk-1-C17 / M12-T1-T3 | Overhead Distribution Fire Hardening – Bare Conductor (HFTD Tier 2) | 0 | 0 | 0
EII | SDG&E-Risk-2-C10-T3 | Underground Cable Replacement Program (Proactive) – North Harbor Project | 0 | 0 | 0
EII | SDG&E-Risk-2-C16 | GO 165 Manhole, Vault Restoration Program | 0 | 0 | 0
EII | SDG&E-Risk-2-New 07 | Torrey Pines 12kV Breaker Replacements | 0 | 0 | 0.1
EII | SDG&E-Risk-2-New 08 | El Cajon 12kV Breaker Replacements | 0 | 0 | 0.1
Employee Safety | SDG&E-Risk-8-C14 | Enhanced Safety in Action Program | 0 | 0 | 93
Wildfire | SDG&E-Risk-1-C24-T1-T2 | Distribution System Inspection – IR/Corona (HFTD Tier 3) | 0 | 0 | 0
Wildfire | SDG&E-Risk-1-C27-T2 | Distribution System Inspection – HFTD Tier 3 Inspections (HFTD Tier 2) | 0 | 0 | 0