## Q7a
MGRA-SDGE-001
Question 7a
SCADA DEVICE (FROM) | Sum of veg lc delta | Sum of psps lc delta | Sum of asset lc delta | Sum of ug cost per mile | Sum of pct_veg_lc_of_capital | Sum of pct_psps_lc_of_capital | Sum of pct_asset_lc_of_capital | LC Cost Total
1001-1130R | 1256.58 | 22.34 | 237.03 | 2854 | 0.44029 | 0.0078276 | 0.083052 | 1338.05
1001-1140R | 789.08 | 81.92 | 217.09 | 2854 | 0.27648 | 0.028704 | 0.076065 | 1765.91
1001-1231 | 506.71 | 22.34 | 721.38 | 2854 | 0.17754 | 0.0078276 | 0.25276 | 1603.57
1001-1814AE | 875.27 | 22.34 | 705.62 | 2854 | 0.30668 | 0.0078276 | 0.24724 | 1250.77
1001-1817F | 1311.37 | 22.34 | 514.32 | 2854 | 0.45948 | 0.0078276 | 0.18021 | 1005.97
1001-1818F | 1222.88 | 22.34 | 436.41 | 2854 | 0.42848 | 0.0078276 | 0.15291 | 1172.37
1001-1820F | 900.65 | 22.34 | 461.93 | 2854 | 0.31557 | 0.0078276 | 0.16185 | 1469.08
1006-829F | 87.61 | 37.23 | 681.61 | 2854 | 0.030697 | 0.013045 | 0.23883 | 2047.55
1021-1748F | 186.86 | 81.92 | 660.4 | 2854 | 0.065473 | 0.028704 | 0.23139 | 1924.82
1021-1760R | 403.08 | 29.79 | 704.53 | 2854 | 0.14123 | 0.010438 | 0.24686 | 1716.6
1021-25R | 472.42 | 81.92 | 546.34 | 2854 | 0.16553 | 0.028704 | 0.19143 | 1753.32
1021-855 | 564.98 | 81.92 | 598.56 | 2854 | 0.19796 | 0.028704 | 0.20973 | 1608.54
1021-883R | 584.02 | 81.92 | 704.08 | 2854 | 0.20463 | 0.028704 | 0.2467 | 1483.98
1021-92 | 389.18 | 81.92 | 692.77 | 2854 | 0.13636 | 0.028704 | 0.24274 | 1690.13
1022-17F | 619.32 | 81.92 | 650.16 | 2854 | 0.217 | 0.028704 | 0.22781 | 1502.6
1022-26R | 348.07 | 52.13 | 575.25 | 2854 | 0.12196 | 0.018266 | 0.20156 | 1878.55
1022-322R | 0 | 141.49 | 638.5 | 2854 | 0 | 0.049576 | 0.22372 | 2074.01
1023-200R | 36.51 | 0 | 489.72 | 2854 | 0.012793 | 0 | 0.17159 | 2327.77
1023-46AE | 557.42 | 0 | 516.07 | 2854 | 0.19531 | 0 | 0.18082 | 1780.51
1023-48 | 433.56 | 0 | 554.28 | 2854 | 0.15191 | 0 | 0.19421 | 1866.16
1023-89 | 339.49 | 0 | 709.58 | 2854 | 0.11895 | 0 | 0.24863 | 1804.93
1030-1728R | 277.24 | 104.26 | 602.84 | 2854 | 0.097141 | 0.036531 | 0.21123 | 1869.66
1030-1767 | 467.75 | 29.79 | 3109.98 | 2854 | 0.16389 | 0.010438 | 1.0897 | -753.52
1030-1823 | 513.97 | 104.26 | 592.64 | 2854 | 0.18009 | 0.036531 | 0.20765 | 1643.13
1030-18R | 365.98 | 104.26 | 432.76 | 2854 | 0.12823 | 0.036531 | 0.15163 | 1951
1030-20R | 486.97 | 89.36 | 465.6 | 2854 | 0.17063 | 0.03131 | 0.16314 | 1812.07
1030-23R | 308.9 | 29.79 | 601.37 | 2854 | 0.10823 | 0.010438 | 0.21071 | 1913.94
1030-42R | 495.28 | 89.36 | 552.68 | 2854 | 0.17354 | 0.03131 | 0.19365 | 1716.68
1030-989R | 315.33 | 245.75 | 459.47 | 2854 | 0.11049 | 0.086107 | 0.16099 | 1833.45
1039-13 | 677.43 | 96.81 | 743.73 | 2854 | 0.23736 | 0.033921 | 0.26059 | 1336.03
1073-872F | 712.66 | 14.89 | 772.07 | 2854 | 0.24971 | 0.0052172 | 0.27052 | 1354.38
1073-874F | 117.01 | 14.89 | 303.78 | 2854 | 0.040999 | 0.0052172 | 0.10644 | 2418.32
1073-886F | 0 | 14.89 | 1519.79 | 2854 | 0 | 0.0052172 | 0.53251 | 1319.32
1073-887F | 0 | 14.89 | 1914.61 | 2854 | 0 | 0.0052172 | 0.67085 | 924.5
1079-9 | 176.03 | 7.45 | 48 | 2854 | 0.061678 | 0.0026104 | 0.016819 | 2622.52
1090-1734 | 95.98 | 0 | 395.25 | 2854 | 0.03363 | 0 | 0.13849 | 2362.77
1090-636R | 89.8 | 0 | 312.87 | 2854 | 0.031465 | 0 | 0.10963 | 2451.33
1090-639R | 16.29 | 431.92 | 370.48 | 2854 | 0.0057078 | 0.15134 | 0.12981 | 2035.31
1090-70F | 544.63 | 7.45 | 1033.73 | 2854 | 0.19083 | 0.0026104 | 0.3622 | 1268.19
1090-73F | 401.69 | 0 | 571.83 | 2854 | 0.14075 | 0 | 0.20036 | 1880.48
1090-74F | 421.89 | 0 | 687.79 | 2854 | 0.14782 | 0 | 0.24099 | 1744.32
1094-35F | 331.97 | 0 | 720.87 | 2854 | 0.11632 | 0 | 0.25258 | 1801.16
1094-7 | 484.22 | 44.68 | 664.8 | 2854 | 0.16966 | 0.015655 | 0.23294 | 1660.3
1100-1172R | 70.88 | 74.47 | 358.43 | 2854 | 0.024835 | 0.026093 | 0.12559 | 2350.22
1105-1479 | 173.66 | 74.47 | 317.15 | 2854 | 0.060848 | 0.026093 | 0.11112 | 2288.72
1105-1483 | 1186.29 | 44.68 | 1153.16 | 2854 | 0.41566 | 0.015655 | 0.40405 | 469.87
1118-1F | 518.37 | 81.92 | 745.99 | 2854 | 0.18163 | 0.028704 | 0.26138 | 1507.72
1138-6R | 771.89 | 126.6 | 600.36 | 2854 | 0.27046 | 0.044359 | 0.21036 | 1355.15
1161-388 | 0 | 67.02 | 573.66 | 2854 | 0 | 0.023483 | 0.201 | 2213.32
1166-15R | 208.78 | 134.04 | 440.32 | 2854 | 0.073153 | 0.046966 | 0.15428 | 2070.86
1166-18R | 142.83 | 134.04 | 318.94 | 2854 | 0.050046 | 0.046966 | 0.11175 | 2258.19
1166-342R | 218.16 | 67.02 | 386.21 | 2854 | 0.07644 | 0.023483 | 0.13532 | 2182.61
1201-282F | 13.62 | 52.13 | 401.38 | 2854 | 0.0047722 | 0.018266 | 0.14064 | 2386.87
1215-10R | 38.49 | 0 | 260.3 | 2854 | 0.013486 | 0 | 0.091205 | 2555.21
1215-12R | 81.15 | 774.48 | 203.22 | 2854 | 0.028434 | 0.27137 | 0.071205 | 1795.15
1215-28R | 123.19 | 774.48 | 304.49 | 2854 | 0.043164 | 0.27137 | 0.10669 | 1651.84
1215-32R | 171.26 | 774.48 | 45.46 | 2854 | 0.060007 | 0.27137 | 0.015929 | 1862.8
1233-252R | 430.81 | 141.49 | 607.06 | 2854 | 0.15095 | 0.049576 | 0.2127 | 1674.64
1233-259R | 172.23 | 141.49 | 580.92 | 2854 | 0.060347 | 0.049576 | 0.20355 | 1959.36
1242-127 | 106.85 | 52.13 | 567.87 | 2854 | 0.037439 | 0.018266 | 0.19897 | 2127.15
1243-38R | 245.78 | 89.36 | 674.43 | 2854 | 0.086118 | 0.03131 | 0.23631 | 1844.43
1243-45R | 209.63 | 89.36 | 330.15 | 2854 | 0.073451 | 0.03131 | 0.11568 | 2224.86
1250-27R | 511.18 | 89.36 | 340 | 2854 | 0.17911 | 0.03131 | 0.11913 | 1913.46
1250-671R | 796.26 | 89.36 | 442.13 | 2854 | 0.279 | 0.03131 | 0.15492 | 1526.25
1250-677R | 512.91 | 89.36 | 558.89 | 2854 | 0.17972 | 0.03131 | 0.19583 | 1692.84
1250-8R | 524.2 | 0 | 814.13 | 2854 | 0.18367 | 0 | 0.28526 | 1515.67
1458-1062 | 67.13 | 141.49 | 618.18 | 2854 | 0.023521 | 0.049576 | 0.2166 | 2027.2
1458-28 | 454.42 | 141.49 | 680.58 | 2854 | 0.15922 | 0.049576 | 0.23847 | 1577.51
1458-454 | 564.49 | 141.49 | 599.87 | 2854 | 0.19779 | 0.049576 | 0.21019 | 1548.15
1458-455F | 291.41 | 141.49 | 784.03 | 2854 | 0.10211 | 0.049576 | 0.27471 | 1637.07
1458-519 | 292.94 | 141.49 | 510.07 | 2854 | 0.10264 | 0.049576 | 0.17872 | 1909.5
1458-565R | 342.75 | 297.88 | 393.5 | 2854 | 0.12009 | 0.10437 | 0.13788 | 1819.87
157-189R | 243.35 | 81.92 | 383.74 | 2854 | 0.085266 | 0.028704 | 0.13446 | 2144.99
157-204R | 117.48 | 81.92 | 314.7 | 2854 | 0.041163 | 0.028704 | 0.11027 | 2339.9
157-207R | 9.35 | 74.47 | 226.07 | 2854 | 0.0032761 | 0.026093 | 0.079212 | 2544.11
157-257R | 245.31 | 104.26 | 405.69 | 2854 | 0.085953 | 0.036531 | 0.14215 | 2098.74
157-273R | 206.19 | 74.47 | 416.16 | 2854 | 0.072246 | 0.026093 | 0.14582 | 2157.18
157-75R | 210.63 | 342.56 | 219.12 | 2854 | 0.073802 | 0.12003 | 0.076776 | 2081.69
157-81R | 293.91 | 171.28 | 452.45 | 2854 | 0.10298 | 0.060014 | 0.15853 | 1936.36
175-2024R | 398.77 | 96.81 | 359.64 | 2854 | 0.13972 | 0.033921 | 0.12601 | 1998.78
175-24R | 326.77 | 148.94 | 374.31 | 2854 | 0.1145 | 0.052186 | 0.13115 | 2003.98
175-64R | 424.7 | 104.26 | 524.26 | 2854 | 0.14881 | 0.036531 | 0.18369 | 1800.78
175-90R | 438.8 | 96.81 | 528.03 | 2854 | 0.15375 | 0.033921 | 0.18501 | 1790.36
175-94R | 648.3 | 148.94 | 602.28 | 2854 | 0.22715 | 0.052186 | 0.21103 | 1454.48
176-161R | 318.58 | 126.6 | 507.03 | 2854 | 0.11163 | 0.044359 | 0.17766 | 1901.79
176-164R | 318.38 | 0 | 560.03 | 2854 | 0.11156 | 0 | 0.19623 | 1975.59
176-1834R | 0 | 148.94 | 581.41 | 2854 | 0 | 0.052186 | 0.20372 | 2123.65
176-197F | 442.12 | 104.26 | 502.47 | 2854 | 0.15491 | 0.036531 | 0.17606 | 1805.15
176-200F | 352.95 | 104.26 | 534.98 | 2854 | 0.12367 | 0.036531 | 0.18745 | 1861.81
176-36R | 287.78 | 126.6 | 530.32 | 2854 | 0.10083 | 0.044359 | 0.18582 | 1909.3
176-41R | 250.37 | 104.26 | 561.5 | 2854 | 0.087726 | 0.036531 | 0.19674 | 1937.87
177-955 | 691.09 | 81.92 | 132.31 | 2854 | 0.24215 | 0.028704 | 0.046359 | 1948.68
178-968AE | 302.48 | 0 | 416.53 | 2854 | 0.10598 | 0 | 0.14595 | 2134.99
178-982 | 156.33 | 0 | 643.65 | 2854 | 0.054776 | 0 | 0.22553 | 2054.02
182-2240F | 587.51 | 89.36 | 347.95 | 2854 | 0.20585 | 0.03131 | 0.12192 | 1829.18
182-2252R | 497.83 | 0 | 688.64 | 2854 | 0.17443 | 0 | 0.24129 | 1667.53
182-2254R | 117.46 | 44.68 | 558.61 | 2854 | 0.041156 | 0.015655 | 0.19573 | 2133.25
183-439AE | 403.64 | 0 | 683.75 | 2854 | 0.14143 | 0 | 0.23958 | 1766.61
183-440AE | 421.57 | 44.68 | 576.97 | 2854 | 0.14771 | 0.015655 | 0.20216 | 1810.78
185-40AE | 148.97 | 0 | 218.7 | 2854 | 0.052197 | 0 | 0.076629 | 2486.33
185-51F | 389.57 | 44.68 | 518.39 | 2854 | 0.1365 | 0.015655 | 0.18164 | 1901.36
185-52F | 589.35 | 0 | 677.97 | 2854 | 0.2065 | 0 | 0.23755 | 1586.68
197-1150F | 30.16 | 14.89 | 687.68 | 2854 | 0.010568 | 0.0052172 | 0.24095 | 2121.27
197-1155F | 427.05 | 14.89 | 862.9 | 2854 | 0.14963 | 0.0052172 | 0.30235 | 1549.16
198-37R | 310.38 | 7.45 | 370.38 | 2854 | 0.10875 | 0.0026104 | 0.12978 | 2165.79
200-613AE | 380.04 | 14.89 | 383.08 | 2854 | 0.13316 | 0.0052172 | 0.13423 | 2075.99
203-21R | 501.94 | 14.89 | 106.07 | 2854 | 0.17587 | 0.0052172 | 0.037165 | 2231.1
204-32R | 68.85 | 14.89 | 421.26 | 2854 | 0.024124 | 0.0052172 | 0.1476 | 2349
205-1550 | 594.57 | 0 | 199.53 | 2854 | 0.20833 | 0 | 0.069912 | 2059.9
206-1105 | 539.21 | 0 | 186.13 | 2854 | 0.18893 | 0 | 0.065217 | 2128.66
206-1817 | 504.09 | 0 | 440.68 | 2854 | 0.17663 | 0 | 0.15441 | 1909.23
209-623AE | 440.32 | 0 | 379.61 | 2854 | 0.15428 | 0 | 0.13301 | 2034.07
210-172R | 181.32 | 0 | 149.97 | 2854 | 0.063532 | 0 | 0.052547 | 2522.71
210-9R | 290.29 | 0 | 159.91 | 2854 | 0.10171 | 0 | 0.05603 | 2403.8
211-279R | 144.6 | 96.81 | 103.25 | 2854 | 0.050666 | 0.033921 | 0.036177 | 2509.34
211-280R | 283.02 | 0 | 122.88 | 2854 | 0.099166 | 0 | 0.043055 | 2448.1
211-312R | 121.08 | 81.92 | 491.08 | 2854 | 0.042425 | 0.028704 | 0.17207 | 2159.92
212-1177R | 197.84 | 89.36 | 523.4 | 2854 | 0.06932 | 0.03131 | 0.18339 | 2043.4
212-638R | 53.04 | 96.81 | 397.28 | 2854 | 0.018584 | 0.033921 | 0.1392 | 2306.87
212-650R | 226.78 | 74.47 | 478.05 | 2854 | 0.07946 | 0.026093 | 0.1675 | 2074.7
212-652R | 182.4 | 74.47 | 468.38 | 2854 | 0.06391 | 0.026093 | 0.16411 | 2128.75
212-734R | 23.04 | 89.36 | 288.81 | 2854 | 0.0080729 | 0.03131 | 0.10119 | 2452.79
212-739R | 589.28 | 96.81 | 241.32 | 2854 | 0.20648 | 0.033921 | 0.084555 | 1926.59
212-743R | 87.83 | 89.36 | 381.28 | 2854 | 0.030774 | 0.03131 | 0.13359 | 2295.53
212-773R | 245.31 | 171.28 | 289.72 | 2854 | 0.085953 | 0.060014 | 0.10151 | 2147.69
212-880R | 267.16 | 89.36 | 391.28 | 2854 | 0.093609 | 0.03131 | 0.1371 | 2106.2
212-886R | 96.31 | 171.28 | 253.04 | 2854 | 0.033746 | 0.060014 | 0.088662 | 2333.37
212-888R | 0 | 74.47 | 485.11 | 2854 | 0 | 0.026093 | 0.16998 | 2294.42
214-1122R | 469.11 | 305.32 | 187.51 | 2854 | 0.16437 | 0.10698 | 0.065701 | 1892.06
214-1135R | 412.36 | 59.58 | 208.56 | 2854 | 0.14448 | 0.020876 | 0.073076 | 2173.5
214-17AE | 857.78 | 44.68 | 647.85 | 2854 | 0.30055 | 0.015655 | 0.227 | 1303.69
214-4R | 598.22 | 44.68 | 656.58 | 2854 | 0.20961 | 0.015655 | 0.23006 | 1554.52
214-536R | 794.35 | 141.49 | 66.71 | 2854 | 0.27833 | 0.049576 | 0.023374 | 1851.45
214-583R | 291.53 | 141.49 | 220 | 2854 | 0.10215 | 0.049576 | 0.077085 | 2200.98
214-613R | 1368.95 | 141.49 | 796.14 | 2854 | 0.47966 | 0.049576 | 0.27896 | 547.42
214-647R | 281.22 | 201.07 | 275.04 | 2854 | 0.098535 | 0.070452 | 0.09637 | 2096.67
215-1531R | 518.47 | 111.7 | 476 | 2854 | 0.18166 | 0.039138 | 0.16678 | 1747.83
215-1534R | 410.71 | 111.7 | 532 | 2854 | 0.14391 | 0.039138 | 0.18641 | 1799.59
215-1544R | 328.94 | 14.89 | 442.77 | 2854 | 0.11526 | 0.0052172 | 0.15514 | 2067.4
215-38R | 279.63 | 111.7 | 381.11 | 2854 | 0.097978 | 0.039138 | 0.13354 | 2081.56
216-220R | 366.02 | 119.15 | 598.66 | 2854 | 0.12825 | 0.041748 | 0.20976 | 1770.17
217-41AE | 417.6 | 29.79 | 579.91 | 2854 | 0.14632 | 0.010438 | 0.20319 | 1826.7
217-48AE | 220.03 | 29.79 | 509.87 | 2854 | 0.077095 | 0.010438 | 0.17865 | 2094.31
217-835R | 299.41 | 59.58 | 381.22 | 2854 | 0.10491 | 0.020876 | 0.13357 | 2113.79
217-837R | 359.29 | 59.58 | 447.74 | 2854 | 0.12589 | 0.020876 | 0.15688 | 1987.39
217-972R | 490.9 | 22.34 | 628 | 2854 | 0.172 | 0.0078276 | 0.22004 | 1712.76
217-983R | 219.35 | 0 | 38.43 | 2854 | 0.076857 | 0 | 0.013465 | 2596.22
220-288R | 136.13 | 275.54 | 163.76 | 2854 | 0.047698 | 0.096545 | 0.057379 | 2278.57
220-294R | 256.11 | 498.94 | 33.14 | 2854 | 0.089737 | 0.17482 | 0.011612 | 2065.81
220-298R | 287.14 | 178.73 | 272.76 | 2854 | 0.10061 | 0.062624 | 0.095571 | 2115.37
221-1230F | 0 | 111.7 | 516.19 | 2854 | 0 | 0.039138 | 0.18087 | 2226.11
221-23R | 953.71 | 178.73 | 612.05 | 2854 | 0.33417 | 0.062624 | 0.21445 | 1109.51
221-344R | 660.3 | 111.7 | 480.12 | 2854 | 0.23136 | 0.039138 | 0.16823 | 1601.88
221-35 | 138.38 | 275.54 | 537.56 | 2854 | 0.048486 | 0.096545 | 0.18835 | 1902.52
221-37AE | 583.81 | 178.73 | 426.66 | 2854 | 0.20456 | 0.062624 | 0.1495 | 1664.8
221-38AE | 1239.84 | 178.73 | 763.03 | 2854 | 0.43442 | 0.062624 | 0.26735 | 672.4
221-43AE | 873.07 | 178.73 | 754.54 | 2854 | 0.30591 | 0.062624 | 0.26438 | 1047.66
221-675R | 90.5 | 0 | 299.21 | 2854 | 0.03171 | 0 | 0.10484 | 2464.29
221-6R | 4.99 | 0 | 411.9 | 2854 | 0.0017484 | 0 | 0.14432 | 2437.11
221-782R | 480.88 | 290.43 | 575.8 | 2854 | 0.16849 | 0.10176 | 0.20175 | 1506.89
221-788 | 546.25 | 178.73 | 433.45 | 2854 | 0.1914 | 0.062624 | 0.15187 | 1695.57
221-824 | 348.18 | 126.6 | 569.5 | 2854 | 0.122 | 0.044359 | 0.19954 | 1809.72
222-1364R | 609.4 | 275.54 | 372.77 | 2854 | 0.21352 | 0.096545 | 0.13061 | 1596.29
222-1370R | 170.4 | 364.9 | 303.21 | 2854 | 0.059706 | 0.12786 | 0.10624 | 2015.49
222-1401R | 186.25 | 163.83 | 247.47 | 2854 | 0.065259 | 0.057404 | 0.08671 | 2256.45
222-1433R | 159.81 | 364.9 | 180.78 | 2854 | 0.055995 | 0.12786 | 0.063343 | 2148.51
222-1441R | 181.22 | 104.26 | 280.52 | 2854 | 0.063497 | 0.036531 | 0.09829 | 2288
222-1503 | 1176.5 | 275.54 | 507.76 | 2854 | 0.41223 | 0.096545 | 0.17791 | 894.2
222-1523R | 992.6 | 238.3 | 401.76 | 2854 | 0.34779 | 0.083497 | 0.14077 | 1221.34
222-2013R | 427.99 | 275.54 | 392.17 | 2854 | 0.14996 | 0.096545 | 0.13741 | 1758.3
222-2063R | 0 | 275.54 | 314.87 | 2854 | 0 | 0.096545 | 0.11033 | 2263.59
223-526R | 55.63 | 0 | 260.99 | 2854 | 0.019492 | 0 | 0.091447 | 2537.38
230-1008R | 83.67 | 59.58 | 220.57 | 2854 | 0.029317 | 0.020876 | 0.077285 | 2490.18
230-127AE | 523.38 | 59.58 | 585.69 | 2854 | 0.18338 | 0.020876 | 0.20522 | 1685.35
230-133AE | 591.16 | 0 | 532.33 | 2854 | 0.20713 | 0 | 0.18652 | 1730.51
230-1586R | 712.03 | 0 | 606.52 | 2854 | 0.24948 | 0 | 0.21252 | 1535.45
230-1606R | 690.37 | 0 | 557.22 | 2854 | 0.2419 | 0 | 0.19524 | 1606.41
230-181 | 313.22 | 0 | 384.94 | 2854 | 0.10975 | 0 | 0.13488 | 2155.84
230-371AE | 451.02 | 0 | 608.63 | 2854 | 0.15803 | 0 | 0.21326 | 1794.35
231-1635R | 60.39 | 7.45 | 586.07 | 2854 | 0.02116 | 0.0026104 | 0.20535 | 2200.09
231-42 | 367.04 | 7.45 | 427.13 | 2854 | 0.12861 | 0.0026104 | 0.14966 | 2052.38
232-40AE | 480.74 | 22.34 | 2131.07 | 2854 | 0.16844 | 0.0078276 | 0.7467 | 219.85
233-123R | 527.91 | 0 | 570.57 | 2854 | 0.18497 | 0 | 0.19992 | 1755.52
233-41R | 308.64 | 0 | 608.98 | 2854 | 0.10814 | 0 | 0.21338 | 1936.38
233-81F | 498.51 | 0 | 577.41 | 2854 | 0.17467 | 0 | 0.20232 | 1778.08
233-86F | 276.98 | 0 | 485.61 | 2854 | 0.09705 | 0 | 0.17015 | 2091.41
234-48R | 404.56 | 0 | 774.34 | 2854 | 0.14175 | 0 | 0.27132 | 1675.1
235-897R | 261.6 | 111.7 | 750.15 | 2854 | 0.091661 | 0.039138 | 0.26284 | 1730.55
235-899R | 401.6 | 111.7 | 824.16 | 2854 | 0.14071 | 0.039138 | 0.28877 | 1516.54
236-10R | 330.86 | 74.47 | 636.97 | 2854 | 0.11593 | 0.026093 | 0.22319 | 1811.7
236-1535 | 625.46 | 178.73 | 762.88 | 2854 | 0.21915 | 0.062624 | 0.2673 | 1286.93
236-38R | 407.45 | 74.47 | 490.57 | 2854 | 0.14276 | 0.026093 | 0.17189 | 1881.51
237-1761R | 80.15 | 96.81 | 305.36 | 2854 | 0.028083 | 0.033921 | 0.10699 | 2371.68
237-1765R | 261.19 | 357.45 | 519.81 | 2854 | 0.091517 | 0.12525 | 0.18213 | 1715.55
237-17R | 442.53 | 111.7 | 801.6 | 2854 | 0.15506 | 0.039138 | 0.28087 | 1498.17
237-2R | 373.27 | 96.81 | 351.76 | 2854 | 0.13079 | 0.033921 | 0.12325 | 2032.16
237-30R | 208.65 | 275.54 | 177.52 | 2854 | 0.073108 | 0.096545 | 0.0622 | 2192.29
239-15R | 402.81 | 59.58 | 581.67 | 2854 | 0.14114 | 0.020876 | 0.20381 | 1809.94
239-2144R | 352.36 | 59.58 | 601.65 | 2854 | 0.12346 | 0.020876 | 0.21081 | 1840.41
239-89R | 203.55 | 59.58 | 417.06 | 2854 | 0.071321 | 0.020876 | 0.14613 | 2173.81
240-1028R | 276.97 | 0 | 490.82 | 2854 | 0.097046 | 0 | 0.17198 | 2086.21
240-1044 | 227.16 | 0 | 552.17 | 2854 | 0.079594 | 0 | 0.19347 | 2074.67
240-1095R | 289.33 | 14.89 | 417.72 | 2854 | 0.10138 | 0.0052172 | 0.14636 | 2132.06
240-1097R | 253.21 | 59.58 | 504.59 | 2854 | 0.088721 | 0.020876 | 0.1768 | 2036.62
240-1148 | 167.25 | 7.45 | 493.66 | 2854 | 0.058602 | 0.0026104 | 0.17297 | 2185.64
240-2004R | 365.29 | 0 | 538.32 | 2854 | 0.12799 | 0 | 0.18862 | 1950.39
240-2006R | 116.89 | 0 | 576.03 | 2854 | 0.040957 | 0 | 0.20183 | 2161.08
242-773F | 431.57 | 126.6 | 483.98 | 2854 | 0.15122 | 0.044359 | 0.16958 | 1811.85
243-14R | 394.4 | 14.89 | 31.32 | 2854 | 0.13819 | 0.0052172 | 0.010974 | 2413.39
246-34R | 526.26 | 0 | 567.78 | 2854 | 0.18439 | 0 | 0.19894 | 1759.96
247-46 | 381.06 | 14.89 | 616.8 | 2854 | 0.13352 | 0.0052172 | 0.21612 | 1841.25
247-48 | 530.07 | 14.89 | 504.83 | 2854 | 0.18573 | 0.0052172 | 0.17689 | 1804.21
249-24R | 304.41 | 59.58 | 607.86 | 2854 | 0.10666 | 0.020876 | 0.21299 | 1882.15
252-129AE | 19.64 | 0 | 606.64 | 2854 | 0.0068816 | 0 | 0.21256 | 2227.72
260-358R | 133.56 | 67.02 | 401.44 | 2854 | 0.046797 | 0.023483 | 0.14066 | 2251.98
281-28R | 281.33 | 22.34 | 312.34 | 2854 | 0.098574 | 0.0078276 | 0.10944 | 2237.99
283-55R | 108.62 | 134.04 | 336.64 | 2854 | 0.038059 | 0.046966 | 0.11795 | 2274.7
283-71F | 356.97 | 81.92 | 634.24 | 2854 | 0.12508 | 0.028704 | 0.22223 | 1780.87
283-80F | 200.29 | 81.92 | 1880.28 | 2854 | 0.070179 | 0.028704 | 0.65882 | 691.51
296-68F | 432.99 | 0 | 1123.34 | 2854 | 0.15171 | 0 | 0.3936 | 1297.67
305-32R | 1389.5 | 22.34 | 185.23 | 2854 | 0.48686 | 0.0078276 | 0.064902 | 1256.93
305-35R | 1264.84 | 0 | 153.56 | 2854 | 0.44318 | 0 | 0.053805 | 1435.6
307-1492R | 1172.45 | 22.34 | 247.03 | 2854 | 0.41081 | 0.0078276 | 0.086556 | 1412.18
307-1538F | 796.19 | 22.34 | 531.83 | 2854 | 0.27897 | 0.0078276 | 0.18635 | 1503.64
307-234R | 840.95 | 44.68 | 532.19 | 2854 | 0.29466 | 0.015655 | 0.18647 | 1436.18
308-485AE | 261.52 | 7.45 | 209.71 | 2854 | 0.091633 | 0.0026104 | 0.073479 | 2375.32
308-563AE | 399.52 | 7.45 | 594.07 | 2854 | 0.13999 | 0.0026104 | 0.20815 | 1852.96
311-1163 | 252.67 | 14.89 | 670.84 | 2854 | 0.088532 | 0.0052172 | 0.23505 | 1915.6
311-43 | 540.83 | 14.89 | 913.24 | 2854 | 0.1895 | 0.0052172 | 0.31999 | 1385.04
312-28R | 278.34 | 14.89 | 1559.62 | 2854 | 0.097526 | 0.0052172 | 0.54647 | 1001.15
315-1151 | 0 | 14.89 | 450.27 | 2854 | 0 | 0.0052172 | 0.15777 | 2388.84
315-485AE | 1179.18 | 52.13 | 566 | 2854 | 0.41317 | 0.018266 | 0.19832 | 1056.69
338-6R | 120.63 | 52.13 | 679.53 | 2854 | 0.042267 | 0.018266 | 0.2381 | 2001.71
339-478R | 135.91 | 52.13 | 238.77 | 2854 | 0.047621 | 0.018266 | 0.083662 | 2427.19
339-480R | 146.53 | 52.13 | 468.25 | 2854 | 0.051342 | 0.018266 | 0.16407 | 2187.09
350-2182R | 328.89 | 52.13 | 403.7 | 2854 | 0.11524 | 0.018266 | 0.14145 | 2069.28
350-2188R | 461.62 | 0 | 562.18 | 2854 | 0.16174 | 0 | 0.19698 | 1830.2
350-2192R | 415.64 | 52.13 | 575.78 | 2854 | 0.14563 | 0.018266 | 0.20174 | 1810.45
350-2196R | 397.96 | 74.47 | 526.03 | 2854 | 0.13944 | 0.026093 | 0.18431 | 1855.54
350-2201R | 415.28 | 104.26 | 408.75 | 2854 | 0.14551 | 0.036531 | 0.14322 | 1925.71
350-41R | 538.12 | 52.13 | 513.68 | 2854 | 0.18855 | 0.018266 | 0.17999 | 1750.07
351-819R | 494.58 | 59.58 | 639.09 | 2854 | 0.17329 | 0.020876 | 0.22393 | 1660.75
351-871R | 313.65 | 29.79 | 579.13 | 2854 | 0.1099 | 0.010438 | 0.20292 | 1931.43
352-27R | 713.69 | 52.13 | 622.53 | 2854 | 0.25007 | 0.018266 | 0.21813 | 1465.65
353-593F | 629.82 | 0 | 623.21 | 2854 | 0.22068 | 0 | 0.21836 | 1600.97
353-594F | 352.39 | 0 | 602.3 | 2854 | 0.12347 | 0 | 0.21104 | 1899.31
353-900F | 931.05 | 59.58 | 754.85 | 2854 | 0.32623 | 0.020876 | 0.26449 | 1108.52
353-901F | 402.66 | 59.58 | 899.38 | 2854 | 0.14109 | 0.020876 | 0.31513 | 1492.38
353-902F | 375.63 | 59.58 | 560.19 | 2854 | 0.13162 | 0.020876 | 0.19628 | 1858.6
353-904R | 398.25 | 59.58 | 631.4 | 2854 | 0.13954 | 0.020876 | 0.22123 | 1764.77
353-914R | 928.36 | 59.58 | 816.98 | 2854 | 0.32528 | 0.020876 | 0.28626 | 1049.08
354-24AE | 355.38 | 0 | 524.43 | 2854 | 0.12452 | 0 | 0.18375 | 1974.19
354-38R | 407.94 | 0 | 597.46 | 2854 | 0.14294 | 0 | 0.20934 | 1848.6
355-41R | 652.18 | 29.79 | 714.97 | 2854 | 0.22851 | 0.010438 | 0.25052 | 1457.06
355-65R | 1277.82 | 29.79 | 2078.41 | 2854 | 0.44773 | 0.010438 | 0.72824 | -532.02
355-6R | 956.85 | 29.79 | 636.88 | 2854 | 0.33527 | 0.010438 | 0.22315 | 1230.48
356-16R | 467.12 | 81.92 | 794.68 | 2854 | 0.16367 | 0.028704 | 0.27844 | 1510.28
356-19R | 366.63 | 67.02 | 506.98 | 2854 | 0.12846 | 0.023483 | 0.17764 | 1913.37
356-30AE | 459.93 | 0 | 639.34 | 2854 | 0.16115 | 0 | 0.22402 | 1754.73
357-1147R | 384.06 | 201.07 | 838.54 | 2854 | 0.13457 | 0.070452 | 0.29381 | 1430.33
357-1299R | 112.13 | 297.88 | 386.93 | 2854 | 0.039289 | 0.10437 | 0.13557 | 2057.06
357-2049F | 492.48 | 141.49 | 514.53 | 2854 | 0.17256 | 0.049576 | 0.18028 | 1705.5
357-45R | 497.54 | 119.15 | 585.44 | 2854 | 0.17433 | 0.041748 | 0.20513 | 1651.87
357-50R | 571.21 | 81.92 | 510.55 | 2854 | 0.20014 | 0.028704 | 0.17889 | 1690.32
357-750R | 473.12 | 119.15 | 540.92 | 2854 | 0.16577 | 0.041748 | 0.18953 | 1720.81
358-33 | 633.14 | 141.49 | 953.09 | 2854 | 0.22184 | 0.049576 | 0.33395 | 1126.28
358-585R | 334.96 | 141.49 | 529.43 | 2854 | 0.11737 | 0.049576 | 0.1855 | 1848.12
358-682F | 250.11 | 662.77 | 220.16 | 2854 | 0.087635 | 0.23222 | 0.077141 | 1720.96
387-15 | 243.91 | 81.92 | 218.54 | 2854 | 0.085463 | 0.028704 | 0.076573 | 2309.63
393-14R | 310.47 | 126.6 | 619.09 | 2854 | 0.10878 | 0.044359 | 0.21692 | 1797.84
396-699R | 660.32 | 126.6 | 629.09 | 2854 | 0.23137 | 0.044359 | 0.22042 | 1437.99
411-14R | 553.2 | 14.89 | 628.58 | 2854 | 0.19383 | 0.0052172 | 0.22025 | 1657.33
411-30R | 460.1 | 14.89 | 593.71 | 2854 | 0.16121 | 0.0052172 | 0.20803 | 1785.3
411-47R | 382.28 | 7.45 | 122.75 | 2854 | 0.13395 | 0.0026104 | 0.04301 | 2341.52
440-13R | 52.1 | 215.96 | 218.42 | 2854 | 0.018255 | 0.075669 | 0.076531 | 2367.52
441-23R | 344.1 | 603.2 | 225.39 | 2854 | 0.12057 | 0.21135 | 0.078973 | 1681.31
441-25R | 119.9 | 603.2 | 93.97 | 2854 | 0.042011 | 0.21135 | 0.032926 | 2036.93
441-279R | 103.91 | 603.2 | 267.67 | 2854 | 0.036409 | 0.21135 | 0.093788 | 1879.22
441-27R | 53.26 | 171.28 | 285.27 | 2854 | 0.018662 | 0.060014 | 0.099954 | 2344.19
441-30R | 73.52 | 603.2 | 242.6 | 2854 | 0.02576 | 0.21135 | 0.085004 | 1934.68
442-14R | 70.19 | 215.96 | 328.45 | 2854 | 0.024594 | 0.075669 | 0.11508 | 2239.4
442-16R | 431.62 | 141.49 | 363.04 | 2854 | 0.15123 | 0.049576 | 0.1272 | 1917.85
442-28R | 195.14 | 111.7 | 497.56 | 2854 | 0.068374 | 0.039138 | 0.17434 | 2049.6
442-29R | 705.03 | 111.7 | 623.68 | 2854 | 0.24703 | 0.039138 | 0.21853 | 1413.59
442-46R | 1501.3 | 111.7 | 950.79 | 2854 | 0.52603 | 0.039138 | 0.33314 | 290.21
442-509R | 941.84 | 0 | 514.12 | 2854 | 0.33001 | 0 | 0.18014 | 1398.04
442-525 | 1117.08 | 0 | 624.6 | 2854 | 0.39141 | 0 | 0.21885 | 1112.32
442-728R | 610.48 | 171.28 | 528.46 | 2854 | 0.2139 | 0.060014 | 0.18516 | 1543.78
444-15R | 24.21 | 111.7 | 205.28 | 2854 | 0.0084828 | 0.039138 | 0.071927 | 2512.81
444-43R | 57.28 | 96.81 | 376.83 | 2854 | 0.02007 | 0.033921 | 0.13204 | 2323.08
444-9R | 292.09 | 111.7 | 461.14 | 2854 | 0.10234 | 0.039138 | 0.16158 | 1989.07
445-1311R | 173.85 | 774.48 | 237.44 | 2854 | 0.060915 | 0.27137 | 0.083196 | 1668.23
445-1315 | 0 | 111.7 | 2194.74 | 2854 | 0 | 0.039138 | 0.769 | 547.56
445-1318 | 0 | 96.81 | 659.1 | 2854 | 0 | 0.033921 | 0.23094 | 2098.09
445-1325 | 0 | 96.81 | 291.47 | 2854 | 0 | 0.033921 | 0.10213 | 2465.72
445-17R | 666.01 | 96.81 | 351.59 | 2854 | 0.23336 | 0.033921 | 0.12319 | 1739.59
445-19R | 119.81 | 96.81 | 364.37 | 2854 | 0.04198 | 0.033921 | 0.12767 | 2273.01
445-24R | 122.38 | 119.15 | 172.5 | 2854 | 0.04288 | 0.041748 | 0.060441 | 2439.97
445-39R | 163.5 | 96.81 | 331.71 | 2854 | 0.057288 | 0.033921 | 0.11623 | 2261.98
445-894R | 106.03 | 67.02 | 403.94 | 2854 | 0.037151 | 0.023483 | 0.14153 | 2277.01
445-897R | 144.79 | 67.02 | 304.68 | 2854 | 0.050732 | 0.023483 | 0.10676 | 2337.51
448-1196F | 494.86 | 134.04 | 3204.95 | 2854 | 0.17339 | 0.046966 | 1.123 | -979.85
448-11R | 150.2 | 171.28 | 424.13 | 2854 | 0.052628 | 0.060014 | 0.14861 | 2108.39
448-13R | 155.6 | 230.85 | 403.14 | 2854 | 0.05452 | 0.080886 | 0.14125 | 2064.41
448-19R | 103.46 | 305.32 | 396.05 | 2854 | 0.036251 | 0.10698 | 0.13877 | 2049.17
448-23R | 116.51 | 305.32 | 482.84 | 2854 | 0.040823 | 0.10698 | 0.16918 | 1949.33
448-33R | 163.04 | 59.58 | 455.78 | 2854 | 0.057127 | 0.020876 | 0.1597 | 2175.6
448-9R | 135.56 | 134.04 | 445.83 | 2854 | 0.047498 | 0.046966 | 0.15621 | 2138.57
449-13R | 424.14 | 119.15 | 594.18 | 2854 | 0.14861 | 0.041748 | 0.20819 | 1716.53
449-16R | 226.73 | 119.15 | 532.89 | 2854 | 0.079443 | 0.041748 | 0.18672 | 1975.23
449-19R | 240.43 | 134.04 | 516.87 | 2854 | 0.084243 | 0.046966 | 0.1811 | 1962.66
449-683R | 130.1 | 134.04 | 381.3 | 2854 | 0.045585 | 0.046966 | 0.1336 | 2208.56
449-6R | 204.81 | 134.04 | 354.12 | 2854 | 0.071762 | 0.046966 | 0.12408 | 2161.03
450-18 | 601.21 | 96.81 | 618.53 | 2854 | 0.21066 | 0.033921 | 0.21672 | 1537.45
450-50R | 555.74 | 96.81 | 638.13 | 2854 | 0.19472 | 0.033921 | 0.22359 | 1563.32
450-88R | 495.74 | 96.81 | 312.41 | 2854 | 0.1737 | 0.033921 | 0.10946 | 1949.04
452-38AE | 434.69 | 89.36 | 511.31 | 2854 | 0.15231 | 0.03131 | 0.17916 | 1818.64
454-1814 | 0 | 96.81 | 1138.74 | 2854 | 0 | 0.033921 | 0.399 | 1618.45
454-47R | 96.53 | 96.81 | 343.15 | 2854 | 0.033823 | 0.033921 | 0.12023 | 2317.51
454-48F | 532.23 | 96.81 | 280.6 | 2854 | 0.18649 | 0.033921 | 0.098318 | 1944.36
463-1136F | 20.51 | 0 | 443.96 | 2854 | 0.0071864 | 0 | 0.15556 | 2389.53
470-40AE | 332.62 | 59.58 | 532.02 | 2854 | 0.11655 | 0.020876 | 0.18641 | 1929.78
470-47R | 196.62 | 59.58 | 566.15 | 2854 | 0.068893 | 0.020876 | 0.19837 | 2031.65
471-36F | 706.39 | 74.47 | 389.03 | 2854 | 0.24751 | 0.026093 | 0.13631 | 1684.11
476-885R | 813.64 | 148.94 | 23.74 | 2854 | 0.28509 | 0.052186 | 0.0083181 | 1867.68
486-61R | 212.17 | 0 | 52.75 | 2854 | 0.074341 | 0 | 0.018483 | 2589.08
500-1531 | 232.06 | 7.45 | 510.33 | 2854 | 0.08131 | 0.0026104 | 0.17881 | 2104.16
501-786 | 777.34 | 7.45 | 637.75 | 2854 | 0.27237 | 0.0026104 | 0.22346 | 1431.46
502-718F | 164.14 | 104.26 | 315.25 | 2854 | 0.057512 | 0.036531 | 0.11046 | 2270.35
504-36R | 291.77 | 0 | 211.56 | 2854 | 0.10223 | 0 | 0.074128 | 2350.67
520-1045R | 611.7 | 74.47 | 391.08 | 2854 | 0.21433 | 0.026093 | 0.13703 | 1776.75
520-10R | 611.38 | 22.34 | 526.09 | 2854 | 0.21422 | 0.0078276 | 0.18433 | 1694.19
520-1489R | 357.54 | 74.47 | 484.34 | 2854 | 0.12528 | 0.026093 | 0.16971 | 1937.65
520-1509R | 526.26 | 0 | 551.38 | 2854 | 0.18439 | 0 | 0.1932 | 1776.36
520-1525R | 366.23 | 0 | 438.61 | 2854 | 0.12832 | 0 | 0.15368 | 2049.16
520-1527R | 450.81 | 0 | 533.23 | 2854 | 0.15796 | 0 | 0.18684 | 1869.96
520-22R | 423.84 | 22.34 | 777.19 | 2854 | 0.14851 | 0.0078276 | 0.27232 | 1630.63
520-35R | 548.88 | 74.47 | 510.99 | 2854 | 0.19232 | 0.026093 | 0.17904 | 1719.66
520-45 | 339.5 | 74.47 | 439.44 | 2854 | 0.11896 | 0.026093 | 0.15397 | 2000.59
521-14R | 405.67 | 37.23 | 540.86 | 2854 | 0.14214 | 0.013045 | 0.18951 | 1870.24
521-1819R | 574.39 | 22.34 | 763.3 | 2854 | 0.20126 | 0.0078276 | 0.26745 | 1493.97
521-18R | 384.3 | 37.23 | 657.64 | 2854 | 0.13465 | 0.013045 | 0.23043 | 1774.83
521-27R | 508.7 | 22.34 | 806.28 | 2854 | 0.17824 | 0.0078276 | 0.28251 | 1516.68
521-32R | 326.94 | 141.49 | 483.87 | 2854 | 0.11456 | 0.049576 | 0.16954 | 1901.7
521-700R | 689.03 | 22.34 | 717.49 | 2854 | 0.24143 | 0.0078276 | 0.2514 | 1425.14
522-34 | 289.82 | 22.34 | 875.47 | 2854 | 0.10155 | 0.0078276 | 0.30675 | 1666.37
522-36 | 288.4 | 22.34 | 865.48 | 2854 | 0.10105 | 0.0078276 | 0.30325 | 1677.78
522-38R | 576.13 | 0 | 650.33 | 2854 | 0.20187 | 0 | 0.22787 | 1627.54
523-31AE | 312.49 | 22.34 | 790 | 2854 | 0.10949 | 0.0078276 | 0.2768 | 1729.17
524-1782 | 418.33 | 0 | 541.44 | 2854 | 0.14658 | 0 | 0.18971 | 1894.23
524-27R | 406.87 | 0 | 553.38 | 2854 | 0.14256 | 0 | 0.1939 | 1893.75
524-46R | 311.03 | 0 | 505.97 | 2854 | 0.10898 | 0 | 0.17728 | 2037
524-50R | 268.51 | 0 | 465.91 | 2854 | 0.094082 | 0 | 0.16325 | 2119.58
524-69R | 291.01 | 171.28 | 461.09 | 2854 | 0.10197 | 0.060014 | 0.16156 | 1930.62
534-581R | 49.43 | 67.02 | 549.8 | 2854 | 0.01732 | 0.023483 | 0.19264 | 2187.75
536-150R | 48.79 | 67.02 | 301.35 | 2854 | 0.017095 | 0.023483 | 0.10559 | 2436.84
591-1594R | 217.15 | 37.23 | 257.15 | 2854 | 0.076086 | 0.013045 | 0.090102 | 2342.47
594-1379F | 338.35 | 37.23 | 395.28 | 2854 | 0.11855 | 0.013045 | 0.1385 | 2083.14
597-595 | 458.04 | 81.92 | 584.2 | 2854 | 0.16049 | 0.028704 | 0.2047 | 1729.84
599-19R | 452.89 | 0 | 575.81 | 2854 | 0.15869 | 0 | 0.20176 | 1825.3
66-1213R | 1597.11 | 14.89 | 44.25 | 2854 | 0.5596 | 0.0052172 | 0.015505 | 1197.75
67-24R | 268.67 | 141.49 | 528.01 | 2854 | 0.094138 | 0.049576 | 0.18501 | 1915.83
67-34R | 367.75 | 141.49 | 478.84 | 2854 | 0.12885 | 0.049576 | 0.16778 | 1865.92
67-37R | 141.65 | 141.49 | 586.31 | 2854 | 0.049632 | 0.049576 | 0.20543 | 1984.55
67-45R | 208.22 | 141.49 | 580.46 | 2854 | 0.072957 | 0.049576 | 0.20338 | 1923.83
73-1130 | 145.31 | 126.6 | 378.04 | 2854 | 0.050915 | 0.044359 | 0.13246 | 2204.05
73-23R | 188.15 | 141.49 | 478.96 | 2854 | 0.065925 | 0.049576 | 0.16782 | 2045.4
73-643R | 407.57 | 186.17 | 116.72 | 2854 | 0.14281 | 0.065231 | 0.040897 | 2143.54
73-678R | 206.25 | 141.49 | 438.24 | 2854 | 0.072267 | 0.049576 | 0.15355 | 2068.02
73-683R | 276.89 | 141.49 | 409.25 | 2854 | 0.097018 | 0.049576 | 0.1434 | 2026.37
75-32R | 619.18 | 7.45 | 683.33 | 2854 | 0.21695 | 0.0026104 | 0.23943 | 1544.04
75-41 | 216.9 | 7.45 | 569.06 | 2854 | 0.075999 | 0.0026104 | 0.19939 | 2060.59
75-996R | 445.11 | 7.45 | 528.52 | 2854 | 0.15596 | 0.0026104 | 0.18519 | 1872.92
770-259R | 7.08 | 7.45 | 419.59 | 2854 | 0.0024807 | 0.0026104 | 0.14702 | 2419.88
78-26R | 483.51 | 342.56 | 425.04 | 2854 | 0.16941 | 0.12003 | 0.14893 | 1602.89
78-35R | 4.17 | 342.56 | 375.86 | 2854 | 0.0014611 | 0.12003 | 0.1317 | 2131.41
78-404R | 261.41 | 141.49 | 461.38 | 2854 | 0.091594 | 0.049576 | 0.16166 | 1989.72
78-782R | 151.29 | 342.56 | 289.03 | 2854 | 0.05301 | 0.12003 | 0.10127 | 2071.12
788-34R | 495.04 | 245.75 | 472.44 | 2854 | 0.17345 | 0.086107 | 0.16554 | 1640.77
79-1215F | 471.59 | 245.75 | 889.4 | 2854 | 0.16524 | 0.086107 | 0.31163 | 1247.26
791-419F | 394.12 | 96.81 | 326.84 | 2854 | 0.13809 | 0.033921 | 0.11452 | 2036.23
79-658R | 256.38 | 156.38 | 475.88 | 2854 | 0.089832 | 0.054793 | 0.16674 | 1965.36
79-660R | 435.61 | 126.6 | 479.45 | 2854 | 0.15263 | 0.044359 | 0.16799 | 1812.34
79-668R | 353.85 | 126.6 | 535.63 | 2854 | 0.12398 | 0.044359 | 0.18768 | 1837.92
79-676R | 567.54 | 156.38 | 557.81 | 2854 | 0.19886 | 0.054793 | 0.19545 | 1572.27
79-679R | 317.52 | 461.71 | 468.03 | 2854 | 0.11125 | 0.16178 | 0.16399 | 1606.74
79-685R | 76.78 | 543.62 | 340.74 | 2854 | 0.026903 | 0.19048 | 0.11939 | 1892.86
79-714R | 452.62 | 156.38 | 450.85 | 2854 | 0.15859 | 0.054793 | 0.15797 | 1794.15
79-785 | 406.66 | 156.38 | 500.96 | 2854 | 0.14249 | 0.054793 | 0.17553 | 1790
79-799R | 62.23 | 1303.21 | 449.68 | 2854 | 0.021804 | 0.45663 | 0.15756 | 1038.88
79-808R | 180.04 | 461.71 | 451.77 | 2854 | 0.063083 | 0.16178 | 0.15829 | 1760.48
799-504R | 584.69 | 14.89 | 513.29 | 2854 | 0.20487 | 0.0052172 | 0.17985 | 1741.13
835-10F | 1463.33 | 22.34 | 1038.27 | 2854 | 0.51273 | 0.0078276 | 0.36379 | 330.06
835-11F | 176.64 | 22.34 | 516.02 | 2854 | 0.061892 | 0.0078276 | 0.18081 | 2139
835-35F | 670.33 | 22.34 | 1401.54 | 2854 | 0.23487 | 0.0078276 | 0.49108 | 759.79
840-308F | 91.57 | 67.02 | 438.23 | 2854 | 0.032085 | 0.023483 | 0.15355 | 2257.18
855-46AE | 109.79 | 0 | 896.67 | 2854 | 0.038469 | 0 | 0.31418 | 1847.54
859-42R | 515.86 | 0 | 376.33 | 2854 | 0.18075 | 0 | 0.13186 | 1961.81
907-1562AE | 757.53 | 81.92 | 903.33 | 2854 | 0.26543 | 0.028704 | 0.31651 | 1111.22
907-1602 | 433.84 | 29.79 | 1649.65 | 2854 | 0.15201 | 0.010438 | 0.57801 | 740.72
907-1604 | 822.78 | 29.79 | 4144.62 | 2854 | 0.28829 | 0.010438 | 1.4522 | -2143.19
907-1702R | 785.83 | 89.36 | 622.37 | 2854 | 0.27534 | 0.03131 | 0.21807 | 1356.44
907-1716R | 747.18 | 81.92 | 593.6 | 2854 | 0.2618 | 0.028704 | 0.20799 | 1431.3
907-2820R | 208.03 | 37.23 | 250.94 | 2854 | 0.072891 | 0.013045 | 0.087926 | 2357.8
908-1172R | 691.47 | 14.89 | 535.53 | 2854 | 0.24228 | 0.0052172 | 0.18764 | 1612.11
908-1236R | 698.23 | 81.92 | 643.72 | 2854 | 0.24465 | 0.028704 | 0.22555 | 1430.13
908-1368R | 286.57 | 104.26 | 514.93 | 2854 | 0.10041 | 0.036531 | 0.18042 | 1948.24
908-1370R | 474.33 | 29.79 | 530.77 | 2854 | 0.1662 | 0.010438 | 0.18597 | 1819.11
908-1372R | 462.65 | 141.49 | 502.73 | 2854 | 0.16211 | 0.049576 | 0.17615 | 1747.13
908-2038R | 460.86 | 111.7 | 533.95 | 2854 | 0.16148 | 0.039138 | 0.18709 | 1747.49
908-2040 | 644.6 | 104.26 | 673.68 | 2854 | 0.22586 | 0.036531 | 0.23605 | 1431.46
908-30 | 699.08 | 29.79 | 644.02 | 2854 | 0.24495 | 0.010438 | 0.22566 | 1481.11
909-17R | 415.2 | 126.6 | 574.13 | 2854 | 0.14548 | 0.044359 | 0.20117 | 1738.07
909-805R | 421.73 | 126.6 | 575.19 | 2854 | 0.14777 | 0.044359 | 0.20154 | 1730.48
91-7F | 411.96 | 81.92 | 452.1 | 2854 | 0.14434 | 0.028704 | 0.15841 | 1908.02
920-1342R | 267.34 | 37.23 | 548.2 | 2854 | 0.093672 | 0.013045 | 0.19208 | 2001.23
920-735AE | 303.16 | 0 | 239.34 | 2854 | 0.10622 | 0 | 0.083861 | 2311.5
921-800F | 490.1 | 37.23 | 179.15 | 2854 | 0.17172 | 0.013045 | 0.062772 | 2147.52
928-19 | 0 | 37.23 | 504.25 | 2854 | 0 | 0.013045 | 0.17668 | 2312.52
968-476F | 46.48 | 7.45 | 323.2 | 2854 | 0.016286 | 0.0026104 | 0.11324 | 2476.87
970-1341R | 121.18 | 357.45 | 476.87 | 2854 | 0.04246 | 0.12525 | 0.16709 | 1898.5
971-1973R | 576.45 | 22.34 | 595.28 | 2854 | 0.20198 | 0.0078276 | 0.20858 | 1659.93
971-29R | 340.12 | 111.7 | 658.85 | 2854 | 0.11917 | 0.039138 | 0.23085 | 1743.33
971-371R | 198.05 | 111.7 | 415.87 | 2854 | 0.069394 | 0.039138 | 0.14571 | 2128.38
971-381R | 190.23 | 111.7 | 601.36 | 2854 | 0.066654 | 0.039138 | 0.21071 | 1950.71
971-383R | 409.71 | 111.7 | 604.14 | 2854 | 0.14356 | 0.039138 | 0.21168 | 1728.45
971-388R | 311.99 | 22.34 | 416.51 | 2854 | 0.10932 | 0.0078276 | 0.14594 | 2103.16
972-1582R | 209.51 | 89.36 | 340.1 | 2854 | 0.073409 | 0.03131 | 0.11917 | 2215.03
972-26R | 348.82 | 111.7 | 376.89 | 2854 | 0.12222 | 0.039138 | 0.13206 | 2016.59
972-32R | 376.41 | 89.36 | 744.86 | 2854 | 0.13189 | 0.03131 | 0.26099 | 1643.37
972-8 | 459.63 | 111.7 | 670.89 | 2854 | 0.16105 | 0.039138 | 0.23507 | 1611.78
972-942R | 289.51 | 89.36 | 457.19 | 2854 | 0.10144 | 0.03131 | 0.16019 | 2017.94
973-530AE | 377.3 | 104.26 | 1210.57 | 2854 | 0.1322 | 0.036531 | 0.42417 | 1161.87
973-626R | 147.92 | 104.26 | 472.36 | 2854 | 0.051829 | 0.036531 | 0.16551 | 2129.46
973-630R | 269.16 | 111.7 | 464.88 | 2854 | 0.09431 | 0.039138 | 0.16289 | 2008.26
973-649R | 201.74 | 22.34 | 389.84 | 2854 | 0.070687 | 0.0078276 | 0.13659 | 2240.08
974-23R | 255.73 | 59.58 | 427.06 | 2854 | 0.089604 | 0.020876 | 0.14964 | 2111.63
974-35R | 57.82 | 111.7 | 299.55 | 2854 | 0.020259 | 0.039138 | 0.10496 | 2384.93
975-22R | 65.19 | 111.7 | 353.61 | 2854 | 0.022842 | 0.039138 | 0.1239 | 2323.5
CB 1023 | 260.31 | 74.47 | 488.71 | 2854 | 0.091209 | 0.026093 | 0.17124 | 2030.51
CB 1090 | 196.64 | 7.45 | 428.06 | 2854 | 0.0689 | 0.0026104 | 0.14999 | 2221.85
CB 1100 | 75.96 | 74.47 | 745.13 | 2854 | 0.026615 | 0.026093 | 0.26108 | 1958.44
CB 1101 | 83.23 | 104.26 | 343.32 | 2854 | 0.029163 | 0.036531 | 0.12029 | 2323.19
CB 1106 | 240.54 | 52.13 | 516.87 | 2854 | 0.084282 | 0.018266 | 0.1811 | 2044.46
CB 1138 | 457.72 | 126.6 | 306.09 | 2854 | 0.16038 | 0.044359 | 0.10725 | 1963.59
CB 1160 | 257.44 | 67.02 | 826.28 | 2854 | 0.090203 | 0.023483 | 0.28952 | 1703.26
CB 1161 | 272.43 | 67.02 | 1159.01 | 2854 | 0.095456 | 0.023483 | 0.4061 | 1355.54
CB 1166 | 0 | 134.04 | 592.85 | 2854 | 0 | 0.046966 | 0.20773 | 2127.11
CB 1215 | 121.95 | 0 | 447.1 | 2854 | 0.04273 | 0 | 0.15666 | 2284.95
CB 1233 | 1138.18 | 59.58 | 5541.66 | 2854 | 0.3988 | 0.020876 | 1.9417 | -3885.42
CB 1234 | 398.95 | 59.58 | 541.81 | 2854 | 0.13979 | 0.020876 | 0.18984 | 1853.66
CB 1235 | 635.34 | 0 | 686.33 | 2854 | 0.22261 | 0 | 0.24048 | 1532.33
CB 1243 | 278.23 | 7.45 | 595.89 | 2854 | 0.097488 | 0.0026104 | 0.20879 | 1972.43
CB 1245 | 50.89 | 7.45 | 536.42 | 2854 | 0.017831 | 0.0026104 | 0.18795 | 2259.24
CB 1250 | 146.06 | 89.36 | 238.82 | 2854 | 0.051177 | 0.03131 | 0.083679 | 2379.76
CB 1299 | 19.4 | 7.45 | 215.88 | 2854 | 0.0067975 | 0.0026104 | 0.075641 | 2611.27
CB 1458 | 541.75 | 81.92 | 1133.07 | 2854 | 0.18982 | 0.028704 | 0.39701 | 1097.26
CB 157 | 192.91 | 342.56 | 1933.9 | 2854 | 0.067593 | 0.12003 | 0.67761 | 384.63
CB 176 | 26.28 | 0 | 214.36 | 2854 | 0.0092081 | 0 | 0.075109 | 2613.36
CB 185 | 521.67 | 0 | 187.77 | 2854 | 0.18279 | 0 | 0.065792 | 2144.56
CB 196 | 425.52 | 14.89 | 330.14 | 2854 | 0.1491 | 0.0052172 | 0.11568 | 2083.45
CB 200 | 34.05 | 14.89 | 475.75 | 2854 | 0.011931 | 0.0052172 | 0.1667 | 2329.31
CB 202 | 140.6 | 350 | 506.14 | 2854 | 0.049264 | 0.12263 | 0.17734 | 1857.26
CB 203 | 609.8 | 14.89 | 1030.86 | 2854 | 0.21367 | 0.0052172 | 0.3612 | 1198.45
CB 204 | 107.35 | 14.89 | 376.02 | 2854 | 0.037614 | 0.0052172 | 0.13175 | 2355.74
CB 210 | 0 | 89.36 | 815.31 | 2854 | 0 | 0.03131 | 0.28567 | 1949.33
CB 211 | 0 | 0 | -18.11 | 2854 | 0 | 0 | -0.0063455 | 2872.11
CB 212 | 27.06 | 89.36 | 510.55 | 2854 | 0.0094814 | 0.03131 | 0.17889 | 2227.03
CB 214 | 117.59 | 59.58 | 1011.48 | 2854 | 0.041202 | 0.020876 | 0.35441 | 1665.35
CB 215 | 242.56 | 59.58 | 588.69 | 2854 | 0.084989 | 0.020876 | 0.20627 | 1963.17
CB 216 | 391.62 | 59.58 | 1232.76 | 2854 | 0.13722 | 0.020876 | 0.43194 | 1170.04
CB 217 | 0 | 59.58 | 1152.37 | 2854 | 0 | 0.020876 | 0.40377 | 1642.05
CB 220 | 0 | 0 | -18.11 | 2854 | 0 | 0 | -0.0063455 | 2872.11
CB 222 | 332.3 | 111.7 | 891.25 | 2854 | 0.11643 | 0.039138 | 0.31228 | 1518.75
CB 230 | 566.68 | 59.58 | 446.4 | 2854 | 0.19856 | 0.020876 | 0.15641 | 1781.34
CB 231 | 459.12 | 7.45 | 701.89 | 2854 | 0.16087 | 0.0026104 | 0.24593 | 1685.54
CB 232 | 589.48 | 0 | 954.97 | 2854 | 0.20655 | 0 | 0.33461 | 1309.55
CB 233 | 596.73 | 0 | 659.53 | 2854 | 0.20909 | 0 | 0.23109 | 1597.74
CB 234 | 739.47 | 0 | 541.73 | 2854 | 0.2591 | 0 | 0.18981 | 1572.8
CB 235 | 46.53 | 111.7 | 1226.21 | 2854 | 0.016303 | 0.039138 | 0.42965 | 1469.56
CB 236 | 408.46 | 111.7 | 742.77 | 2854 | 0.14312 | 0.039138 | 0.26026 | 1591.07
CB 237 | 297.88 | 111.7 | 824.83 | 2854 | 0.10437 | 0.039138 | 0.28901 | 1619.59
CB 239 | 0 | 59.58 | 1040.89 | 2854 | 0 | 0.020876 | 0.36471 | 1753.53
CB 240 | 289.69 | 14.89 | 549.79 | 2854 | 0.1015 | 0.0052172 | 0.19264 | 1999.63
CB 242 | 135.94 | 0 | 364.74 | 2854 | 0.047631 | 0 | 0.1278 | 2353.32
CB 244 | 248.24 | 14.89 | 443.41 | 2854 | 0.08698 | 0.0052172 | 0.15536 | 2147.46
CB 246 | 327.67 | 14.89 | 500.2 | 2854 | 0.11481 | 0.0052172 | 0.17526 | 2011.24
CB 247 | 251.58 | 14.89 | 306.97 | 2854 | 0.08815 | 0.0052172 | 0.10756 | 2280.56
CB 248 | 268.74 | 0 | 660.87 | 2854 | 0.094163 | 0 | 0.23156 | 1924.39
CB 249 | 301.14 | 59.58 | 597.22 | 2854 | 0.10552 | 0.020876 | 0.20926 | 1896.06
CB 260 | 54.96 | 37.23 | 551 | 2854 | 0.019257 | 0.013045 | 0.19306 | 2210.81
CB 280 | 254.45 | 7.45 | 524.5 | 2854 | 0.089156 | 0.0026104 | 0.18378 | 2067.6
CB 283 | 0 | 134.04 | 6931.61 | 2854 | 0 | 0.046966 | 2.4287 | -4211.65
CB 292 | 1070.28 | 52.13 | 497.56 | 2854 | 0.37501 | 0.018266 | 0.17434 | 1234.03
CB 300 | 77.57 | 7.45 | 352.22 | 2854 | 0.027179 | 0.0026104 | 0.12341 | 2416.76
CB 315 | 782.42 | 14.89 | 340.46 | 2854 | 0.27415 | 0.0052172 | 0.11929 | 1716.23
CB 327 | 117.39 | 81.92 | 719.85 | 2854 | 0.041132 | 0.028704 | 0.25222 | 1934.84
CB 329 | 66.11 | 14.89 | 388.4 | 2854 | 0.023164 | 0.0052172 | 0.13609 | 2384.6
CB 330 | 447.05 | 14.89 | 1038.7 | 2854 | 0.15664 | 0.0052172 | 0.36395 | 1353.36
CB 331 | 6.63 | 14.89 | 522.91 | 2854 | 0.0023231 | 0.0052172 | 0.18322 | 2309.57
CB 338 | 473.18 | 52.13 | 3471.85 | 2854 | 0.1658 | 0.018266 | 1.2165 | -1143.16
CB 339 | 414.44 | 52.13 | 960.06 | 2854 | 0.14521 | 0.018266 | 0.33639 | 1427.37
CB 350 | 46.84 | 52.13 | 608.37 | 2854 | 0.016412 | 0.018266 | 0.21316 | 2146.66
CB 351 | 496.32 | 59.58 | 459.3 | 2854 | 0.1739 | 0.020876 | 0.16093 | 1838.8
CB 352 | 1172.14 | 52.13 | 828.56 | 2854 | 0.4107 | 0.018266 | 0.29032 | 801.17
CB 353 | 437.92 | 59.58 | 2481.1 | 2854 | 0.15344 | 0.020876 | 0.86934 | -124.6
CB 354 | 84.38 | 0 | 1129.75 | 2854 | 0.029566 | 0 | 0.39585 | 1639.87
CB 355 | 664.79 | 81.92 | 604.92 | 2854 | 0.23293 | 0.028704 | 0.21196 | 1502.37
CB 356 | 570.77 | 81.92 | 3863.98 | 2854 | 0.19999 | 0.028704 | 1.3539 | -1662.67
CB 357 | 644.19 | 119.15 | 565.76 | 2854 | 0.22571 | 0.041748 | 0.19823 | 1524.9
CB 358 | 396.08 | 81.92 | 1125.06 | 2854 | 0.13878 | 0.028704 | 0.3942 | 1250.94
CB 396 | 247.16 | 126.6 | 371.43 | 2854 | 0.086601 | 0.044359 | 0.13014 | 2108.81
CB 440 | 221.72 | 215.96 | 3669.53 | 2854 | 0.077687 | 0.075669 | 1.2857 | -1253.21
CB 441 | 0 | 215.96 | 1548.02 | 2854 | 0 | 0.075669 | 0.5424 | 1090.02
CB 442 | 0 | 215.96 | 1967.52 | 2854 | 0 | 0.075669 | 0.68939 | 670.52
CB 443 | 6.79 | 52.13 | 444.34 | 2854 | 0.0023791 | 0.018266 | 0.15569 | 2350.74
CB 444 | 119.88 | 96.81 | 927.34 | 2854 | 0.042004 | 0.033921 | 0.32493 | 1709.97
CB 449 | 0 | 603.2 | 1960.63 | 2854 | 0 | 0.21135 | 0.68698 | 290.17
CB 461 | 20.44 | 0 | 389.81 | 2854 | 0.0071619 | 0 | 0.13658 | 2443.75
CB 470 | 611.45 | 0 | 236.88 | 2854 | 0.21424 | 0 | 0.082999 | 2005.67
CB 499 | 82.47 | 7.45 | 173.86 | 2854 | 0.028896 | 0.0026104 | 0.060918 | 2590.22
CB 520 | 4915.99 | 22.34 | 11127.25 | 2854 | 1.7225 | 0.0078276 | 3.8988 | -13211.58
CB 521 | 334.49 | 22.34 | 1284.34 | 2854 | 0.1172 | 0.0078276 | 0.45001 | 1212.83
CB 522 | 563.22 | 0 | 701.65 | 2854 | 0.19734 | 0 | 0.24585 | 1589.13
CB 523 | 351.36 | 22.34 | 876.25 | 2854 | 0.12311 | 0.0078276 | 0.30703 | 1604.05
CB 524 | 290.12 | 7.45 | 245.12 | 2854 | 0.10165 | 0.0026104 | 0.085886 | 2311.31
CB 533 | 13.01 | 67.02 | 479.99 | 2854 | 0.0045585 | 0.023483 | 0.16818 | 2293.98
CB 534 | 27.63 | 67.02 | 471.34 | 2854 | 0.0096811 | 0.023483 | 0.16515 | 2288.01
CB 535 | 51.61 | 67.02 | 956.63 | 2854 | 0.018083 | 0.023483 | 0.33519 | 1778.74
CB 536 | 140.3 | 67.02 | 500.46 | 2854 | 0.049159 | 0.023483 | 0.17535 | 2146.22
CB 540 | 510.99 | 52.13 | 449.24 | 2854 | 0.17904 | 0.018266 | 0.15741 | 1841.64
CB 542 | 154.5 | 74.47 | 470.02 | 2854 | 0.054135 | 0.026093 | 0.16469 | 2155.01
CB 568 | 15.56 | 14.89 | 750.1 | 2854 | 0.005452 | 0.0052172 | 0.26282 | 2073.45
CB 569 | 0 | 14.89 | 1342.15 | 2854 | 0 | 0.0052172 | 0.47027 | 1496.96
CB 576 | 204.61 | 74.47 | 774.79 | 2854 | 0.071692 | 0.026093 | 0.27148 | 1800.13
CB 599 | 426.47 | 44.68 | 785.9 | 2854 | 0.14943 | 0.015655 | 0.27537 | 1596.95
CB 67 | 0 | 141.49 | 1471.14 | 2854 | 0 | 0.049576 | 0.51547 | 1241.37
CB 73 | 205.08 | 186.17 | 1651.49 | 2854 | 0.071857 | 0.065231 | 0.57866 | 811.26
CB 776 | 97.7 | 0 | 591.87 | 2854 | 0.034233 | 0 | 0.20738 | 2164.43
CB 78 | 0 | 156.38 | 1728.42 | 2854 | 0 | 0.054793 | 0.60561 | 969.2
CB 788 | 594.78 | 148.94 | 118.89 | 2854 | 0.2084 | 0.052186 | 0.041657 | 1991.39
CB 835 | 1981.69 | 22.34 | 634.91 | 2854 | 0.69436 | 0.0078276 | 0.22246 | 215.06
CB 907 | 294.32 | 29.79 | 646.17 | 2854 | 0.10313 | 0.010438 | 0.22641 | 1883.72
CB 908 | 3.29 | 29.79 | 684.25 | 2854 | 0.0011528 | 0.010438 | 0.23975 | 2136.67
CB 909 | 0 | 29.79 | 1762.28 | 2854 | 0 | 0.010438 | 0.61748 | 1061.93
CB 91 | 261.88 | 7.45 | 465.73 | 2854 | 0.091759 | 0.0026104 | 0.16319 | 2118.94
CB 928 | 0 | 37.23 | 415.5 | 2854 | 0 | 0.013045 | 0.14559 | 2401.27
CB 970 | 793.73 | 357.45 | 2836.28 | 2854 | 0.27811 | 0.12525 | 0.99379 | -1133.46
CB 971 | 230.94 | 111.7 | 585.35 | 2854 | 0.080918 | 0.039138 | 0.2051 | 1926.01
CB 972 | 0 | 111.7 | 1070.54 | 2854 | 0 | 0.039138 | 0.3751 | 1671.76
CB 973 | 321.12 | 111.7 | 1762.13 | 2854 | 0.11252 | 0.039138 | 0.61742 | 659.05
CB 974 | 0 | 111.7 | 1827.25 | 2854 | 0 | 0.039138 | 0.64024 | 915.05
CB 975 | 509.48 | 357.45 | 555.66 | 2854 | 0.17851 | 0.12525 | 0.1947 | 1431.41
CB 980 | 1238.61 | 7.45 | 554.16 | 2854 | 0.43399 | 0.0026104 | 0.19417 | 1053.78
CB 981 | 533.65 | 7.45 | 487.08 | 2854 | 0.18698 | 0.0026104 | 0.17067 | 1825.82
CB CTL1 | 349.85 | 141.49 | 1146.43 | 2854 | 0.12258 | 0.049576 | 0.40169 | 1216.23
CB FB1 | 422.13 | 7.45 | 906.57 | 2854 | 0.14791 | 0.0026104 | 0.31765 | 1517.85
CB FB2 | 405.33 | 22.34 | 701.01 | 2854 | 0.14202 | 0.0078276 | 0.24562 | 1725.32
CB JU1 | 783.89 | 178.73 | 718.55 | 2854 | 0.27466 | 0.062624 | 0.25177 | 1172.83
CB MOR1 | 530.72 | 89.36 | 661.87 | 2854 | 0.18596 | 0.03131 | 0.23191 | 1572.05
CB NVS1 | 665.36 | 0 | 215.97 | 2854 | 0.23313 | 0 | 0.075673 | 1972.67
CB OK1 | 656.48 | 275.54 | 238.46 | 2854 | 0.23002 | 0.096545 | 0.083553 | 1683.52
CB PE1 | 1332.72 | 238.3 | 606.79 | 2854 | 0.46697 | 0.083497 | 0.21261 | 676.19
CB RA1 | 436.81 | 357.45 | 803.9 | 2854 | 0.15305 | 0.12525 | 0.28167 | 1255.84
CB RA2 | 541.52 | 178.73 | 781.62 | 2854 | 0.18974 | 0.062624 | 0.27387 | 1352.13
CB RA3 | 353.01 | 96.81 | 1121.2 | 2854 | 0.12369 | 0.033921 | 0.39285 | 1282.98
CB RB1 | 1159.21 | 141.49 | 1559.13 | 2854 | 0.40617 | 0.049576 | 0.5463 | -5.83
CB RC1 | 548.7 | 96.81 | 627.17 | 2854 | 0.19226 | 0.033921 | 0.21975 | 1581.32
CB SL1 | 863.35 | 178.73 | 238.07 | 2854 | 0.30251 | 0.062624 | 0.083416 | 1573.85
CB SSC1 | 330.36 | 14.89 | 578.46 | 2854 | 0.11575 | 0.0052172 | 0.20268 | 1930.29
CTL1-3R | 1881.71 | 141.49 | 959.97 | 2854 | 0.65932 | 0.049576 | 0.33636 | -129.17
DV1-3R | 444.34 | 81.92 | 811.73 | 2854 | 0.15569 | 0.028704 | 0.28442 | 1516.01
RB1-19R | 258.96 | 74.47 | 505.31 | 2854 | 0.090736 | 0.026093 | 0.17705 | 2015.26
RB1-427R | 518.35 | 74.47 | 697.78 | 2854 | 0.18162 | 0.026093 | 0.24449 | 1563.4
TM1-10R | 791.12 | 74.47 | 699.92 | 2854 | 0.2772 | 0.026093 | 0.24524 | 1288.49
1735.1235

## Analysis
Row Labels | Count of LC Cost Total |  |  |  | Row Labels | Count of Sum of veg lc delta | Row Labels | Count of Sum of psps lc delta
<0 | 14 |  |  |  | 0-200 | 169 | 0-200 | 519
200-400 | 6 |  |  |  | 200-400 | 168 | 200-400 | 40
400-600 | 3 |  |  |  | 400-600 | 149 | 400-600 | 5
600-800 | 7 |  |  |  | 600-800 | 50 | 600-800 | 10
800-1000 | 6 |  |  |  | 800-1000 | 14 | 1200-1400 | 1
1000-1200 | 21 |  |  |  | 1000-1200 | 9 | Grand Total | 575
1200-1400 | 29 |  |  |  | >1200 | 16
1400-1600 | 60 |  |  |  | Grand Total | 575
1600-1800 | 100
1800-2000 | 118
2000-2200 | 107
2200-2400 | 71
2400-2600 | 28
2600-2800 | 3
2800-3000 | 2
Grand Total | 575
|  | Row Labels | Count of Sum of asset lc delta | Count of Sum of psps lc delta | Count of Sum of veg lc delta
|  | <0 | 2 | 2 | 2
|  | 0-200 | 31 | 31 | 31
|  | 200-400 | 121 | 121 | 121
|  | 400-600 | 228 | 228 | 228 |  |  |  | Row Labels | Count of Sum of veg lc delta | 0
|  | 600-800 | 110 | 110 | 110 |  |  |  | 0-200 | 169 | 200
|  | 800-1000 | 30 | 30 | 30 |  |  |  | 200-400 | 168 | 400
|  | 1000-1200 | 17 | 17 | 17 |  |  |  | 400-600 | 149 | 600
|  | >1200 | 36 | 36 | 36 |  |  |  | 600-800 | 50 | 800
|  | Grand Total | 575 | 575 | 575 |  |  |  | 800-1000 | 14 | 1000
[9 empty] | 1000-1200 | 9 | 1200
[9 empty] | >1200 | 16 | ">1200"
[9 empty] | Grand Total | 575

## ReadMe
MGRA-SDGE-001
Question 7a
Data Dictionary
| Field | Description
| SCADA DEVICE (FROM) | circuit-segment id name
| Sum of veg lc delta | cost per mile difference between overhead lifecycle vs. underground lifecycle for given circuit tied to vegetation work
| Sum of psps lc delta | cost per mile difference between overhead lifecycle vs. underground lifecycle for given circuit tied to psps activations
| Sum of asset lc delta | cost per mile difference between overhead lifecycle vs. underground lifecycle for given circuit tied to asset inspection work
| Sum of ug cost per mile | constuction cost per mile of undergrounding
| Sum of pct_veg_lc_of_capital | percentage of ug lifecycle savings due to vegetation work
| Sum of pct_psps_lc_of_capital | percentage of ug lifecycle savings due to psps work
| Sum of pct_asset_lc_of_capital | percentage of ug lifecycle savings due to asset work
Notes:
- Data is of WiNGS 2.0 at a specific snapshot in time
- Percentage of vegetation lifecycle cost savings is slightly higher than previously reported (13% vs. 12%). This is likely the case due to slight updating of the worksheet from the time of the reporting referenced in the question.