## Final
(j) Total Trench Miles - 6 | (Multiple Items)
Circuit Segment | Count of (d) Circuit Segment ID Partially Underground | Sum of (j) Total Trench Miles - 6 | Sum of (k) Total Electric Cost - 7 | Min of Total Customers | Sum of Minutes of PSPS Outage by Circuit | Length | Cost | Customers | PSPS Minutes | Cost/Customer | Off Grid $60k | OG Costs | Customer minutes | PSPS cost per customer minute
221-1230F | 1 | 2.46 | 15249570.4324 | 1651 | 23206 | 2.46 | 15249570.4324 | 1651 | 23206 | 9236.566 |  | 15249570.4324 | 38313106 | 0.39802
221-37AE | 1 | 1.2 | 2839053.8112 | 915 | 23206 | 1.2 | 2839053.8112 | 915 | 23206 | 3102.7911 |  | 2839053.8112 | 21233490 | 0.13371
221-43 | 1 | 0.15 | 507963.824 |  | 23206 | 0.15 | 507963.824 |  | 23206 | #DIV/0! |  | 507963.824 | 0
222-1364R | 3 | 8.8 | 11025559.9824 | 438 | 111792 | 8.8 | 11025559.9824 | 438 | 111792 | 25172.5114 |  | 11025559.9824 | 48964896 | 0.22517
222-1370R | 1 | 1.26 | 1717945.82 | 411 | 37264 | 1.26 | 1717945.82 | 411 | 37264 | 4179.9168 |  | 1717945.82 | 15315504 | 0.11217
222-1401R | 3 | 5.53 | 10586922.5788 | 260 | 111792 | 5.53 | 10586922.5788 | 260 | 111792 | 40718.933 |  | 10586922.5788 | 29065920 | 0.36424
222-1441R | 1 | 1 | 1860248.1892 | 53 | 37264 | 1 | 1860248.1892 | 53 | 37264 | 35099.0224 |  | 1860248.1892 | 1974992 | 0.9419
222-1503 | 1 | 1.34 | 2472650.9432 | 287 | 37264 | 1.34 | 2472650.9432 | 287 | 37264 | 8615.5085 |  | 2472650.9432 | 10694768 | 0.2312
222-1523R | 1 | 2.65 | 4936066.9344 | 488 | 37264 | 2.65 | 4936066.9344 | 488 | 37264 | 10114.8913 |  | 4936066.9344 | 18184832 | 0.27144
222-2013R | 2 | 3.72 | 8706723.9428 | 245 | 74528 | 3.72 | 8706723.9428 | 245 | 74528 | 35537.6487 |  | 8706723.9428 | 18259360 | 0.47684
358-585R | 1 | 1.58 | 7206937.2836 | 360 | 21784 | 1.58 | 7206937.2836 | 360 | 21784 | 20019.2702 |  | 7206937.2836 | 7842240 | 0.91899
445-17R | 2 | 4.47 | 6145456.056 | 57 | 56352 | 4.47 | 6145456.056 | 57 | 56352 | 107815.0185 | Y | 3420000 | 3212064 | 1.9132
445-19R | 1 | 1.77 | 2220529.1396 | 89 | 28176 | 1.77 | 2220529.1396 | 89 | 28176 | 24949.7656 |  | 2220529.1396 | 2507664 | 0.8855
445-39R | 1 | 6.07 | 3886515.0424 | 865 | 28176 | 6.07 | 3886515.0424 | 865 | 28176 | 4493.081 |  | 3886515.0424 | 24372240 | 0.15946
445-897R | 1 | 1.33 | 2247977.0044 | 356 | 28176 | 1.33 | 2247977.0044 | 356 | 28176 | 6314.5421 |  | 2247977.0044 | 10030656 | 0.22411
972-8 | 1 | 3.48 | 11244514.5684 | 2749 | 4112 | 3.48 | 11244514.5684 | 2749 | 4112 | 4090.4018 |  | 11244514.5684 | 11303888 | 0.99475
CB 73 | 1 | 1.92 | 4076097.0068 | 756 | 14052 | 1.92 | 4076097.0068 | 756 | 14052 | 5391.6627 |  | 4076097.0068 | 10623312 | 0.38369
CB OK1 | 2 | 9.19 | 21415117.8336 | 62 | 26626 | 9.19 | 21415117.8336 | 62 | 26626 | 345405.1263 | Y | 3720000 | 1650812 | 12.9725
Grand Total | 25 | 57.92 | 118345850.3932 | 53 | 724240 | 57.92 | 118345850.3932 | 10042 |  | 11785.0877 |  | 97925276.5036 | 273549744 | 0.43263
17.25%

## Sheet2
(j) Total Trench Miles - 6 | (Multiple Items)
Row Labels | Count of (d) Circuit Segment ID Partially Underground | Sum of (j) Total Trench Miles - 6 | Sum of (k) Total Electric Cost - 7 | Min of Total Customers | Sum of Minutes of PSPS Outage by Circuit | Length | Cost | Customers | PSPS Minutes | Cost/Customer | Off Grid $60k | OG Costs | Customer minutes | PSPS cost per customer minute
221-1230F | 1 | 2.46 | 15249570.4324 | 1651 | 23206 | 2.46 | 15249570.4324 | 1651 | 23206 | 9236.566 |  | 15249570.4324 | 38313106 | 0.39802
221-37AE | 1 | 1.2 | 2839053.8112 | 915 | 23206 | 1.2 | 2839053.8112 | 915 | 23206 | 3102.7911 |  | 2839053.8112 | 21233490 | 0.13371
221-43 | 1 | 0.15 | 507963.824 |  | 23206 | 0.15 | 507963.824 |  | 23206 | #DIV/0! |  | 507963.824 | 0
222-1364R | 3 | 8.8 | 11025559.9824 | 438 | 111792 | 8.8 | 11025559.9824 | 438 | 111792 | 25172.5114 |  | 11025559.9824 | 48964896 | 0.22517
222-1370R | 1 | 1.26 | 1717945.82 | 411 | 37264 | 1.26 | 1717945.82 | 411 | 37264 | 4179.9168 |  | 1717945.82 | 15315504 | 0.11217
222-1401R | 3 | 5.53 | 10586922.5788 | 260 | 111792 | 5.53 | 10586922.5788 | 260 | 111792 | 40718.933 |  | 10586922.5788 | 29065920 | 0.36424
222-1441R | 1 | 1 | 1860248.1892 | 53 | 37264 | 1 | 1860248.1892 | 53 | 37264 | 35099.0224 |  | 1860248.1892 | 1974992 | 0.9419
222-1503 | 1 | 1.34 | 2472650.9432 | 287 | 37264 | 1.34 | 2472650.9432 | 287 | 37264 | 8615.5085 |  | 2472650.9432 | 10694768 | 0.2312
222-1523R | 1 | 2.65 | 4936066.9344 | 488 | 37264 | 2.65 | 4936066.9344 | 488 | 37264 | 10114.8913 |  | 4936066.9344 | 18184832 | 0.27144
222-2013R | 2 | 3.72 | 8706723.9428 | 245 | 74528 | 3.72 | 8706723.9428 | 245 | 74528 | 35537.6487 |  | 8706723.9428 | 18259360 | 0.47684
358-585R | 1 | 1.58 | 7206937.2836 | 360 | 21784 | 1.58 | 7206937.2836 | 360 | 21784 | 20019.2702 |  | 7206937.2836 | 7842240 | 0.91899
445-17R | 2 | 4.47 | 6145456.056 | 57 | 56352 | 4.47 | 6145456.056 | 57 | 56352 | 107815.0185 | Y | 3420000 | 3212064 | 1.9132
445-19R | 1 | 1.77 | 2220529.1396 | 89 | 28176 | 1.77 | 2220529.1396 | 89 | 28176 | 24949.7656 |  | 2220529.1396 | 2507664 | 0.8855
445-39R | 1 | 6.07 | 3886515.0424 | 865 | 28176 | 6.07 | 3886515.0424 | 865 | 28176 | 4493.081 |  | 3886515.0424 | 24372240 | 0.15946
445-897R | 1 | 1.33 | 2247977.0044 | 356 | 28176 | 1.33 | 2247977.0044 | 356 | 28176 | 6314.5421 |  | 2247977.0044 | 10030656 | 0.22411
972-8 | 1 | 3.48 | 11244514.5684 | 2749 | 4112 | 3.48 | 11244514.5684 | 2749 | 4112 | 4090.4018 |  | 11244514.5684 | 11303888 | 0.99475
CB 73 | 1 | 1.92 | 4076097.0068 | 756 | 14052 | 1.92 | 4076097.0068 | 756 | 14052 | 5391.6627 |  | 4076097.0068 | 10623312 | 0.38369
CB OK1 | 2 | 9.19 | 21415117.8336 | 62 | 26626 | 9.19 | 21415117.8336 | 62 | 26626 | 345405.1263 | Y | 3720000 | 1650812 | 12.9725
Grand Total | 25 | 57.92 | 118345850.3932 | 53 | 724240 | 57.92 | 118345850.3932 | 10042 | 724240 | 11785.0877 |  | 97925276.5036 | 273549744 | 0.43263

## Sheet1
(a) Project ID - 1 | (b) Circuit ID | (c) Circuit Segment ID Entirely Underground | (d) Circuit Segment ID Partially Underground | (e) County | (f) Project Start Date - 2 | (g) Project Completion Date - 3 | (h) Total Overhead Miles Removed - 4 | (i) Total Cable Miles Installed - 5 | (j) Total Trench Miles - 6 | (k) Total Electric Cost - 7 | (l) Total Cost - Inc Non-Electric Utilities - 8 | (m) Rule 20? | (n) WMP? | Post-wildfire Rebuild? | Shared Trench with Com? | Shared Trench with Gas? | Total Customers | Minutes of PSPS Outage by Circuit
C1030 Ph. 4 - Services | C1030 | No | 1030-18R | San Diego | 2021-06-24 | 2023-02-17 | 9.4403 | 1.73 | NA | NA | NA | No | Yes | No | No | No | 62 | 21077
C221 DUG Ph. 3 | C221 | No | 221-1230F | San Diego | 2020-03-30 | 2023-09-21 | 0 | 3.13 | 2.46 | 15249570.4324 | NA | No | Yes | No | No | No | 1651 | 23206
C221 Ph. A - Services | C221 | No | 221-824 | San Diego | 2021-10-20 | 2023-07-19 | 0.3966 | 0.94 | NA | NA | NA | No | Yes | No | No | No | 296 | 23206
C221 Ph. D | C221 | No | 221-43 | San Diego | 2022-03-15 | 2023-09-20 | 0.1116 | 0.3 | 0.15 | 507963.824 | NA | No | Yes | No | No | No |  | 23206
C221 Ph. B2 | C221 | No | 221-37AE | San Diego | 2021-10-20 | 2023-11-06 | NA | 1.19 | 1.2 | 2839053.8112 | NA | No | Yes | No | No | No | 915 | 23206
C222 DUG Ph. 3 | C222 | No | 222-1364R | San Diego | 2020-03-30 | 2023-09-21 | 0 | 2.91 | 2.46 | 1682714.7168 | NA | No | Yes | No | No | No | 438 | 37264
C222 Ph. DD | C222 | No | 222-2013R | San Diego | 2022-03-29 | 2023-12-12 | 0 | 2.42 | 1.48 | 3415588.1816 | NA | No | Yes | No | No | No | 245 | 37264
C222 Ph. EE | C222 | No | 222-2013R | San Diego | 2022-03-29 | 2023-12-13 | 0 | 2.94 | 2.24 | 5291135.7612 | NA | No | Yes | No | No | No | 245 | 37264
C222 Ph. A | C222 | No | CB 222 | San Diego | 2022-03-15 | 2023-09-21 | NA | 0.14 | 0.01 | 579650.7572 | NA | No | Yes | No | No | No | 1471 | 37264
C222 Ph. C | C222 | No | 222-1364R | San Diego | 2022-03-15 | 2023-12-22 | 0 | 3.54 | 3.6 | 5290587.9092 | NA | No | Yes | No | No | No | 438 | 37264
C222 Ph. E | C222 | No | 222-1364R | San Diego | 2022-03-15 | 2023-12-21 | 0 | 2.68 | 2.74 | 4052257.3564 | NA | No | Yes | No | No | No | 438 | 37264
C222 Ph. H | C222 | No | 222-1523R | San Diego | 2022-03-15 | 2023-12-29 | 0 | 2.78 | 2.65 | 4936066.9344 | NA | No | Yes | No | No | No | 488 | 37264
C222 Ph. L | C222 | No | 222-1503 | San Diego | 2022-03-15 | 2023-12-14 | 0 | 1.59 | 1.34 | 2472650.9432 | NA | No | Yes | No | No | No | 287 | 37264
C222 Ph. N | C222 | No | 222-1370R | San Diego | 2022-03-15 | 2023-12-22 | 0 | 0.75 | 1.26 | 1717945.82 | NA | No | Yes | No | No | No | 411 | 37264
C222 Ph. V | C222 | No | 222-1441R | San Diego | 2022-03-15 | 2023-12-22 | 0 | 1.04 | 1 | 1860248.1892 | NA | No | Yes | No | No | No | 53 | 37264
C222 Ph. W | C222 | No | 222-1401R | San Diego | 2022-03-15 | 2023-12-18 | 0 | 3.05 | 2.68 | 4324169.414 | NA | No | Yes | No | No | No | 260 | 37264
C222 Ph. X | C222 | No | 222-1401R | San Diego | 2022-03-15 | 2023-10-12 | 0.9765 | 2.87 | 1.8 | 4388744.1576 | NA | No | Yes | No | No | No | 260 | 37264
C222 Ph. BB | C222 | No | 222-1401R | San Diego | 2022-03-15 | 2023-12-27 | 0 | 1.14 | 1.05 | 1874009.0072 | NA | No | Yes | No | No | No | 260 | 37264
C358 DUG Ph. 2 | C358 | No | 358-585R | San Diego | 2021-06-04 | 2023-12-21 | 0 | 2.32 | 1.58 | 7206937.2836 | NA | No | Yes | No | Yes | No | 360 | 21784
C441 DUG Ph. B | C441 | No | CB 441 | San Diego | 2020-03-18 | 2023-07-14 | NA | 0.2 | 0.08 | 692853.856 | NA | No | Yes | No | No | No | 91 | 23270
C445 Ph. A | C445 | No | 445-19R | San Diego | 2022-03-15 | 2023-12-21 | 0 | 1.52 | 1.77 | 2220529.1396 | NA | No | Yes | No | No | No | 89 | 28176
C445 Ph. B | C445 | No | 445-17R | San Diego | 2022-03-15 | 2023-11-09 | 0 | 2.63 | 2.61 | 3113613.2124 | NA | No | Yes | No | No | No | 57 | 28176
C445 Ph. C | C445 | No | 445-17R | San Diego | 2022-03-15 | 2023-11-30 | 0 | 2.07 | 1.86 | 3031842.8436 | NA | No | Yes | No | No | No | 57 | 28176
C445 Ph. F | C445 | No | 445-39R | San Diego | 2022-03-15 | 2024-04-29 | 0 | 1.38 | 6.07 | 3886515.0424 | NA | No | Yes | No | No | No | 865 | 28176
C445 Ph. O | C445 | No | 445-897R | San Diego | 2022-03-15 | 2023-12-19 | 0 | 0.9675 | 1.33 | 2247977.0044 | NA | No | Yes | No | No | No | 356 | 28176
C73 Ph. A | C73 | No | CB 73 | San Diego | 2022-03-15 | 2023-11-17 | 0 | 2.66 | 1.92 | 4076097.0068 | NA | No | Yes | No | No | No | 756 | 14052
C75 DUG Ph. 2 - Services | C75 | No | 75-2237 | San Diego | 2021-06-01 | 2023-02-15 | 0.7197 | 0.01 | NA | NA | NA | No | Yes | No | No | No |  | 15147
C972 Ph. A - Services | C972 | No | 972-26R | San Diego | 2021-06-03 | 2023-02-11 | 0 | 1.72 | NA | NA | NA | No | Yes | No | No | No | 2902 | 4112
C972 Ph. B - Services | C972 | No | 972-26R | San Diego | 2021-06-03 | 2023-03-02 | 2.5227 | 1.23 | NA | NA | NA | No | Yes | No | Yes | No | 2902 | 4112
C972 Ph. C | C972 | No | 972-8 | San Diego | 2022-03-16 | 2023-11-17 | 0 | 6.08 | 3.48 | 11244514.5684 | NA | No | Yes | No | Yes | No | 2749 | 4112
COK1 Ph. A | OK1 | No | CB OK1 | San Diego | 2021-10-20 | 2023-09-05 | 2.9366 | 8.44 | 5.2 | 12121397.0712 | NA | No | Yes | No | No | No | 62 | 13313
COK1 Ph. B | OK1 | No | CB OK1 | San Diego | 2021-10-20 | 2023-09-05 | 4.9655 | 6.13 | 3.99 | 9293720.7624 | NA | No | Yes | No | No | No | 62 | 13313
CSL1 Ph. A - Services | SL1 | No | CB SL1 | San Diego | 2021-10-20 | 2023-01-27 | 0.3544 | 0.39 | NA | NA | NA | No | Yes | No | No | No | 223 | 13282
Notes:
1. For (a), Project ID's with "Services" in naming, is a project with Primary cable energized in 2022 and Services energized in 2023.
2. For (f), Used Design Start Date.
3. For (g), Used Energization date for project completion date.
4. For (h), Most projects have overhead removal. The projects with "0.00" miles have overhead removal, but will get completed in 2024. Projects with "NA" do not have any overhead removals.
5. For (i), Mileage reported were installed and energized.
6. For (j), Projects with "NA" mileage, trench mileage completed and reported in 2022.
7. For (k), Cost provided includes actual cost for construction and unit cost for Engineering & Design and Project Support. Projects marked "NA" indicate partial energization, with the majority of the work completed and billed in 2022.
8. For (l), this is not applicable due to all projects being electric utilities related.
8. This list does not include Non-WMP Undergrounding Projects.