## Dataset
WDRM_v4_sub_model | scoring_method | feature_name | value | Wind | WindValue
capacitor bank | total gain | estimated_age_years | 81.066 | FALSE | 0
capacitor bank | total gain | totalkvar | 42.6685 | FALSE | 0
capacitor bank | total gain | ctrating | 23.7898 | FALSE | 0
capacitor bank | total gain | supervisory_control_ind | 8.9356 | FALSE | 0
capacitor bank | total gain | winter_off_ind | 3.6217 | FALSE | 0
capacitor bank | total gain | summer_precip_avg | 105.3945 | FALSE | 0
capacitor bank | total gain | summer_max_ws_avg | 53.3696 | TRUE | 53.3696
capacitor bank | total gain | summer_max_temp_avg | 76.7566 | FALSE | 0
capacitor bank | total gain | summer_vpd_avg | 106.6003 | FALSE | 0
capacitor bank | total gain | winter_vpd_avg | 74.407 | FALSE | 0
capacitor bank | total gain | percent_diff_summer_vpd_avg | 95.3245 | FALSE | 0
capacitor bank | total gain | percent_diff_winter_max_temp_avg | 15.5567 | FALSE | 0
capacitor bank | total gain | percent_diff_winter_vpd_avg | 73.5222 | FALSE | 0
capacitor bank | total gain | population_density | 81.7216 | FALSE | 0
capacitor bank | total gain | switch_type_encoded_Oil | 5.7679 | FALSE | 0
capacitor bank | total gain | switchposition_encoded_NA | 7.1813 | FALSE | 0
dpd | total gain | estimated_age_years | 19.4374 | FALSE | 0
dpd | total gain | faultduty | 11.3814 | FALSE | 0
dpd | total gain | summer_max_ws_avg | 40.4594 | TRUE | 40.4594
dpd | total gain | winter_max_ws_avg | 16.3368 | TRUE | 16.3368
dpd | total gain | percent_diff_summer_max_ws_avg | 9.1343 | TRUE | 9.1343
dpd | total gain | percent_diff_winter_vpd_avg | 8.9504 | FALSE | 0
dpd | total gain | percent_diff_winter_rel_humidity_avg | 58.1388 | FALSE | 0
dpd | total gain | soil_erosion_kffact | 30.4808 | FALSE | 0
fuse | total gain | estimated_age_years | 641.5803 | FALSE | 0
fuse | total gain | linkrating | 502.1411 | FALSE | 0
fuse | total gain | operating_voltage | 287.2361 | FALSE | 0
fuse | total gain | numberofphases | 208.0037 | FALSE | 0
fuse | total gain | complexdeviceidc_ind | 18.4868 | FALSE | 0
fuse | total gain | bypassswitch_ind | 8.2772 | FALSE | 0
fuse | total gain | corrosion_zone_ind | 324.3796 | FALSE | 0
fuse | total gain | hftd_ind | 26.7126 | FALSE | 0
fuse | total gain | summer_max_temp_avg | 188.5881 | FALSE | 0
fuse | total gain | summer_precip_avg | 205.992 | FALSE | 0
fuse | total gain | summer_vpd_avg | 312.8512 | FALSE | 0
fuse | total gain | winter_vpd_avg | 77.4952 | FALSE | 0
fuse | total gain | summer_rel_humidity_avg | 307.7292 | FALSE | 0
fuse | total gain | winter_rel_humidity_avg | 128.0276 | FALSE | 0
fuse | total gain | percent_diff_summer_max_temp_avg | 91.8441 | FALSE | 0
fuse | total gain | percent_diff_summer_max_ws_avg | 68.6002 | TRUE | 68.6002
fuse | total gain | percent_diff_summer_vpd_avg | 79.3824 | FALSE | 0
fuse | total gain | percent_diff_summer_rel_humidity_avg | 86.2393 | FALSE | 0
fuse | total gain | percent_diff_winter_max_temp_avg | 92.1779 | FALSE | 0
fuse | total gain | percent_diff_winter_max_ws_avg | 38.5196 | TRUE | 38.5196
fuse | total gain | percent_diff_winter_vpd_avg | 43.5982 | FALSE | 0
fuse | total gain | percent_diff_winter_rel_humidity_avg | 87.2998 | FALSE | 0
fuse | total gain | local_topography | 67.8566 | FALSE | 0
fuse | total gain | population_density | 172.2274 | FALSE | 0
fuse | total gain | satelite_strike_tree_count | 231.3115 | FALSE | 0
fuse | total gain | soil_erosion_kffact | 88.1855 | FALSE | 0
fuse | total gain | linktype_encoded_FT | 145.0877 | FALSE | 0
fuse | total gain | region_encoded_Bay_Area | 9.1335 | FALSE | 0
fuse | total gain | manufacturer_encoded_S_&_C | 8.4647 | FALSE | 0
primary conductor - wire down | total gain | estimated_age_years | 282.9032 | FALSE | 0
primary conductor - wire down | total gain | conductorcount | 1964.408 | FALSE | 0
primary conductor - wire down | total gain | conductor_length_ft | 251.8353 | FALSE | 0
primary conductor - wire down | total gain | pole_height_ft | 876.5599 | FALSE | 0
primary conductor - wire down | total gain | lidar_max_sag | 63.0651 | FALSE | 0
primary conductor - wire down | total gain | lidar_val_60_90mph | 12.2529 | FALSE | 0
primary conductor - wire down | total gain | lidar_val_fault3000a | 39.8138 | FALSE | 0
primary conductor - wire down | total gain | conductor_cross_sectional_area_min | 667.9482 | FALSE | 0
primary conductor - wire down | total gain | conductor_ultimate_strength_lbs_max | 370.1853 | FALSE | 0
primary conductor - wire down | total gain | conductor_weight_lbs_max | 273.1062 | FALSE | 0
primary conductor - wire down | total gain | splice_ind | 63.8053 | FALSE | 0
primary conductor - wire down | total gain | all_open_tag_ind | 112.1381 | FALSE | 0
primary conductor - wire down | total gain | corrosion_zone_ind | 21.0889 | FALSE | 0
primary conductor - wire down | total gain | coastalidc_ind | 327.956 | FALSE | 0
primary conductor - wire down | total gain | hftd_ind | 13.3294 | FALSE | 0
primary conductor - wire down | total gain | protected_ind | 102.1369 | FALSE | 0
primary conductor - wire down | total gain | summer_max_temp_avg | 193.5691 | FALSE | 0
primary conductor - wire down | total gain | winter_max_temp_avg | 332.3187 | FALSE | 0
primary conductor - wire down | total gain | summer_max_ws_avg | 485.6036 | TRUE | 485.6036
primary conductor - wire down | total gain | summer_precip_avg | 800.4178 | FALSE | 0
primary conductor - wire down | total gain | winter_precip_avg | 404.764 | FALSE | 0
primary conductor - wire down | total gain | summer_vpd_avg | 505.3503 | FALSE | 0
primary conductor - wire down | total gain | winter_vpd_avg | 273.1718 | FALSE | 0
primary conductor - wire down | total gain | summer_rel_humidity_avg | 2107.6594 | FALSE | 0
primary conductor - wire down | total gain | winter_rel_humidity_avg | 350.6474 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_summer_max_temp_avg | 201.4957 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_summer_max_ws_avg | 217.7983 | TRUE | 217.7983
primary conductor - wire down | total gain | percent_diff_summer_vpd_avg | 288.6549 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_summer_rel_humidity_avg | 432.5486 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_winter_max_temp_avg | 121.1164 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_winter_max_ws_avg | 150.4823 | TRUE | 150.4823
primary conductor - wire down | total gain | percent_diff_winter_vpd_avg | 44.9517 | FALSE | 0
primary conductor - wire down | total gain | percent_diff_winter_rel_humidity_avg | 79.4679 | FALSE | 0
primary conductor - wire down | total gain | local_topography | 67.202 | FALSE | 0
primary conductor - wire down | total gain | nonburnable_land_index | 2531.3594 | FALSE | 0
primary conductor - wire down | total gain | satelite_strike_tree_count | 271.5967 | FALSE | 0
primary conductor - wire down | total gain | soil_erosion_kffact | 1060.8589 | FALSE | 0
primary conductor - wire down | total gain | construction_type_encoded_Horizontal | 10.919 | FALSE | 0
primary conductor - line slap | total gain | estimated_age_years | 62.9358 | FALSE | 0
primary conductor - line slap | total gain | conductorcount | 420.5575 | FALSE | 0
primary conductor - line slap | total gain | conductor_length_ft | 110.6521 | FALSE | 0
primary conductor - line slap | total gain | pole_height_ft | 152.9958 | FALSE | 0
primary conductor - line slap | total gain | operating_voltage | 11.1737 | FALSE | 0
primary conductor - line slap | total gain | spacing | 85.0507 | FALSE | 0
primary conductor - line slap | total gain | lidar_framing_level_count | 11.8275 | FALSE | 0
primary conductor - line slap | total gain | lidar_max_sag | 12.1078 | FALSE | 0
primary conductor - line slap | total gain | lidar_val_60_90mph | 82.3352 | FALSE | 0
primary conductor - line slap | total gain | lidar_val_fault3000a | 44.5541 | FALSE | 0
primary conductor - line slap | total gain | conductor_cross_sectional_area_min | 80.6084 | FALSE | 0
primary conductor - line slap | total gain | conductor_ultimate_strength_lbs_max | 49.8898 | FALSE | 0
primary conductor - line slap | total gain | conductor_weight_lbs_max | 101.8319 | FALSE | 0
primary conductor - line slap | total gain | hftd_ind | 7.0747 | FALSE | 0
primary conductor - line slap | total gain | summer_max_temp_avg | 35.4251 | FALSE | 0
primary conductor - line slap | total gain | summer_max_ws_avg | 157.4665 | TRUE | 157.4665
primary conductor - line slap | total gain | winter_precip_avg | 158.3688 | FALSE | 0
primary conductor - line slap | total gain | summer_vpd_avg | 156.7769 | FALSE | 0
primary conductor - line slap | total gain | winter_vpd_avg | 60.162 | FALSE | 0
primary conductor - line slap | total gain | summer_rel_humidity_avg | 99.9421 | FALSE | 0
primary conductor - line slap | total gain | winter_rel_humidity_avg | 41.8239 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_summer_max_temp_avg | 76.47 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_summer_max_ws_avg | 127.2475 | TRUE | 127.2475
primary conductor - line slap | total gain | percent_diff_summer_vpd_avg | 51.5995 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_summer_rel_humidity_avg | 129.3732 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_winter_max_temp_avg | 36.7687 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_winter_max_ws_avg | 104.6093 | TRUE | 104.6093
primary conductor - line slap | total gain | percent_diff_winter_vpd_avg | 113.9384 | FALSE | 0
primary conductor - line slap | total gain | percent_diff_winter_rel_humidity_avg | 39.2454 | FALSE | 0
primary conductor - line slap | total gain | local_topography | 83.7126 | FALSE | 0
primary conductor - line slap | total gain | population_density | 165.0439 | FALSE | 0
primary conductor - line slap | total gain | satelite_strike_tree_count | 51.7838 | FALSE | 0
primary conductor - line slap | total gain | soil_erosion_kffact | 61.6466 | FALSE | 0
primary conductor - other | total gain | estimated_age_years | 176.7502 | FALSE | 0
primary conductor - other | total gain | conductorcount | 1777.7299 | FALSE | 0
primary conductor - other | total gain | conductor_length_ft | 209.5866 | FALSE | 0
primary conductor - other | total gain | pole_height_ft | 389.5147 | FALSE | 0
primary conductor - other | total gain | operating_voltage | 13.2507 | FALSE | 0
primary conductor - other | total gain | lidar_pole_elevation | 51.288 | FALSE | 0
primary conductor - other | total gain | lidar_framing_level_count | 80.0289 | FALSE | 0
primary conductor - other | total gain | lidar_max_sag | 53.3399 | FALSE | 0
primary conductor - other | total gain | lidar_val_35_60mph | 10.0941 | FALSE | 0
primary conductor - other | total gain | conductor_cross_sectional_area_min | 34.4519 | FALSE | 0
primary conductor - other | total gain | conductor_weight_lbs_max | 238.2048 | FALSE | 0
primary conductor - other | total gain | coastalidc_ind | 89.2531 | FALSE | 0
primary conductor - other | total gain | hftd_ind | 10.1668 | FALSE | 0
primary conductor - other | total gain | treewire_idc | 44.1918 | FALSE | 0
primary conductor - other | total gain | protected_ind | 10.7308 | FALSE | 0
primary conductor - other | total gain | summer_max_temp_avg | 78.8785 | FALSE | 0
primary conductor - other | total gain | winter_max_temp_avg | 73.6015 | FALSE | 0
primary conductor - other | total gain | summer_max_ws_avg | 138.8465 | TRUE | 138.8465
primary conductor - other | total gain | summer_precip_avg | 273.2371 | FALSE | 0
primary conductor - other | total gain | winter_precip_avg | 137.2654 | FALSE | 0
primary conductor - other | total gain | summer_vpd_avg | 346.8699 | FALSE | 0
primary conductor - other | total gain | winter_vpd_avg | 24.4751 | FALSE | 0
primary conductor - other | total gain | summer_rel_humidity_avg | 765.2504 | FALSE | 0
primary conductor - other | total gain | winter_rel_humidity_avg | 83.3265 | FALSE | 0
primary conductor - other | total gain | percent_diff_summer_max_temp_avg | 132.312 | FALSE | 0
primary conductor - other | total gain | percent_diff_summer_max_ws_avg | 170.4885 | TRUE | 170.4885
primary conductor - other | total gain | percent_diff_summer_vpd_avg | 139.6418 | FALSE | 0
primary conductor - other | total gain | percent_diff_summer_rel_humidity_avg | 70.8765 | FALSE | 0
primary conductor - other | total gain | percent_diff_winter_max_temp_avg | 66.2171 | FALSE | 0
primary conductor - other | total gain | percent_diff_winter_max_ws_avg | 69.4931 | TRUE | 69.4931
primary conductor - other | total gain | percent_diff_winter_vpd_avg | 79.2458 | FALSE | 0
primary conductor - other | total gain | percent_diff_winter_rel_humidity_avg | 134.855 | FALSE | 0
primary conductor - other | total gain | local_topography | 119.2829 | FALSE | 0
primary conductor - other | total gain | nonburnable_land_index | 1133.1069 | FALSE | 0
primary conductor - other | total gain | satelite_strike_tree_count | 47.6355 | FALSE | 0
primary conductor - other | total gain | soil_erosion_kffact | 524.6414 | FALSE | 0
support structure - equipment | total gain | estimated_age_years | 2985.0115 | FALSE | 0
support structure - equipment | total gain | pole_original_volume | 1198.201 | FALSE | 0
support structure - equipment | total gain | percentatmcu | 1843.2435 | FALSE | 0
support structure - equipment | total gain | corrosion_zone_ind | 17.0774 | FALSE | 0
support structure - equipment | total gain | all_open_tag_ind | 47.598 | FALSE | 0
support structure - equipment | total gain | summer_max_temp_avg | 399.0742 | FALSE | 0
support structure - equipment | total gain | summer_max_ws_avg | 198.3686 | TRUE | 198.3686
support structure - equipment | total gain | summer_precip_avg | 236.1668 | FALSE | 0
support structure - equipment | total gain | winter_precip_avg | 197.2497 | FALSE | 0
support structure - equipment | total gain | summer_vpd_avg | 346.1037 | FALSE | 0
support structure - equipment | total gain | winter_vpd_avg | 58.9897 | FALSE | 0
support structure - equipment | total gain | summer_rel_humidity_avg | 281.0367 | FALSE | 0
support structure - equipment | total gain | winter_rel_humidity_avg | 199.0505 | FALSE | 0
support structure - equipment | total gain | percent_diff_summer_max_temp_avg | 202.0349 | FALSE | 0
support structure - equipment | total gain | percent_diff_summer_max_ws_avg | 262.4673 | TRUE | 262.4673
support structure - equipment | total gain | percent_diff_summer_vpd_avg | 234.1037 | FALSE | 0
support structure - equipment | total gain | percent_diff_summer_rel_humidity_avg | 691.0533 | FALSE | 0
support structure - equipment | total gain | percent_diff_winter_vpd_avg | 83.7284 | FALSE | 0
support structure - equipment | total gain | percent_diff_winter_rel_humidity_avg | 574.5615 | FALSE | 0
support structure - equipment | total gain | local_topography | 101.735 | FALSE | 0
support structure - equipment | total gain | nonburnable_land_index | 562.2656 | FALSE | 0
support structure - equipment | total gain | satelite_strike_tree_count | 149.7222 | FALSE | 0
support structure - equipment | total gain | soil_erosion_kffact | 225.4731 | FALSE | 0
support structure - equipment | total gain | soil_annual_flood_freq | 32.5724 | FALSE | 0
support structure - equipment | total gain | years_since_last_ptt | 208.6384 | FALSE | 0
support structure - equipment | total gain | ptt_circumference_pct_diff_from_original | 365.3655 | FALSE | 0
support structure - equipment | total gain | pole_remaining_strength | 647.3109 | FALSE | 0
support structure - equipment | total gain | local_topography_times_kffact | 164.4743 | FALSE | 0
support structure - equipment | total gain | species_encoded___unknown | 59.4705 | FALSE | 0
support structure - equipment | total gain | originaltreatmenttype_encoded_penta | 25.9133 | FALSE | 0
support structure - equipment | total gain | originaltreatmenttype_encoded___unknown | 59.5018 | FALSE | 0
support structure - electrical | total gain | estimated_age_years | 2407.4072 | FALSE | 0
support structure - electrical | total gain | attachment_count | 5.7421 | FALSE | 0
support structure - electrical | total gain | pole_original_volume | 2106.6052 | FALSE | 0
support structure - electrical | total gain | corrosion_zone_ind | 372.9703 | FALSE | 0
support structure - electrical | total gain | percentatmcu | 1335.1385 | FALSE | 0
support structure - electrical | total gain | all_open_tag_ind | 7.1814 | FALSE | 0
support structure - electrical | total gain | summer_max_temp_avg | 53.6267 | FALSE | 0
support structure - electrical | total gain | summer_max_ws_avg | 324.2875 | TRUE | 324.2875
support structure - electrical | total gain | summer_precip_avg | 696.3738 | FALSE | 0
support structure - electrical | total gain | winter_precip_avg | 509.8559 | FALSE | 0
support structure - electrical | total gain | summer_vpd_avg | 427.0158 | FALSE | 0
support structure - electrical | total gain | winter_vpd_avg | 374.2653 | FALSE | 0
support structure - electrical | total gain | summer_rel_humidity_avg | 570.4844 | FALSE | 0
support structure - electrical | total gain | winter_rel_humidity_avg | 207.9116 | FALSE | 0
support structure - electrical | total gain | percent_diff_summer_max_temp_avg | 772.8929 | FALSE | 0
support structure - electrical | total gain | percent_diff_summer_max_ws_avg | 388.6147 | TRUE | 388.6147
support structure - electrical | total gain | percent_diff_summer_vpd_avg | 76.7732 | FALSE | 0
support structure - electrical | total gain | percent_diff_summer_rel_humidity_avg | 1728.5729 | FALSE | 0
support structure - electrical | total gain | percent_diff_winter_vpd_avg | 202.6215 | FALSE | 0
support structure - electrical | total gain | percent_diff_winter_rel_humidity_avg | 261.1839 | FALSE | 0
support structure - electrical | total gain | local_topography | 248.8291 | FALSE | 0
support structure - electrical | total gain | population_density | 336.0246 | FALSE | 0
support structure - electrical | total gain | nonburnable_land_index | 485.9737 | FALSE | 0
support structure - electrical | total gain | satelite_strike_tree_count | 573.8993 | FALSE | 0
support structure - electrical | total gain | soil_erosion_kffact | 105.1642 | FALSE | 0
support structure - electrical | total gain | soil_annual_flood_freq | 153.7406 | FALSE | 0
support structure - electrical | total gain | years_since_last_ptt | 194.1829 | FALSE | 0
support structure - electrical | total gain | originaltreatmenttype_encoded_penta | 24.6246 | FALSE | 0
support structure - electrical | total gain | originaltreatmenttype_encoded_gas | 11.6747 | FALSE | 0
support structure - electrical | total gain | originaltreatmenttype_encoded___unknown | 14.4209 | FALSE | 0
support structure - electrical | total gain | division_encoded_Yosemite | 9.3344 | FALSE | 0
support structure - electrical | total gain | division_encoded_Kern | 11.1525 | FALSE | 0
support structure - electrical | total gain | division_encoded_Central_Coast | 7.1069 | FALSE | 0
support structure - electrical | total gain | division_encoded_Sacramento | 12.1137 | FALSE | 0
support structure - electrical | total gain | division_encoded_San_Jose | 5.7887 | FALSE | 0
support structure - electrical | total gain | division_encoded_Peninsula | 22.2362 | FALSE | 0
support structure - electrical | total gain | division_encoded_North_Bay | 102.314 | FALSE | 0
support structure - electrical | total gain | division_encoded_East_Bay | 478.3377 | FALSE | 0
support structure - electrical | total gain | division_encoded_Mission | 173.6848 | FALSE | 0
support structure - electrical | total gain | species_encoded_Douglas_Fir | 7.4794 | FALSE | 0
support structure - electrical | total gain | species_encoded_Western_Red_Cedar | 255.7283 | FALSE | 0
support structure - electrical | total gain | species_encoded_Not_Available | 10.738 | FALSE | 0
support structure - electrical | total gain | species_encoded___unknown | 7.7951 | FALSE | 0
Transformer - failure | total gain | estimated_age_years | 5406.6646 | FALSE | 0
Transformer - failure | total gain | rated_kva | 850.2397 | FALSE | 0
Transformer - failure | total gain | coastal_corrosive_ind | 670.4221 | FALSE | 0
Transformer - failure | total gain | replacement_open_tag_ind | 55.1586 | FALSE | 0
Transformer - failure | total gain | population_density | 3387.1377 | FALSE | 0
Transformer - failure | total gain | nonburnable_land_index | 687.3271 | FALSE | 0
Transformer - failure | total gain | satelite_strike_tree_count | 1402.3085 | FALSE | 0
Transformer - failure | total gain | soil_erosion_kffact | 1578.2391 | FALSE | 0
Transformer - failure | total gain | local_topography | 1470.7283 | FALSE | 0
Transformer - failure | total gain | summer_max_temp_avg | 2716.6914 | FALSE | 0
Transformer - failure | total gain | winter_max_temp_avg | 2367.7847 | FALSE | 0
Transformer - failure | total gain | summer_max_ws_avg | 1644.6949 | TRUE | 1644.6949
Transformer - failure | total gain | percent_diff_summer_max_temp_avg | 5234.959 | FALSE | 0
Transformer - failure | total gain | percent_diff_winter_max_temp_avg | 3019.0273 | FALSE | 0
Transformer - failure | total gain | txfmr_load_factor_12m | 2445.4539 | FALSE | 0
Transformer - failure | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 7586.0806 | FALSE | 0
Transformer - failure | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 3707.4126 | FALSE | 0
Transformer - failure | total gain | unit_max_peak_kva_percent_capability_12m | 4261.3745 | FALSE | 0
Transformer - failure | total gain | unit_mean_peak_kva_percent_capability_12m | 611.3965 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AS | 145.5341 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_HI | 113.9725 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_PP | 122.5978 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_GE | 153.5449 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_KU | 129.7412 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_WE | 17.1454 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ME | 41.0773 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_XX | 65.8111 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_RT | 8.4212 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AB | 10.3806 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_CP | 80.9042 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_DS | 113.9192 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_FP | 39.7242 | FALSE | 0
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ER | 7.5192 | FALSE | 0
Transformer - leaking | total gain | estimated_age_years | 441.4491 | FALSE | 0
Transformer - leaking | total gain | rated_kva | 176.3955 | FALSE | 0
Transformer - leaking | total gain | coastal_corrosive_ind | 30.677 | FALSE | 0
Transformer - leaking | total gain | population_density | 254.7561 | FALSE | 0
Transformer - leaking | total gain | nonburnable_land_index | 44.3157 | FALSE | 0
Transformer - leaking | total gain | satelite_strike_tree_count | 82.6939 | FALSE | 0
Transformer - leaking | total gain | soil_erosion_kffact | 143.2042 | FALSE | 0
Transformer - leaking | total gain | local_topography | 81.6514 | FALSE | 0
Transformer - leaking | total gain | summer_max_temp_avg | 262.2135 | FALSE | 0
Transformer - leaking | total gain | winter_max_temp_avg | 238.3505 | FALSE | 0
Transformer - leaking | total gain | summer_max_ws_avg | 132.6824 | TRUE | 132.6824
Transformer - leaking | total gain | percent_diff_summer_max_temp_avg | 311.6464 | FALSE | 0
Transformer - leaking | total gain | percent_diff_winter_max_temp_avg | 375.7184 | FALSE | 0
Transformer - leaking | total gain | txfmr_load_factor_12m | 185.2396 | FALSE | 0
Transformer - leaking | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 331.2431 | FALSE | 0
Transformer - leaking | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 348.9574 | FALSE | 0
Transformer - leaking | total gain | unit_max_peak_kva_percent_capability_12m | 304.1648 | FALSE | 0
Transformer - leaking | total gain | unit_mean_peak_kva_percent_capability_12m | 64.2051 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_AS | 38.815 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_HI | 47.6439 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_PP | 46.7589 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_GE | 29.9776 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_KU | 19.8145 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_ME | 16.9586 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_XX | 56.682 | FALSE | 0
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_DS | 88.7895 | FALSE | 0
Switch | total gain | estimated_age_years | 76.181 | FALSE | 0
Switch | total gain | ccrating | 113.071 | FALSE | 0
Switch | total gain | summer_max_temp_avg | 24.3297 | FALSE | 0
Switch | total gain | winter_max_temp_avg | 116.4057 | FALSE | 0
Switch | total gain | winter_vpd_avg | 9.6391 | FALSE | 0
Switch | total gain | summer_rel_humidity_avg | 54.5859 | FALSE | 0
Switch | total gain | percent_diff_summer_max_temp_avg | 18.8957 | FALSE | 0
Switch | total gain | percent_diff_summer_rel_humidity_avg | 41.189 | FALSE | 0
Switch | total gain | percent_diff_winter_max_temp_avg | 8.1986 | FALSE | 0
Switch | total gain | percent_diff_winter_vpd_avg | 35.8113 | FALSE | 0
Switch | total gain | percent_diff_winter_rel_humidity_avg | 29.4419 | FALSE | 0
Switch | total gain | local_topography | 13.2152 | FALSE | 0
Switch | total gain | population_density | 8.0097 | FALSE | 0
Switch | total gain | soil_erosion_kffact | 18.656 | FALSE | 0
Switch | total gain | switch_type_encoded_SCADA_Switch | 164.695 | FALSE | 0
voltage regulator | total gain | estimated_age_years | 9.538 | FALSE | 0
voltage regulator | total gain | ratedamps | 141.4699 | FALSE | 0
voltage regulator | total gain | operating_voltage | 28.5003 | FALSE | 0
voltage regulator | total gain | pole_height | 10.3941 | FALSE | 0
voltage regulator | total gain | summer_max_ws_avg | 24.7123 | TRUE | 24.7123
voltage regulator | total gain | winter_precip_avg | 65.2281 | FALSE | 0
voltage regulator | total gain | winter_max_temp_avg | 61.2261 | FALSE | 0
voltage regulator | total gain | winter_vpd_avg | 52.0967 | FALSE | 0
voltage regulator | total gain | summer_rel_humidity_avg | 48.6288 | FALSE | 0
voltage regulator | total gain | winter_rel_humidity_avg | 30.4894 | FALSE | 0
voltage regulator | total gain | percent_diff_summer_max_temp_avg | 19.8788 | FALSE | 0
voltage regulator | total gain | percent_diff_summer_max_ws_avg | 32.1467 | TRUE | 32.1467
voltage regulator | total gain | percent_diff_summer_rel_humidity_avg | 46.6779 | FALSE | 0
voltage regulator | total gain | percent_diff_winter_vpd_avg | 57.1823 | FALSE | 0
voltage regulator | total gain | percent_diff_winter_rel_humidity_avg | 32.7978 | FALSE | 0
voltage regulator | total gain | nonburnable_land_index | 24.6166 | FALSE | 0
voltage regulator | total gain | satelite_strike_tree_count | 28.8567 | FALSE | 0
voltage regulator | total gain | soil_erosion_kffact | 9.7002 | FALSE | 0
other_equipment_type | permutation importance | nonburnable_land_index | 16.9812 | FALSE | 0
other_equipment_type | permutation importance | subtypecd | 16.2405 | FALSE | 0
other_equipment_type | permutation importance | merged_strike_tree_count | 15.1806 | FALSE | 0
other_equipment_type | permutation importance | conductor_size_and_material | 13.5547 | FALSE | 0
other_equipment_type | permutation importance | impervious | 5.3287 | FALSE | 0
other_equipment_type | permutation importance | precipitation_avg | 2.2726 | FALSE | 0
other_equipment_type | permutation importance | merged_strike_tree_height_max | 1.9911 | FALSE | 0
other_equipment_type | permutation importance | operatingvoltage | 1.3313 | FALSE | 0
other_equipment_type | permutation importance | merged_strike_tree_height_avg | 1.2165 | FALSE | 0
other_equipment_type | permutation importance | satelite_canopy_density | 0.7881 | FALSE | 0
other_equipment_type | permutation importance | cwhr_montane_hardwood | 0.4328 | FALSE | 0
other_equipment_type | permutation importance | tier_2 | 0.4085 | FALSE | 0
other_equipment_type | permutation importance | coastal | 0.3576 | FALSE | 0
other_equipment_type | permutation importance | soil_SLOPE | 0.3264 | FALSE | 0
other_equipment_type | permutation importance | psps_segment | 0.3131 | FALSE | 0
other_equipment_type | permutation importance | cwhr_montane_hardwood_conifer | 0.285 | FALSE | 0
other_equipment_type | permutation importance | soil_CLAY | 0.2202 | FALSE | 0
other_equipment_type | permutation importance | cwhr_douglas_fir | 0.1883 | FALSE | 0
other_equipment_type | permutation importance | soil_erosion_kffact | 0.1697 | FALSE | 0
other_equipment_type | permutation importance | specific_humidity_avg | 0.1252 | FALSE | 0
other_equipment_type | permutation importance | gusty_summer_day_pct | 0.1229 | TRUE | 0.1229
other_equipment_type | permutation importance | cwhr_closed_cone_pine_cypress | 0.1212 | FALSE | 0
other_equipment_type | permutation importance | soil_DRAIN | 0.1194 | FALSE | 0
other_equipment_type | permutation importance | soil_THICK | 0.0947 | FALSE | 0
other_equipment_type | permutation importance | soil_HYGRP | 0.0848 | FALSE | 0
other_equipment_type | permutation importance | soil_IFHYDRIC | 0.0805 | FALSE | 0
other_equipment_type | permutation importance | soil_annual_flood_freq | 0.0744 | FALSE | 0
other_equipment_type | permutation importance | windy_summer_day_pct | 0.0717 | TRUE | 0.0717
other_equipment_type | permutation importance | cwhr_redwood | 0.0688 | FALSE | 0
other_equipment_type | permutation importance | local_topography | 0.064 | FALSE | 0
other_equipment_type | permutation importance | soil_PERM | 0.0611 | FALSE | 0
other_equipment_type | permutation importance | cwhr_eucalyptus | 0.0587 | FALSE | 0
other_equipment_type | permutation importance | cwhr_klamath_mixed_conifer | 0.0502 | FALSE | 0
other_equipment_type | permutation importance | 100_hour_fuels_avg | 0.0394 | FALSE | 0
other_equipment_type | permutation importance | tree_species_treemap | 0.0385 | FALSE | 0
other_equipment_type | permutation importance | cwhr_coastal_oak_woodland | 0.0343 | FALSE | 0
other_equipment_type | permutation importance | cwhr_valley_oak_woodland | 0.0289 | FALSE | 0
other_equipment_type | permutation importance | cwhr_juniper | 0.0225 | FALSE | 0
other_equipment_type | permutation importance | cwhr_ponderosa_pine | 0.0158 | FALSE | 0
other_equipment_type | permutation importance | cwhr_montane_riparian | 0.0137 | FALSE | 0
other_equipment_type | permutation importance | burn_index_avg | 0.0117 | FALSE | 0
other_equipment_type | permutation importance | daily_max_temperature_avg | 0.0086 | FALSE | 0
other_equipment_type | permutation importance | wind_max | 0.0084 | TRUE | 0.0084
other_equipment_type | permutation importance | soil_OM | 0.0066 | FALSE | 0
other_equipment_type | permutation importance | cwhr_sierran_mixed_conifer | 0.0065 | FALSE | 0
secondary_conductor | permutation importance | merged_strike_tree_count_perlinemile | 41.9562 | FALSE | 0
secondary_conductor | permutation importance | merged_strike_tree_count | 25.9601 | FALSE | 0
secondary_conductor | permutation importance | nonburnable_land_index | 11.8892 | FALSE | 0
secondary_conductor | permutation importance | impervious | 3.5591 | FALSE | 0
secondary_conductor | permutation importance | merged_strike_tree_height_avg | 2.6302 | FALSE | 0
secondary_conductor | permutation importance | burn_index_avg | 1.9945 | FALSE | 0
secondary_conductor | permutation importance | vapor_pressure_deficit_avg | 1.3958 | FALSE | 0
secondary_conductor | permutation importance | cwhr_redwood | 1.2092 | FALSE | 0
secondary_conductor | permutation importance | daily_max_temperature_avg | 1.0847 | FALSE | 0
secondary_conductor | permutation importance | soil_OM | 1.0439 | FALSE | 0
secondary_conductor | permutation importance | soil_THICK | 0.7963 | FALSE | 0
secondary_conductor | permutation importance | gusty_summer_day_pct | 0.7671 | TRUE | 0.7671
secondary_conductor | permutation importance | subtypecd | 0.6713 | FALSE | 0
secondary_conductor | permutation importance | cwhr_eucalyptus | 0.5927 | FALSE | 0
secondary_conductor | permutation importance | merged_strike_tree_height_max | 0.5785 | FALSE | 0
secondary_conductor | permutation importance | wind_max | 0.5412 | TRUE | 0.5412
secondary_conductor | permutation importance | 100_hour_fuels_avg | 0.4733 | FALSE | 0
secondary_conductor | permutation importance | windy_summer_day_pct | 0.2739 | TRUE | 0.2739
secondary_conductor | permutation importance | tier_2 | 0.2577 | FALSE | 0
secondary_conductor | permutation importance | cwhr_valley_oak_woodland | 0.2426 | FALSE | 0
secondary_conductor | permutation importance | merged_strike_tree_height_min | 0.221 | FALSE | 0
secondary_conductor | permutation importance | cwhr_montane_hardwood | 0.2057 | FALSE | 0
secondary_conductor | permutation importance | soil_SLOPE | 0.1985 | FALSE | 0
secondary_conductor | permutation importance | soil_AWC | 0.1758 | FALSE | 0
secondary_conductor | permutation importance | soil_PERM | 0.1713 | FALSE | 0
secondary_conductor | permutation importance | cwhr_coastal_oak_woodland | 0.1337 | FALSE | 0
secondary_conductor | permutation importance | soil_annual_flood_freq | 0.1215 | FALSE | 0
secondary_conductor | permutation importance | local_topography | 0.1171 | FALSE | 0
secondary_conductor | permutation importance | satelite_canopy_density | 0.0933 | FALSE | 0
secondary_conductor | permutation importance | tree_species_treemap | 0.0857 | FALSE | 0
secondary_conductor | permutation importance | cwhr_eastside_pine | 0.0807 | FALSE | 0
secondary_conductor | permutation importance | cwhr_ponderosa_pine | 0.0738 | FALSE | 0
secondary_conductor | permutation importance | soil_IFHYDRIC | 0.0724 | FALSE | 0
secondary_conductor | permutation importance | soil_CLAY | 0.0549 | FALSE | 0
secondary_conductor | permutation importance | operatingvoltage | 0.0513 | FALSE | 0
secondary_conductor | permutation importance | cwhr_montane_hardwood_conifer | 0.0403 | FALSE | 0
secondary_conductor | permutation importance | cwhr_blue_oak_woodland | 0.0389 | FALSE | 0
secondary_conductor | permutation importance | specific_humidity_avg | 0.0375 | FALSE | 0
secondary_conductor | permutation importance | soil_HYGRP | 0.0314 | FALSE | 0
secondary_conductor | permutation importance | precipitation_avg | 0.0197 | FALSE | 0
secondary_conductor | permutation importance | cwhr_aspen | 0.018 | FALSE | 0
secondary_conductor | permutation importance | cwhr_montane_riparian | 0.0155 | FALSE | 0
secondary_conductor | permutation importance | cwhr_closed_cone_pine_cypress | 0.013 | FALSE | 0
secondary_conductor | permutation importance | wind_avg | 0.0074 | TRUE | 0.0074
secondary_conductor | permutation importance | energy_release_avg | 0.0043 | FALSE | 0
animal_bird | permutation importance | subtypecd | 17.6651 | FALSE | 0
animal_bird | permutation importance | merged_strike_tree_count_perlinemile | 17.4654 | FALSE | 0
animal_bird | permutation importance | nonburnable_land_index | 12.0149 | FALSE | 0
animal_bird | permutation importance | operatingvoltage | 11.2651 | FALSE | 0
animal_bird | permutation importance | impervious | 10.1348 | FALSE | 0
animal_bird | permutation importance | merged_strike_tree_count | 8.5268 | FALSE | 0
animal_bird | permutation importance | conductor_size_and_material | 3.0548 | FALSE | 0
animal_bird | permutation importance | merged_strike_tree_height_max | 1.8513 | FALSE | 0
animal_bird | permutation importance | cwhr_montane_hardwood_conifer | 1.8034 | FALSE | 0
animal_bird | permutation importance | satelite_canopy_density | 1.4764 | FALSE | 0
animal_bird | permutation importance | merged_strike_tree_height_avg | 1.4588 | FALSE | 0
animal_bird | permutation importance | windy_summer_day_pct | 1.1536 | TRUE | 1.1536
animal_bird | permutation importance | soil_SLOPE | 1.1529 | FALSE | 0
animal_bird | permutation importance | psps_segment | 1.1453 | FALSE | 0
animal_bird | permutation importance | precipitation_avg | 1.105 | FALSE | 0
animal_bird | permutation importance | soil_erosion_kffact | 0.8137 | FALSE | 0
animal_bird | permutation importance | cwhr_ponderosa_pine | 0.6775 | FALSE | 0
animal_bird | permutation importance | cwhr_douglas_fir | 0.6755 | FALSE | 0
animal_bird | permutation importance | specific_humidity_avg | 0.667 | FALSE | 0
animal_bird | permutation importance | cwhr_valley_oak_woodland | 0.5804 | FALSE | 0
animal_bird | permutation importance | soil_OM | 0.5443 | FALSE | 0
animal_bird | permutation importance | cwhr_closed_cone_pine_cypress | 0.5137 | FALSE | 0
animal_bird | permutation importance | tier_2 | 0.4362 | FALSE | 0
animal_bird | permutation importance | tree_species_treemap | 0.3484 | FALSE | 0
animal_bird | permutation importance | vapor_pressure_deficit_avg | 0.3052 | FALSE | 0
animal_bird | permutation importance | soil_HYGRP | 0.2794 | FALSE | 0
animal_bird | permutation importance | cwhr_blue_oak_foothill_pine | 0.2768 | FALSE | 0
animal_bird | permutation importance | cwhr_blue_oak_woodland | 0.2752 | FALSE | 0
animal_bird | permutation importance | local_topography | 0.2609 | FALSE | 0
animal_bird | permutation importance | 100_hour_fuels_avg | 0.2189 | FALSE | 0
animal_bird | permutation importance | soil_CLAY | 0.1988 | FALSE | 0
animal_bird | permutation importance | 1000_hour_fuels_avg | 0.198 | FALSE | 0
animal_bird | permutation importance | energy_release_avg | 0.1556 | FALSE | 0
animal_bird | permutation importance | soil_LL | 0.1403 | FALSE | 0
animal_bird | permutation importance | gusty_summer_day_pct | 0.1373 | TRUE | 0.1373
animal_bird | permutation importance | wind_avg | 0.1357 | TRUE | 0.1357
animal_bird | permutation importance | merged_strike_tree_height_min | 0.1209 | FALSE | 0
animal_bird | permutation importance | tier_3 | 0.1142 | FALSE | 0
animal_bird | permutation importance | soil_PERM | 0.1083 | FALSE | 0
animal_bird | permutation importance | daily_max_temperature_avg | 0.1082 | FALSE | 0
animal_bird | permutation importance | soil_DRAIN | 0.0942 | FALSE | 0
animal_bird | permutation importance | soil_THICK | 0.0898 | FALSE | 0
animal_bird | permutation importance | cwhr_eucalyptus | 0.0877 | FALSE | 0
animal_bird | permutation importance | cwhr_aspen | 0.0734 | FALSE | 0
animal_bird | permutation importance | soil_IFHYDRIC | 0.0381 | FALSE | 0
animal_bird | permutation importance | cwhr_juniper | 0.0132 | FALSE | 0
animal_bird | permutation importance | soil_AWC | 0.012 | FALSE | 0
animal_bird | permutation importance | wind_max | 0.0105 | TRUE | 0.0105
animal_bird | permutation importance | cwhr_montane_hardwood | 0.0103 | FALSE | 0
animal_bird | permutation importance | soil_annual_flood_freq | 0.0067 | FALSE | 0
animal_bird | permutation importance | cwhr_redwood | 0.0001 | FALSE | 0
animal_squirrel | permutation importance | impervious | 43.1471 | FALSE | 0
animal_squirrel | permutation importance | precipitation_avg | 13.5134 | FALSE | 0
animal_squirrel | permutation importance | nonburnable_land_index | 12.2243 | FALSE | 0
animal_squirrel | permutation importance | merged_strike_tree_count_perlinemile | 5.0828 | FALSE | 0
animal_squirrel | permutation importance | 100_hour_fuels_avg | 3.9876 | FALSE | 0
animal_squirrel | permutation importance | merged_strike_tree_count | 3.8472 | FALSE | 0
animal_squirrel | permutation importance | subtypecd | 1.4598 | FALSE | 0
animal_squirrel | permutation importance | 1000_hour_fuels_avg | 1.3957 | FALSE | 0
animal_squirrel | permutation importance | soil_HYGRP | 1.2844 | FALSE | 0
animal_squirrel | permutation importance | soil_SLOPE | 1.1873 | FALSE | 0
animal_squirrel | permutation importance | cwhr_montane_hardwood | 0.9914 | FALSE | 0
animal_squirrel | permutation importance | soil_LL | 0.8571 | FALSE | 0
animal_squirrel | permutation importance | conductor_size_and_material | 0.7991 | FALSE | 0
animal_squirrel | permutation importance | windy_summer_day_pct | 0.7988 | TRUE | 0.7988
animal_squirrel | permutation importance | cwhr_coastal_oak_woodland | 0.7972 | FALSE | 0
animal_squirrel | permutation importance | soil_annual_flood_freq | 0.7168 | FALSE | 0
animal_squirrel | permutation importance | cwhr_douglas_fir | 0.716 | FALSE | 0
animal_squirrel | permutation importance | daily_max_temperature_avg | 0.6277 | FALSE | 0
animal_squirrel | permutation importance | merged_strike_tree_height_max | 0.5823 | FALSE | 0
animal_squirrel | permutation importance | coastal | 0.5792 | FALSE | 0
animal_squirrel | permutation importance | specific_humidity_avg | 0.5288 | FALSE | 0
animal_squirrel | permutation importance | soil_THICK | 0.5058 | FALSE | 0
animal_squirrel | permutation importance | vapor_pressure_deficit_avg | 0.4876 | FALSE | 0
animal_squirrel | permutation importance | cwhr_valley_oak_woodland | 0.407 | FALSE | 0
animal_squirrel | permutation importance | cwhr_blue_oak_woodland | 0.3986 | FALSE | 0
animal_squirrel | permutation importance | satelite_canopy_density | 0.3457 | FALSE | 0
animal_squirrel | permutation importance | wind_max | 0.3213 | TRUE | 0.3213
animal_squirrel | permutation importance | soil_erosion_kffact | 0.3094 | FALSE | 0
animal_squirrel | permutation importance | cwhr_eucalyptus | 0.2639 | FALSE | 0
animal_squirrel | permutation importance | merged_strike_tree_height_avg | 0.2606 | FALSE | 0
animal_squirrel | permutation importance | operatingvoltage | 0.2344 | FALSE | 0
animal_squirrel | permutation importance | cwhr_montane_hardwood_conifer | 0.1926 | FALSE | 0
animal_squirrel | permutation importance | psps_segment | 0.162 | FALSE | 0
animal_squirrel | permutation importance | tier_2 | 0.1486 | FALSE | 0
animal_squirrel | permutation importance | cwhr_montane_riparian | 0.1184 | FALSE | 0
animal_squirrel | permutation importance | soil_CLAY | 0.1147 | FALSE | 0
animal_squirrel | permutation importance | gusty_summer_day_pct | 0.1103 | TRUE | 0.1103
animal_squirrel | permutation importance | wind_avg | 0.1101 | TRUE | 0.1101
animal_squirrel | permutation importance | cwhr_sierran_mixed_conifer | 0.0801 | FALSE | 0
animal_squirrel | permutation importance | burn_index_avg | 0.0756 | FALSE | 0
animal_squirrel | permutation importance | tree_species_treemap | 0.0537 | FALSE | 0
animal_squirrel | permutation importance | cwhr_valley_foothill_riparian | 0.0532 | FALSE | 0
animal_squirrel | permutation importance | local_topography | 0.0387 | FALSE | 0
animal_squirrel | permutation importance | cwhr_eastside_pine | 0.036 | FALSE | 0
animal_squirrel | permutation importance | cwhr_closed_cone_pine_cypress | 0.021 | FALSE | 0
animal_squirrel | permutation importance | cwhr_ponderosa_pine | 0.0137 | FALSE | 0
animal_squirrel | permutation importance | soil_PERM | 0.0084 | FALSE | 0
animal_squirrel | permutation importance | soil_AWC | 0.0024 | FALSE | 0
animal_squirrel | permutation importance | soil_IFHYDRIC | 0.0023 | FALSE | 0
animal_other | permutation importance | nonburnable_land_index | 18.9358 | FALSE | 0
animal_other | permutation importance | merged_strike_tree_count | 15.2437 | FALSE | 0
animal_other | permutation importance | merged_strike_tree_count_perlinemile | 11.5358 | FALSE | 0
animal_other | permutation importance | vapor_pressure_deficit_avg | 6.1669 | FALSE | 0
animal_other | permutation importance | specific_humidity_avg | 5.2298 | FALSE | 0
animal_other | permutation importance | subtypecd | 3.0951 | FALSE | 0
animal_other | permutation importance | psps_segment | 3.0352 | FALSE | 0
animal_other | permutation importance | wind_avg | 2.531 | TRUE | 2.531
animal_other | permutation importance | conductor_size_and_material | 2.3048 | FALSE | 0
animal_other | permutation importance | impervious | 2.2236 | FALSE | 0
animal_other | permutation importance | windy_summer_day_pct | 2.085 | TRUE | 2.085
animal_other | permutation importance | operatingvoltage | 2.0414 | FALSE | 0
animal_other | permutation importance | satelite_canopy_density | 2.0105 | FALSE | 0
animal_other | permutation importance | cwhr_douglas_fir | 1.9812 | FALSE | 0
animal_other | permutation importance | soil_THICK | 1.8076 | FALSE | 0
animal_other | permutation importance | gusty_summer_day_pct | 1.7305 | TRUE | 1.7305
animal_other | permutation importance | soil_DRAIN | 1.6793 | FALSE | 0
animal_other | permutation importance | soil_PERM | 1.6739 | FALSE | 0
animal_other | permutation importance | soil_LL | 1.3901 | FALSE | 0
animal_other | permutation importance | soil_annual_flood_freq | 1.3006 | FALSE | 0
animal_other | permutation importance | daily_max_temperature_avg | 1.1367 | FALSE | 0
animal_other | permutation importance | soil_SLOPE | 0.9828 | FALSE | 0
animal_other | permutation importance | wind_max | 0.8752 | TRUE | 0.8752
animal_other | permutation importance | tree_species_treemap | 0.864 | FALSE | 0
animal_other | permutation importance | tier_3 | 0.796 | FALSE | 0
animal_other | permutation importance | soil_CLAY | 0.7768 | FALSE | 0
animal_other | permutation importance | cwhr_coastal_oak_woodland | 0.6965 | FALSE | 0
animal_other | permutation importance | soil_HYGRP | 0.6732 | FALSE | 0
animal_other | permutation importance | 100_hour_fuels_avg | 0.6326 | FALSE | 0
animal_other | permutation importance | soil_OM | 0.5828 | FALSE | 0
animal_other | permutation importance | cwhr_closed_cone_pine_cypress | 0.5208 | FALSE | 0
animal_other | permutation importance | soil_erosion_kffact | 0.4653 | FALSE | 0
animal_other | permutation importance | cwhr_blue_oak_woodland | 0.4357 | FALSE | 0
animal_other | permutation importance | burn_index_avg | 0.347 | FALSE | 0
animal_other | permutation importance | coastal | 0.2839 | FALSE | 0
animal_other | permutation importance | 1000_hour_fuels_avg | 0.2568 | FALSE | 0
animal_other | permutation importance | soil_AWC | 0.2373 | FALSE | 0
animal_other | permutation importance | merged_strike_tree_height_avg | 0.2298 | FALSE | 0
animal_other | permutation importance | cwhr_montane_hardwood | 0.2276 | FALSE | 0
animal_other | permutation importance | merged_strike_tree_height_min | 0.1934 | FALSE | 0
animal_other | permutation importance | precipitation_avg | 0.1685 | FALSE | 0
animal_other | permutation importance | energy_release_avg | 0.168 | FALSE | 0
animal_other | permutation importance | cwhr_eucalyptus | 0.1466 | FALSE | 0
animal_other | permutation importance | cwhr_montane_riparian | 0.1072 | FALSE | 0
animal_other | permutation importance | cwhr_valley_oak_woodland | 0.0989 | FALSE | 0
animal_other | permutation importance | cwhr_redwood | 0.0847 | FALSE | 0
animal_other | permutation importance | soil_IFHYDRIC | 0.01 | FALSE | 0
third_party_vehicle | permutation importance | nonburnable_land_index | 31.3807 | FALSE | 0
third_party_vehicle | permutation importance | impervious | 14.5586 | FALSE | 0
third_party_vehicle | permutation importance | merged_strike_tree_count_perlinemile | 12.1466 | FALSE | 0
third_party_vehicle | permutation importance | subtypecd | 9.204 | FALSE | 0
third_party_vehicle | permutation importance | conductor_size_and_material | 8.6659 | FALSE | 0
third_party_vehicle | permutation importance | merged_strike_tree_count | 7.0183 | FALSE | 0
third_party_vehicle | permutation importance | merged_strike_tree_height_max | 2.8879 | FALSE | 0
third_party_vehicle | permutation importance | precipitation_avg | 1.5528 | FALSE | 0
third_party_vehicle | permutation importance | vapor_pressure_deficit_avg | 1.2183 | FALSE | 0
third_party_vehicle | permutation importance | windy_summer_day_pct | 1.217 | TRUE | 1.217
third_party_vehicle | permutation importance | satelite_canopy_density | 1.1561 | FALSE | 0
third_party_vehicle | permutation importance | 1000_hour_fuels_avg | 1.1519 | FALSE | 0
third_party_vehicle | permutation importance | soil_SLOPE | 1.002 | FALSE | 0
third_party_vehicle | permutation importance | gusty_summer_day_pct | 0.7979 | TRUE | 0.7979
third_party_vehicle | permutation importance | daily_max_temperature_avg | 0.792 | FALSE | 0
third_party_vehicle | permutation importance | soil_PERM | 0.6084 | FALSE | 0
third_party_vehicle | permutation importance | merged_strike_tree_height_avg | 0.5158 | FALSE | 0
third_party_vehicle | permutation importance | local_topography | 0.4597 | FALSE | 0
third_party_vehicle | permutation importance | burn_index_avg | 0.3969 | FALSE | 0
third_party_vehicle | permutation importance | operatingvoltage | 0.312 | FALSE | 0
third_party_vehicle | permutation importance | tree_species_treemap | 0.2234 | FALSE | 0
third_party_vehicle | permutation importance | soil_HYGRP | 0.2193 | FALSE | 0
third_party_vehicle | permutation importance | psps_segment | 0.2115 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_ponderosa_pine | 0.1969 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_coastal_oak_woodland | 0.1908 | FALSE | 0
third_party_vehicle | permutation importance | soil_LL | 0.1825 | FALSE | 0
third_party_vehicle | permutation importance | soil_AWC | 0.1725 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_montane_hardwood_conifer | 0.1652 | FALSE | 0
third_party_vehicle | permutation importance | tier_3 | 0.1565 | FALSE | 0
third_party_vehicle | permutation importance | soil_IFHYDRIC | 0.1483 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_blue_oak_foothill_pine | 0.1136 | FALSE | 0
third_party_vehicle | permutation importance | soil_DRAIN | 0.1012 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_juniper | 0.0969 | FALSE | 0
third_party_vehicle | permutation importance | wind_avg | 0.0915 | TRUE | 0.0915
third_party_vehicle | permutation importance | cwhr_blue_oak_woodland | 0.087 | FALSE | 0
third_party_vehicle | permutation importance | soil_erosion_kffact | 0.0869 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_sierran_mixed_conifer | 0.0855 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_eucalyptus | 0.067 | FALSE | 0
third_party_vehicle | permutation importance | 100_hour_fuels_avg | 0.0655 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_montane_hardwood | 0.0642 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_closed_cone_pine_cypress | 0.0538 | FALSE | 0
third_party_vehicle | permutation importance | soil_annual_flood_freq | 0.0496 | FALSE | 0
third_party_vehicle | permutation importance | tier_2 | 0.0436 | FALSE | 0
third_party_vehicle | permutation importance | soil_THICK | 0.0328 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_valley_oak_woodland | 0.0238 | FALSE | 0
third_party_vehicle | permutation importance | soil_CLAY | 0.0153 | FALSE | 0
third_party_vehicle | permutation importance | cwhr_redwood | 0.0124 | FALSE | 0
third_party_balloon | permutation importance | impervious | 49.2799 | FALSE | 0
third_party_balloon | permutation importance | nonburnable_land_index | 11.0744 | FALSE | 0
third_party_balloon | permutation importance | merged_strike_tree_count_perlinemile | 8.1177 | FALSE | 0
third_party_balloon | permutation importance | subtypecd | 7.3952 | FALSE | 0
third_party_balloon | permutation importance | merged_strike_tree_height_avg | 2.7815 | FALSE | 0
third_party_balloon | permutation importance | specific_humidity_avg | 2.587 | FALSE | 0
third_party_balloon | permutation importance | merged_strike_tree_count | 1.9902 | FALSE | 0
third_party_balloon | permutation importance | windy_summer_day_pct | 1.6461 | TRUE | 1.6461
third_party_balloon | permutation importance | satelite_canopy_density | 1.3276 | FALSE | 0
third_party_balloon | permutation importance | cwhr_blue_oak_foothill_pine | 1.0975 | FALSE | 0
third_party_balloon | permutation importance | precipitation_avg | 1.0689 | FALSE | 0
third_party_balloon | permutation importance | daily_max_temperature_avg | 1.0641 | FALSE | 0
third_party_balloon | permutation importance | gusty_summer_day_pct | 0.9921 | TRUE | 0.9921
third_party_balloon | permutation importance | burn_index_avg | 0.8041 | FALSE | 0
third_party_balloon | permutation importance | merged_strike_tree_height_max | 0.7519 | FALSE | 0
third_party_balloon | permutation importance | conductor_size_and_material | 0.751 | FALSE | 0
third_party_balloon | permutation importance | soil_erosion_kffact | 0.7267 | FALSE | 0
third_party_balloon | permutation importance | soil_annual_flood_freq | 0.695 | FALSE | 0
third_party_balloon | permutation importance | operatingvoltage | 0.6694 | FALSE | 0
third_party_balloon | permutation importance | wind_max | 0.6306 | TRUE | 0.6306
third_party_balloon | permutation importance | tier_2 | 0.5997 | FALSE | 0
third_party_balloon | permutation importance | vapor_pressure_deficit_avg | 0.5962 | FALSE | 0
third_party_balloon | permutation importance | psps_segment | 0.5468 | FALSE | 0
third_party_balloon | permutation importance | soil_THICK | 0.4908 | FALSE | 0
third_party_balloon | permutation importance | soil_CLAY | 0.3297 | FALSE | 0
third_party_balloon | permutation importance | cwhr_closed_cone_pine_cypress | 0.3156 | FALSE | 0
third_party_balloon | permutation importance | cwhr_sierran_mixed_conifer | 0.2707 | FALSE | 0
third_party_balloon | permutation importance | cwhr_red_fir | 0.254 | FALSE | 0
third_party_balloon | permutation importance | soil_SLOPE | 0.1625 | FALSE | 0
third_party_balloon | permutation importance | soil_OM | 0.1398 | FALSE | 0
third_party_balloon | permutation importance | energy_release_avg | 0.1367 | FALSE | 0
third_party_balloon | permutation importance | cwhr_redwood | 0.1224 | FALSE | 0
third_party_balloon | permutation importance | tier_3 | 0.1109 | FALSE | 0
third_party_balloon | permutation importance | soil_DRAIN | 0.0928 | FALSE | 0
third_party_balloon | permutation importance | soil_HYGRP | 0.0889 | FALSE | 0
third_party_balloon | permutation importance | soil_AWC | 0.0627 | FALSE | 0
third_party_balloon | permutation importance | soil_IFHYDRIC | 0.0456 | FALSE | 0
third_party_balloon | permutation importance | merged_strike_tree_height_min | 0.0436 | FALSE | 0
third_party_balloon | permutation importance | cwhr_eucalyptus | 0.0406 | FALSE | 0
third_party_balloon | permutation importance | wind_avg | 0.0336 | TRUE | 0.0336
third_party_balloon | permutation importance | soil_LL | 0.0234 | FALSE | 0
third_party_balloon | permutation importance | tree_species_treemap | 0.0234 | FALSE | 0
third_party_balloon | permutation importance | cwhr_valley_oak_woodland | 0.0174 | FALSE | 0
third_party_balloon | permutation importance | cwhr_montane_riparian | 0.001 | FALSE | 0
third_party_other | permutation importance | nonburnable_land_index | 23.9353 | FALSE | 0
third_party_other | permutation importance | impervious | 22.7121 | FALSE | 0
third_party_other | permutation importance | merged_strike_tree_count_perlinemile | 16.9113 | FALSE | 0
third_party_other | permutation importance | merged_strike_tree_count | 10.932 | FALSE | 0
third_party_other | permutation importance | conductor_size_and_material | 5.7999 | FALSE | 0
third_party_other | permutation importance | subtypecd | 5.294 | FALSE | 0
third_party_other | permutation importance | merged_strike_tree_height_max | 3.5648 | FALSE | 0
third_party_other | permutation importance | cwhr_coastal_oak_woodland | 1.593 | FALSE | 0
third_party_other | permutation importance | satelite_canopy_density | 1.2925 | FALSE | 0
third_party_other | permutation importance | precipitation_avg | 0.7048 | FALSE | 0
third_party_other | permutation importance | soil_SLOPE | 0.6779 | FALSE | 0
third_party_other | permutation importance | soil_THICK | 0.6683 | FALSE | 0
third_party_other | permutation importance | operatingvoltage | 0.5918 | FALSE | 0
third_party_other | permutation importance | specific_humidity_avg | 0.4621 | FALSE | 0
third_party_other | permutation importance | merged_strike_tree_height_avg | 0.4128 | FALSE | 0
third_party_other | permutation importance | windy_summer_day_pct | 0.3987 | TRUE | 0.3987
third_party_other | permutation importance | vapor_pressure_deficit_avg | 0.33 | FALSE | 0
third_party_other | permutation importance | soil_annual_flood_freq | 0.3297 | FALSE | 0
third_party_other | permutation importance | tier_3 | 0.3283 | FALSE | 0
third_party_other | permutation importance | tier_2 | 0.304 | FALSE | 0
third_party_other | permutation importance | daily_max_temperature_avg | 0.2512 | FALSE | 0
third_party_other | permutation importance | soil_LL | 0.2447 | FALSE | 0
third_party_other | permutation importance | cwhr_klamath_mixed_conifer | 0.2419 | FALSE | 0
third_party_other | permutation importance | local_topography | 0.2111 | FALSE | 0
third_party_other | permutation importance | cwhr_valley_foothill_riparian | 0.1954 | FALSE | 0
third_party_other | permutation importance | soil_IFHYDRIC | 0.1907 | FALSE | 0
third_party_other | permutation importance | cwhr_pinyon_juniper | 0.1703 | FALSE | 0
third_party_other | permutation importance | cwhr_blue_oak_woodland | 0.1658 | FALSE | 0
third_party_other | permutation importance | soil_DRAIN | 0.1266 | FALSE | 0
third_party_other | permutation importance | soil_PERM | 0.1023 | FALSE | 0
third_party_other | permutation importance | cwhr_blue_oak_foothill_pine | 0.1012 | FALSE | 0
third_party_other | permutation importance | psps_segment | 0.0981 | FALSE | 0
third_party_other | permutation importance | soil_HYGRP | 0.0981 | FALSE | 0
third_party_other | permutation importance | gusty_summer_day_pct | 0.0905 | TRUE | 0.0905
third_party_other | permutation importance | cwhr_montane_hardwood | 0.0838 | FALSE | 0
third_party_other | permutation importance | soil_CLAY | 0.0783 | FALSE | 0
third_party_other | permutation importance | cwhr_sierran_mixed_conifer | 0.0771 | FALSE | 0
third_party_other | permutation importance | soil_AWC | 0.0653 | FALSE | 0
third_party_other | permutation importance | cwhr_juniper | 0.0536 | FALSE | 0
third_party_other | permutation importance | wind_avg | 0.0381 | TRUE | 0.0381
third_party_other | permutation importance | cwhr_eucalyptus | 0.0361 | FALSE | 0
third_party_other | permutation importance | cwhr_desert_riparian | 0.0174 | FALSE | 0
third_party_other | permutation importance | cwhr_ponderosa_pine | 0.0097 | FALSE | 0
third_party_other | permutation importance | energy_release_avg | 0.0074 | FALSE | 0
third_party_other | permutation importance | wind_max | 0.0018 | TRUE | 0.0018
vegetation_branch | permutation importance | merged_strike_tree_count | 57.8491 | FALSE | 0
vegetation_branch | permutation importance | merged_strike_tree_count_perlinemile | 8.1762 | FALSE | 0
vegetation_branch | permutation importance | merged_strike_tree_height_max | 7.4861 | FALSE | 0
vegetation_branch | permutation importance | impervious | 6.5456 | FALSE | 0
vegetation_branch | permutation importance | subtypecd | 4.8244 | FALSE | 0
vegetation_branch | permutation importance | nonburnable_land_index | 2.9064 | FALSE | 0
vegetation_branch | permutation importance | merged_strike_tree_height_avg | 1.9194 | FALSE | 0
vegetation_branch | permutation importance | daily_max_temperature_avg | 1.8949 | FALSE | 0
vegetation_branch | permutation importance | precipitation_avg | 1.1793 | FALSE | 0
vegetation_branch | permutation importance | normalized_wind_dmg_and_stk_potential | 0.8858 | TRUE | 0.8858
vegetation_branch | permutation importance | cwhr_montane_hardwood_conifer | 0.6594 | FALSE | 0
vegetation_branch | permutation importance | tier_2 | 0.5438 | FALSE | 0
vegetation_branch | permutation importance | cwhr_blue_oak_foothill_pine | 0.4779 | FALSE | 0
vegetation_branch | permutation importance | operatingvoltage | 0.4683 | FALSE | 0
vegetation_branch | permutation importance | wind_dmg_and_stk_potential | 0.3768 | TRUE | 0.3768
vegetation_branch | permutation importance | coastal | 0.3303 | FALSE | 0
vegetation_branch | permutation importance | soil_HYGRP | 0.3008 | FALSE | 0
vegetation_branch | permutation importance | cwd_4yr_max | 0.2831 | FALSE | 0
vegetation_branch | permutation importance | cwhr_valley_foothill_riparian | 0.2282 | FALSE | 0
vegetation_branch | permutation importance | cwhr_douglas_fir | 0.2258 | FALSE | 0
vegetation_branch | permutation importance | soil_PERM | 0.2172 | FALSE | 0
vegetation_branch | permutation importance | specific_humidity_avg | 0.2009 | FALSE | 0
vegetation_branch | permutation importance | soil_SLOPE | 0.1863 | FALSE | 0
vegetation_branch | permutation importance | gusty_summer_day_pct | 0.1847 | TRUE | 0.1847
vegetation_branch | permutation importance | hist_wind_dir_stk_potential | 0.135 | TRUE | 0.135
vegetation_branch | permutation importance | soil_annual_flood_freq | 0.1329 | FALSE | 0
vegetation_branch | permutation importance | soil_DRAIN | 0.112 | FALSE | 0
vegetation_branch | permutation importance | cwhr_coastal_oak_woodland | 0.1029 | FALSE | 0
vegetation_branch | permutation importance | satelite_canopy_density | 0.0918 | FALSE | 0
vegetation_branch | permutation importance | avg_20yr_spei | 0.0913 | FALSE | 0
vegetation_branch | permutation importance | normalized_hist_wind_dir_stk_potential | 0.0874 | TRUE | 0.0874
vegetation_branch | permutation importance | local_topography | 0.0856 | FALSE | 0
vegetation_branch | permutation importance | soil_IFHYDRIC | 0.0834 | FALSE | 0
vegetation_branch | permutation importance | windy_summer_day_pct | 0.0833 | TRUE | 0.0833
vegetation_branch | permutation importance | cwhr_closed_cone_pine_cypress | 0.0768 | FALSE | 0
vegetation_branch | permutation importance | cwd_4yr_CoV | 0.0678 | FALSE | 0
vegetation_branch | permutation importance | energy_release_avg | 0.0651 | FALSE | 0
vegetation_branch | permutation importance | wind_avg | 0.0601 | TRUE | 0.0601
vegetation_branch | permutation importance | 100_hour_fuels_avg | 0.0569 | FALSE | 0
vegetation_branch | permutation importance | tree_species_treemap | 0.0536 | FALSE | 0
vegetation_branch | permutation importance | vapor_pressure_deficit_avg | 0.053 | FALSE | 0
vegetation_branch | permutation importance | soil_LL | 0.0526 | FALSE | 0
vegetation_branch | permutation importance | tier_2_tree_mortality | 0.0386 | FALSE | 0
vegetation_branch | permutation importance | soil_THICK | 0.0384 | FALSE | 0
vegetation_branch | permutation importance | soil_CLAY | 0.0252 | FALSE | 0
vegetation_branch | permutation importance | cwhr_lodgepole_pine | 0.0165 | FALSE | 0
vegetation_branch | permutation importance | soil_erosion_kffact | 0.0111 | FALSE | 0
vegetation_branch | permutation importance | cwhr_blue_oak_woodland | 0.0107 | FALSE | 0
vegetation_branch | permutation importance | cwhr_eucalyptus | 0.0093 | FALSE | 0
vegetation_branch | permutation importance | cwd_20yr_max | 0.0082 | FALSE | 0
vegetation_trunk | permutation importance | merged_strike_tree_count | 63.616 | FALSE | 0
vegetation_trunk | permutation importance | merged_strike_tree_height_max | 12.0433 | FALSE | 0
vegetation_trunk | permutation importance | subtypecd | 8.0488 | FALSE | 0
vegetation_trunk | permutation importance | merged_strike_tree_count_perlinemile | 2.4587 | FALSE | 0
vegetation_trunk | permutation importance | normalized_hist_wind_dir_stk_potential | 1.6562 | TRUE | 1.6562
vegetation_trunk | permutation importance | impervious | 1.5773 | FALSE | 0
vegetation_trunk | permutation importance | nonburnable_land_index | 1.2957 | FALSE | 0
vegetation_trunk | permutation importance | gusty_summer_day_pct | 0.7637 | TRUE | 0.7637
vegetation_trunk | permutation importance | hist_wind_dir_stk_potential | 0.7203 | TRUE | 0.7203
vegetation_trunk | permutation importance | specific_humidity_avg | 0.6006 | FALSE | 0
vegetation_trunk | permutation importance | precipitation_avg | 0.5745 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_montane_hardwood_conifer | 0.5564 | FALSE | 0
vegetation_trunk | permutation importance | soil_SLOPE | 0.5475 | FALSE | 0
vegetation_trunk | permutation importance | daily_max_temperature_avg | 0.466 | FALSE | 0
vegetation_trunk | permutation importance | 1000_hour_fuels_avg | 0.427 | FALSE | 0
vegetation_trunk | permutation importance | vapor_pressure_deficit_avg | 0.3554 | FALSE | 0
vegetation_trunk | permutation importance | soil_HYGRP | 0.3279 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_eucalyptus | 0.327 | FALSE | 0
vegetation_trunk | permutation importance | cwd_20yr_max | 0.3107 | FALSE | 0
vegetation_trunk | permutation importance | satelite_canopy_density | 0.2941 | FALSE | 0
vegetation_trunk | permutation importance | soil_CLAY | 0.2922 | FALSE | 0
vegetation_trunk | permutation importance | wind_avg | 0.2463 | TRUE | 0.2463
vegetation_trunk | permutation importance | normalized_wind_dmg_and_stk_potential | 0.2452 | TRUE | 0.2452
vegetation_trunk | permutation importance | soil_PERM | 0.2354 | FALSE | 0
vegetation_trunk | permutation importance | tier_2_tree_mortality | 0.1997 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_blue_oak_foothill_pine | 0.1989 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_juniper | 0.1421 | FALSE | 0
vegetation_trunk | permutation importance | wind_dmg_and_stk_potential | 0.137 | TRUE | 0.137
vegetation_trunk | permutation importance | avg_20yr_spei | 0.1236 | FALSE | 0
vegetation_trunk | permutation importance | cwd_4yr_CoV | 0.1225 | FALSE | 0
vegetation_trunk | permutation importance | cwd_20yr_CoV | 0.1149 | FALSE | 0
vegetation_trunk | permutation importance | tree_species_treemap | 0.1112 | FALSE | 0
vegetation_trunk | permutation importance | soil_THICK | 0.1033 | FALSE | 0
vegetation_trunk | permutation importance | burn_index_avg | 0.0936 | FALSE | 0
vegetation_trunk | permutation importance | local_topography | 0.0798 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_white_fir | 0.0727 | FALSE | 0
vegetation_trunk | permutation importance | operatingvoltage | 0.0617 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_closed_cone_pine_cypress | 0.0613 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_valley_foothill_riparian | 0.0536 | FALSE | 0
vegetation_trunk | permutation importance | windy_summer_day_pct | 0.0487 | TRUE | 0.0487
vegetation_trunk | permutation importance | cwhr_coastal_oak_woodland | 0.0462 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_montane_riparian | 0.0446 | FALSE | 0
vegetation_trunk | permutation importance | merged_strike_tree_height_avg | 0.0433 | FALSE | 0
vegetation_trunk | permutation importance | energy_release_avg | 0.0408 | FALSE | 0
vegetation_trunk | permutation importance | soil_erosion_kffact | 0.0214 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_sierran_mixed_conifer | 0.0183 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_red_fir | 0.0137 | FALSE | 0
vegetation_trunk | permutation importance | soil_DRAIN | 0.0129 | FALSE | 0
vegetation_trunk | permutation importance | cwd_4yr_max | 0.0093 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_pinyon_juniper | 0.0083 | FALSE | 0
vegetation_trunk | permutation importance | soil_IFHYDRIC | 0.0074 | FALSE | 0
vegetation_trunk | permutation importance | tier_3 | 0.0073 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_ponderosa_pine | 0.0053 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_subalpine_conifer | 0.004 | FALSE | 0
vegetation_trunk | permutation importance | coastal | 0.0034 | FALSE | 0
vegetation_trunk | permutation importance | max_20yr_spei | 0.0032 | FALSE | 0
vegetation_trunk | permutation importance | cwhr_douglas_fir | 0.0001 | FALSE | 0
vegetation_other | permutation importance | merged_strike_tree_count | 52.4822 | FALSE | 0
vegetation_other | permutation importance | merged_strike_tree_count_perlinemile | 15.5433 | FALSE | 0
vegetation_other | permutation importance | impervious | 9.3023 | FALSE | 0
vegetation_other | permutation importance | subtypecd | 5.1405 | FALSE | 0
vegetation_other | permutation importance | nonburnable_land_index | 4.2617 | FALSE | 0
vegetation_other | permutation importance | merged_strike_tree_height_avg | 2.6846 | FALSE | 0
vegetation_other | permutation importance | vapor_pressure_deficit_avg | 1.7375 | FALSE | 0
vegetation_other | permutation importance | merged_strike_tree_height_max | 1.5968 | FALSE | 0
vegetation_other | permutation importance | normalized_hist_wind_dir_stk_potential | 0.6435 | TRUE | 0.6435
vegetation_other | permutation importance | max_20yr_spei | 0.59 | FALSE | 0
vegetation_other | permutation importance | precipitation_avg | 0.4847 | FALSE | 0
vegetation_other | permutation importance | wind_dmg_and_stk_potential | 0.4609 | TRUE | 0.4609
vegetation_other | permutation importance | tier_2_tree_mortality | 0.4536 | FALSE | 0
vegetation_other | permutation importance | burn_index_avg | 0.4185 | FALSE | 0
vegetation_other | permutation importance | operatingvoltage | 0.3789 | FALSE | 0
vegetation_other | permutation importance | CoV_20yr_spei | 0.298 | FALSE | 0
vegetation_other | permutation importance | cwhr_coastal_oak_woodland | 0.2701 | FALSE | 0
vegetation_other | permutation importance | cwhr_blue_oak_woodland | 0.2384 | FALSE | 0
vegetation_other | permutation importance | soil_AWC | 0.2154 | FALSE | 0
vegetation_other | permutation importance | soil_HYGRP | 0.2095 | FALSE | 0
vegetation_other | permutation importance | avg_20yr_spei | 0.2029 | FALSE | 0
vegetation_other | permutation importance | soil_erosion_kffact | 0.1963 | FALSE | 0
vegetation_other | permutation importance | tier_3 | 0.1656 | FALSE | 0
vegetation_other | permutation importance | energy_release_avg | 0.158 | FALSE | 0
vegetation_other | permutation importance | wind_max | 0.1541 | TRUE | 0.1541
vegetation_other | permutation importance | soil_PERM | 0.1328 | FALSE | 0
vegetation_other | permutation importance | satelite_canopy_density | 0.1266 | FALSE | 0
vegetation_other | permutation importance | cwhr_closed_cone_pine_cypress | 0.1179 | FALSE | 0
vegetation_other | permutation importance | hist_wind_dir_stk_potential | 0.1136 | TRUE | 0.1136
vegetation_other | permutation importance | windy_summer_day_pct | 0.1111 | TRUE | 0.1111
vegetation_other | permutation importance | tree_species_treemap | 0.1007 | FALSE | 0
vegetation_other | permutation importance | soil_SLOPE | 0.0989 | FALSE | 0
vegetation_other | permutation importance | soil_OM | 0.0946 | FALSE | 0
vegetation_other | permutation importance | cwhr_ponderosa_pine | 0.0864 | FALSE | 0
vegetation_other | permutation importance | specific_humidity_avg | 0.0848 | FALSE | 0
vegetation_other | permutation importance | soil_annual_flood_freq | 0.0809 | FALSE | 0
vegetation_other | permutation importance | 1000_hour_fuels_avg | 0.065 | FALSE | 0
vegetation_other | permutation importance | soil_LL | 0.0629 | FALSE | 0
vegetation_other | permutation importance | gusty_summer_day_pct | 0.061 | TRUE | 0.061
vegetation_other | permutation importance | cwhr_valley_foothill_riparian | 0.0604 | FALSE | 0
vegetation_other | permutation importance | cwhr_klamath_mixed_conifer | 0.0539 | FALSE | 0
vegetation_other | permutation importance | local_topography | 0.0436 | FALSE | 0
vegetation_other | permutation importance | cwhr_montane_riparian | 0.0361 | FALSE | 0
vegetation_other | permutation importance | normalized_wind_dmg_and_stk_potential | 0.0356 | TRUE | 0.0356
vegetation_other | permutation importance | soil_CLAY | 0.0338 | FALSE | 0
vegetation_other | permutation importance | cwhr_juniper | 0.0311 | FALSE | 0
vegetation_other | permutation importance | cwhr_jeffrey_pine | 0.0302 | FALSE | 0
vegetation_other | permutation importance | cwhr_montane_hardwood_conifer | 0.0217 | FALSE | 0
vegetation_other | permutation importance | min_20yr_spei | 0.016 | FALSE | 0
vegetation_other | permutation importance | cwhr_redwood | 0.0115 | FALSE | 0
vegetation_other | permutation importance | wind_avg | 0.0012 | TRUE | 0.0012

## Sheet3
WDRM_v4_sub_model | scoring_method | feature_name | value | From: | workflow_rada_asset_pipelines
dpd | total gain | estimated_age_years | 19.4374 |  | model_fit.py
dpd | total gain | faultduty | 11.3814 |  | output = model_fit
dpd | total gain | summer_max_ws_avg | 40.4594 |  | stages
dpd | total gain | winter_max_ws_avg | 16.3368 |  | SparkXGBClassifierModel
dpd | total gain | percent_diff_summer_max_ws_avg | 9.1343 |  | Details
dpd | total gain | percent_diff_winter_vpd_avg | 8.9504
dpd | total gain | percent_diff_winter_rel_humidity_avg | 58.1388
dpd | total gain | soil_erosion_kffact | 30.4808
fuse | total gain | estimated_age_years | 641.5803
fuse | total gain | linkrating | 502.1411
fuse | total gain | operating_voltage | 287.2361
fuse | total gain | numberofphases | 208.0037
fuse | total gain | complexdeviceidc_ind | 18.4868
fuse | total gain | bypassswitch_ind | 8.2772
fuse | total gain | corrosion_zone_ind | 324.3796
fuse | total gain | hftd_ind | 26.7126
fuse | total gain | summer_max_temp_avg | 188.5881
fuse | total gain | summer_precip_avg | 205.992
fuse | total gain | summer_vpd_avg | 312.8512
fuse | total gain | winter_vpd_avg | 77.4952
fuse | total gain | summer_rel_humidity_avg | 307.7292
fuse | total gain | winter_rel_humidity_avg | 128.0276
fuse | total gain | percent_diff_summer_max_temp_avg | 91.8441
fuse | total gain | percent_diff_summer_max_ws_avg | 68.6002
fuse | total gain | percent_diff_summer_vpd_avg | 79.3824
fuse | total gain | percent_diff_summer_rel_humidity_avg | 86.2393
fuse | total gain | percent_diff_winter_max_temp_avg | 92.1779
fuse | total gain | percent_diff_winter_max_ws_avg | 38.5196
fuse | total gain | percent_diff_winter_vpd_avg | 43.5982
fuse | total gain | percent_diff_winter_rel_humidity_avg | 87.2998
fuse | total gain | local_topography | 67.8566
fuse | total gain | population_density | 172.2274
fuse | total gain | satelite_strike_tree_count | 231.3115
fuse | total gain | soil_erosion_kffact | 88.1855
fuse | total gain | linktype_encoded_FT | 145.0877
fuse | total gain | region_encoded_Bay_Area | 9.1335
fuse | total gain | manufacturer_encoded_S_&_C | 8.4647
primary conductor - wire down | total gain | estimated_age_years | 282.9032
primary conductor - wire down | total gain | conductorcount | 1964.408
primary conductor - wire down | total gain | conductor_length_ft | 251.8353
primary conductor - wire down | total gain | pole_height_ft | 876.5599
primary conductor - wire down | total gain | lidar_max_sag | 63.0651
primary conductor - wire down | total gain | lidar_val_60_90mph | 12.2529
primary conductor - wire down | total gain | lidar_val_fault3000a | 39.8138
primary conductor - wire down | total gain | conductor_cross_sectional_area_min | 667.9482
primary conductor - wire down | total gain | conductor_ultimate_strength_lbs_max | 370.1853
primary conductor - wire down | total gain | conductor_weight_lbs_max | 273.1062
primary conductor - wire down | total gain | splice_ind | 63.8053
primary conductor - wire down | total gain | all_open_tag_ind | 112.1381
primary conductor - wire down | total gain | corrosion_zone_ind | 21.0889
primary conductor - wire down | total gain | coastalidc_ind | 327.956
primary conductor - wire down | total gain | hftd_ind | 13.3294
primary conductor - wire down | total gain | protected_ind | 102.1369
primary conductor - wire down | total gain | summer_max_temp_avg | 193.5691
primary conductor - wire down | total gain | winter_max_temp_avg | 332.3187
primary conductor - wire down | total gain | summer_max_ws_avg | 485.6036
primary conductor - wire down | total gain | summer_precip_avg | 800.4178
primary conductor - wire down | total gain | winter_precip_avg | 404.764
primary conductor - wire down | total gain | summer_vpd_avg | 505.3503
primary conductor - wire down | total gain | winter_vpd_avg | 273.1718
primary conductor - wire down | total gain | summer_rel_humidity_avg | 2107.6594
primary conductor - wire down | total gain | winter_rel_humidity_avg | 350.6474
primary conductor - wire down | total gain | percent_diff_summer_max_temp_avg | 201.4957
primary conductor - wire down | total gain | percent_diff_summer_max_ws_avg | 217.7983
primary conductor - wire down | total gain | percent_diff_summer_vpd_avg | 288.6549
primary conductor - wire down | total gain | percent_diff_summer_rel_humidity_avg | 432.5486
primary conductor - wire down | total gain | percent_diff_winter_max_temp_avg | 121.1164
primary conductor - wire down | total gain | percent_diff_winter_max_ws_avg | 150.4823
primary conductor - wire down | total gain | percent_diff_winter_vpd_avg | 44.9517
primary conductor - wire down | total gain | percent_diff_winter_rel_humidity_avg | 79.4679
primary conductor - wire down | total gain | local_topography | 67.202
primary conductor - wire down | total gain | nonburnable_land_index | 2531.3594
primary conductor - wire down | total gain | satelite_strike_tree_count | 271.5967
primary conductor - wire down | total gain | soil_erosion_kffact | 1060.8589
primary conductor - wire down | total gain | construction_type_encoded_Horizontal | 10.919
primary conductor - line slap | total gain | estimated_age_years | 62.9358
primary conductor - line slap | total gain | conductorcount | 420.5575
primary conductor - line slap | total gain | conductor_length_ft | 110.6521
primary conductor - line slap | total gain | pole_height_ft | 152.9958
primary conductor - line slap | total gain | operating_voltage | 11.1737
primary conductor - line slap | total gain | spacing | 85.0507
primary conductor - line slap | total gain | lidar_framing_level_count | 11.8275
primary conductor - line slap | total gain | lidar_max_sag | 12.1078
primary conductor - line slap | total gain | lidar_val_60_90mph | 82.3352
primary conductor - line slap | total gain | lidar_val_fault3000a | 44.5541
primary conductor - line slap | total gain | conductor_cross_sectional_area_min | 80.6084
primary conductor - line slap | total gain | conductor_ultimate_strength_lbs_max | 49.8898
primary conductor - line slap | total gain | conductor_weight_lbs_max | 101.8319
primary conductor - line slap | total gain | hftd_ind | 7.0747
primary conductor - line slap | total gain | summer_max_temp_avg | 35.4251
primary conductor - line slap | total gain | summer_max_ws_avg | 157.4665
primary conductor - line slap | total gain | winter_precip_avg | 158.3688
primary conductor - line slap | total gain | summer_vpd_avg | 156.7769
primary conductor - line slap | total gain | winter_vpd_avg | 60.162
primary conductor - line slap | total gain | summer_rel_humidity_avg | 99.9421
primary conductor - line slap | total gain | winter_rel_humidity_avg | 41.8239
primary conductor - line slap | total gain | percent_diff_summer_max_temp_avg | 76.47
primary conductor - line slap | total gain | percent_diff_summer_max_ws_avg | 127.2475
primary conductor - line slap | total gain | percent_diff_summer_vpd_avg | 51.5995
primary conductor - line slap | total gain | percent_diff_summer_rel_humidity_avg | 129.3732
primary conductor - line slap | total gain | percent_diff_winter_max_temp_avg | 36.7687
primary conductor - line slap | total gain | percent_diff_winter_max_ws_avg | 104.6093
primary conductor - line slap | total gain | percent_diff_winter_vpd_avg | 113.9384
primary conductor - line slap | total gain | percent_diff_winter_rel_humidity_avg | 39.2454
primary conductor - line slap | total gain | local_topography | 83.7126
primary conductor - line slap | total gain | population_density | 165.0439
primary conductor - line slap | total gain | satelite_strike_tree_count | 51.7838
primary conductor - line slap | total gain | soil_erosion_kffact | 61.6466
primary conductor - other | total gain | estimated_age_years | 176.7502
primary conductor - other | total gain | conductorcount | 1777.7299
primary conductor - other | total gain | conductor_length_ft | 209.5866
primary conductor - other | total gain | pole_height_ft | 389.5147
primary conductor - other | total gain | operating_voltage | 13.2507
primary conductor - other | total gain | lidar_pole_elevation | 51.288
primary conductor - other | total gain | lidar_framing_level_count | 80.0289
primary conductor - other | total gain | lidar_max_sag | 53.3399
primary conductor - other | total gain | lidar_val_35_60mph | 10.0941
primary conductor - other | total gain | conductor_cross_sectional_area_min | 34.4519
primary conductor - other | total gain | conductor_weight_lbs_max | 238.2048
primary conductor - other | total gain | coastalidc_ind | 89.2531
primary conductor - other | total gain | hftd_ind | 10.1668
primary conductor - other | total gain | treewire_idc | 44.1918
primary conductor - other | total gain | protected_ind | 10.7308
primary conductor - other | total gain | summer_max_temp_avg | 78.8785
primary conductor - other | total gain | winter_max_temp_avg | 73.6015
primary conductor - other | total gain | summer_max_ws_avg | 138.8465
primary conductor - other | total gain | summer_precip_avg | 273.2371
primary conductor - other | total gain | winter_precip_avg | 137.2654
primary conductor - other | total gain | summer_vpd_avg | 346.8699
primary conductor - other | total gain | winter_vpd_avg | 24.4751
primary conductor - other | total gain | summer_rel_humidity_avg | 765.2504
primary conductor - other | total gain | winter_rel_humidity_avg | 83.3265
primary conductor - other | total gain | percent_diff_summer_max_temp_avg | 132.312
primary conductor - other | total gain | percent_diff_summer_max_ws_avg | 170.4885
primary conductor - other | total gain | percent_diff_summer_vpd_avg | 139.6418
primary conductor - other | total gain | percent_diff_summer_rel_humidity_avg | 70.8765
primary conductor - other | total gain | percent_diff_winter_max_temp_avg | 66.2171
primary conductor - other | total gain | percent_diff_winter_max_ws_avg | 69.4931
primary conductor - other | total gain | percent_diff_winter_vpd_avg | 79.2458
primary conductor - other | total gain | percent_diff_winter_rel_humidity_avg | 134.855
primary conductor - other | total gain | local_topography | 119.2829
primary conductor - other | total gain | nonburnable_land_index | 1133.1069
primary conductor - other | total gain | satelite_strike_tree_count | 47.6355
primary conductor - other | total gain | soil_erosion_kffact | 524.6414
support structure - equipment | total gain | estimated_age_years | 2985.0115
support structure - equipment | total gain | pole_original_volume | 1198.201
support structure - equipment | total gain | percentatmcu | 1843.2435
support structure - equipment | total gain | corrosion_zone_ind | 17.0774
support structure - equipment | total gain | all_open_tag_ind | 47.598
support structure - equipment | total gain | summer_max_temp_avg | 399.0742
support structure - equipment | total gain | summer_max_ws_avg | 198.3686
support structure - equipment | total gain | summer_precip_avg | 236.1668
support structure - equipment | total gain | winter_precip_avg | 197.2497
support structure - equipment | total gain | summer_vpd_avg | 346.1037
support structure - equipment | total gain | winter_vpd_avg | 58.9897
support structure - equipment | total gain | summer_rel_humidity_avg | 281.0367
support structure - equipment | total gain | winter_rel_humidity_avg | 199.0505
support structure - equipment | total gain | percent_diff_summer_max_temp_avg | 202.0349
support structure - equipment | total gain | percent_diff_summer_max_ws_avg | 262.4673
support structure - equipment | total gain | percent_diff_summer_vpd_avg | 234.1037
support structure - equipment | total gain | percent_diff_summer_rel_humidity_avg | 691.0533
support structure - equipment | total gain | percent_diff_winter_vpd_avg | 83.7284
support structure - equipment | total gain | percent_diff_winter_rel_humidity_avg | 574.5615
support structure - equipment | total gain | local_topography | 101.735
support structure - equipment | total gain | nonburnable_land_index | 562.2656
support structure - equipment | total gain | satelite_strike_tree_count | 149.7222
support structure - equipment | total gain | soil_erosion_kffact | 225.4731
support structure - equipment | total gain | soil_annual_flood_freq | 32.5724
support structure - equipment | total gain | years_since_last_ptt | 208.6384
support structure - equipment | total gain | ptt_circumference_pct_diff_from_original | 365.3655
support structure - equipment | total gain | pole_remaining_strength | 647.3109
support structure - equipment | total gain | local_topography_times_kffact | 164.4743
support structure - equipment | total gain | species_encoded___unknown | 59.4705
support structure - equipment | total gain | originaltreatmenttype_encoded_penta | 25.9133
support structure - equipment | total gain | originaltreatmenttype_encoded___unknown | 59.5018
support structure - electrical | total gain | estimated_age_years | 2407.4072
support structure - electrical | total gain | attachment_count | 5.7421
support structure - electrical | total gain | pole_original_volume | 2106.6052
support structure - electrical | total gain | corrosion_zone_ind | 372.9703
support structure - electrical | total gain | percentatmcu | 1335.1385
support structure - electrical | total gain | all_open_tag_ind | 7.1814
support structure - electrical | total gain | summer_max_temp_avg | 53.6267
support structure - electrical | total gain | summer_max_ws_avg | 324.2875
support structure - electrical | total gain | summer_precip_avg | 696.3738
support structure - electrical | total gain | winter_precip_avg | 509.8559
support structure - electrical | total gain | summer_vpd_avg | 427.0158
support structure - electrical | total gain | winter_vpd_avg | 374.2653
support structure - electrical | total gain | summer_rel_humidity_avg | 570.4844
support structure - electrical | total gain | winter_rel_humidity_avg | 207.9116
support structure - electrical | total gain | percent_diff_summer_max_temp_avg | 772.8929
support structure - electrical | total gain | percent_diff_summer_max_ws_avg | 388.6147
support structure - electrical | total gain | percent_diff_summer_vpd_avg | 76.7732
support structure - electrical | total gain | percent_diff_summer_rel_humidity_avg | 1728.5729
support structure - electrical | total gain | percent_diff_winter_vpd_avg | 202.6215
support structure - electrical | total gain | percent_diff_winter_rel_humidity_avg | 261.1839
support structure - electrical | total gain | local_topography | 248.8291
support structure - electrical | total gain | population_density | 336.0246
support structure - electrical | total gain | nonburnable_land_index | 485.9737
support structure - electrical | total gain | satelite_strike_tree_count | 573.8993
support structure - electrical | total gain | soil_erosion_kffact | 105.1642
support structure - electrical | total gain | soil_annual_flood_freq | 153.7406
support structure - electrical | total gain | years_since_last_ptt | 194.1829
support structure - electrical | total gain | originaltreatmenttype_encoded_penta | 24.6246
support structure - electrical | total gain | originaltreatmenttype_encoded_gas | 11.6747
support structure - electrical | total gain | originaltreatmenttype_encoded___unknown | 14.4209
support structure - electrical | total gain | division_encoded_Yosemite | 9.3344
support structure - electrical | total gain | division_encoded_Kern | 11.1525
support structure - electrical | total gain | division_encoded_Central_Coast | 7.1069
support structure - electrical | total gain | division_encoded_Sacramento | 12.1137
support structure - electrical | total gain | division_encoded_San_Jose | 5.7887
support structure - electrical | total gain | division_encoded_Peninsula | 22.2362
support structure - electrical | total gain | division_encoded_North_Bay | 102.314
support structure - electrical | total gain | division_encoded_East_Bay | 478.3377
support structure - electrical | total gain | division_encoded_Mission | 173.6848
support structure - electrical | total gain | species_encoded_Douglas_Fir | 7.4794
support structure - electrical | total gain | species_encoded_Western_Red_Cedar | 255.7283
support structure - electrical | total gain | species_encoded_Not_Available | 10.738
support structure - electrical | total gain | species_encoded___unknown | 7.7951
Transformer - failure | total gain | estimated_age_years | 5406.6646
Transformer - failure | total gain | rated_kva | 850.2397
Transformer - failure | total gain | coastal_corrosive_ind | 670.4221
Transformer - failure | total gain | replacement_open_tag_ind | 55.1586
Transformer - failure | total gain | population_density | 3387.1377
Transformer - failure | total gain | nonburnable_land_index | 687.3271
Transformer - failure | total gain | satelite_strike_tree_count | 1402.3085
Transformer - failure | total gain | soil_erosion_kffact | 1578.2391
Transformer - failure | total gain | local_topography | 1470.7283
Transformer - failure | total gain | summer_max_temp_avg | 2716.6914
Transformer - failure | total gain | winter_max_temp_avg | 2367.7847
Transformer - failure | total gain | summer_max_ws_avg | 1644.6949
Transformer - failure | total gain | percent_diff_summer_max_temp_avg | 5234.959
Transformer - failure | total gain | percent_diff_winter_max_temp_avg | 3019.0273
Transformer - failure | total gain | txfmr_load_factor_12m | 2445.4539
Transformer - failure | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 7586.0806
Transformer - failure | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 3707.4126
Transformer - failure | total gain | unit_max_peak_kva_percent_capability_12m | 4261.3745
Transformer - failure | total gain | unit_mean_peak_kva_percent_capability_12m | 611.3965
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AS | 145.5341
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_HI | 113.9725
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_PP | 122.5978
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_GE | 153.5449
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_KU | 129.7412
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_WE | 17.1454
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ME | 41.0773
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_XX | 65.8111
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_RT | 8.4212
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_AB | 10.3806
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_CP | 80.9042
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_DS | 113.9192
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_FP | 39.7242
Transformer - failure | total gain | sap_manufacturer_bucket_encoded_ER | 7.5192
Transformer - leaking | total gain | estimated_age_years | 441.4491
Transformer - leaking | total gain | rated_kva | 176.3955
Transformer - leaking | total gain | coastal_corrosive_ind | 30.677
Transformer - leaking | total gain | population_density | 254.7561
Transformer - leaking | total gain | nonburnable_land_index | 44.3157
Transformer - leaking | total gain | satelite_strike_tree_count | 82.6939
Transformer - leaking | total gain | soil_erosion_kffact | 143.2042
Transformer - leaking | total gain | local_topography | 81.6514
Transformer - leaking | total gain | summer_max_temp_avg | 262.2135
Transformer - leaking | total gain | winter_max_temp_avg | 238.3505
Transformer - leaking | total gain | summer_max_ws_avg | 132.6824
Transformer - leaking | total gain | percent_diff_summer_max_temp_avg | 311.6464
Transformer - leaking | total gain | percent_diff_winter_max_temp_avg | 375.7184
Transformer - leaking | total gain | txfmr_load_factor_12m | 185.2396
Transformer - leaking | total gain | txfmr_mean_peak_kva_capability_capacity_factor_12m | 331.2431
Transformer - leaking | total gain | txfmr_mean_peak_kva_rated_capacity_factor_12m | 348.9574
Transformer - leaking | total gain | unit_max_peak_kva_percent_capability_12m | 304.1648
Transformer - leaking | total gain | unit_mean_peak_kva_percent_capability_12m | 64.2051
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_AS | 38.815
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_HI | 47.6439
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_PP | 46.7589
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_GE | 29.9776
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_KU | 19.8145
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_ME | 16.9586
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_XX | 56.682
Transformer - leaking | total gain | sap_manufacturer_bucket_encoded_DS | 88.7895
Switch | total gain | estimated_age_years | 76.181
Switch | total gain | ccrating | 113.071
Switch | total gain | summer_max_temp_avg | 24.3297
Switch | total gain | winter_max_temp_avg | 116.4057
Switch | total gain | winter_vpd_avg | 9.6391
Switch | total gain | summer_rel_humidity_avg | 54.5859
Switch | total gain | percent_diff_summer_max_temp_avg | 18.8957
Switch | total gain | percent_diff_summer_rel_humidity_avg | 41.189
Switch | total gain | percent_diff_winter_max_temp_avg | 8.1986
Switch | total gain | percent_diff_winter_vpd_avg | 35.8113
Switch | total gain | percent_diff_winter_rel_humidity_avg | 29.4419
Switch | total gain | local_topography | 13.2152
Switch | total gain | population_density | 8.0097
Switch | total gain | soil_erosion_kffact | 18.656
Switch | total gain | switch_type_encoded_SCADA_Switch | 164.695
voltage regulator | total gain | estimated_age_years | 9.538
voltage regulator | total gain | ratedamps | 141.4699
voltage regulator | total gain | operating_voltage | 28.5003
voltage regulator | total gain | pole_height | 10.3941
voltage regulator | total gain | summer_max_ws_avg | 24.7123
voltage regulator | total gain | winter_precip_avg | 65.2281
voltage regulator | total gain | winter_max_temp_avg | 61.2261
voltage regulator | total gain | winter_vpd_avg | 52.0967
voltage regulator | total gain | summer_rel_humidity_avg | 48.6288
voltage regulator | total gain | winter_rel_humidity_avg | 30.4894
voltage regulator | total gain | percent_diff_summer_max_temp_avg | 19.8788
voltage regulator | total gain | percent_diff_summer_max_ws_avg | 32.1467
voltage regulator | total gain | percent_diff_summer_rel_humidity_avg | 46.6779
voltage regulator | total gain | percent_diff_winter_vpd_avg | 57.1823
voltage regulator | total gain | percent_diff_winter_rel_humidity_avg | 32.7978
voltage regulator | total gain | nonburnable_land_index | 24.6166
voltage regulator | total gain | satelite_strike_tree_count | 28.8567
voltage regulator | total gain | soil_erosion_kffact | 9.7002

## Wind Effect
submodel | SUM | SUM wind | Percent | Non-Wind | Pct Wind minus Baseline
capacitor bank | 855.6838 | 53.3696 | 6.237% |  | 4.41%
dpd | 194.3193 | 65.9305 | 33.93% |  | 32.1%
fuse | 4547.4291 | 107.1198 | 2.356% | 2.356% | 0.5286%
primary conductor - wire down | 16374.4863 | 853.8842 | 5.215% |  | 3.388%
primary conductor - line slap | 2984.9991 | 389.3233 | 13.04% |  | 11.22%
primary conductor - other | 7798.1298 | 378.8281 | 4.858% |  | 3.031%
support structure - equipment | 12657.5633 | 460.8359 | 3.641% |  | 1.814%
support structure - electrical | 16081.8693 | 712.9023 | 4.433% |  | 2.606%
Transformer - failure | 50153.3937 | 1644.6949 | 3.279% |  | 1.452%
Transformer - leaking | 4155.004 | 132.6824 | 3.193% | 3.193% | 1.366%
Switch | 732.3248 | 0 | 0% |  | -1.827%
voltage regulator | 724.1406 | 56.859 | 7.852% |  | 6.025%
other_equipment_type | 79.0194 | 0.203 | 0.2569% |  | -1.57%
secondary_conductor | 100.0002 | 1.5896 | 1.59% |  | -0.2374%
animal_bird | 100 | 1.4371 | 1.437% | 1.437% | -0.3899%
animal_squirrel | 100.0001 | 1.3405 | 1.34% | 1.34% | -0.4865%
animal_other | 99.9999 | 7.2217 | 7.222% |  | 5.395%
third_party_vehicle | 100.0003 | 2.1064 | 2.106% | 2.106% | 0.2794%
third_party_balloon | 99.9997 | 3.3024 | 3.302% |  | 1.475%
third_party_other | 99.9998 | 0.5291 | 0.5291% | 0.5291% | -1.298%
vegetation_branch | 100.0002 | 1.8131 | 1.813% |  | -0.01391%
vegetation_trunk | 100.0003 | 3.8174 | 3.817% |  | 1.99%
vegetation_other | 99.9996 | 1.581 | 1.581% |  | -0.246%
|  |  | Mean Baseline | 1.827%
|  |  |  | Mean Baseline | Mean Baseline